## 1)RING #1
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 01 (DTS # 02 PNO: A10 & A20) | [9 empty] | APRIL - 2024 |  |  | PAGE 1 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| Mosque | DTS # 02 | XXX |  | 6 | 6 | 6 | 11.05 | XXX
|  | TX-1 | 130 | 5202850 | 4 | - | 4 |  | 65 | 73 | 68 | 424 | 30/03/2024 08.05Hrs
|  | TX-2 | 100 | 1196660 | 3 | - | 3 |  | 67 | 72 | 70
|  | Fire Station | XXX |  | 0 | 0 | 0 |  | 3
| Fire Station | Mosque | XXX |  | OFF |  |  | 11.06 | XXX |  |  |  | 30/03/2024 08.40Hrs
|  | TX-1 | 133 | 9904 | 4 | 3 | 4 |  | 95 | 82 | 87 | 420
TX-2
|  | TX-2 | 83 | 2589 | 2 | 1 | 2 |  | 53 | 33 | 45
|  | Substation#N3 | XXX |  | 6 | 5 | 7
| Substation # N3 | Fire Station | XXX |  | 6 | 5 | 7 | 11.05 | XXX
|  | TX-1 | 26 | 1044571 | 0.4 | 0.4 | 0.3 |  | 0 | 0 | 0 | 436 | 30/03/2024 08.15Hrs
|  | TX-2 | 2 | 395791 | 0 | 0.3 | 0.3 |  | 0 | 0 | 0
|  | D-Type | XXX |  | 6 | 5 | 6 |  | XXX
| D-Type | Substation#N3 | XXX |  | 6 | 5 | 6 | 11 | XXX |  |  |  | 30/03/2024 08.30Hrs
|  | TX-1 | 60 | 9574780 | 3 | - | 2 |  | 52 | 44 | 74 | 422
|  | TX-2 | 140 | 9160770 | 6 | - | 5 |  | 54 | 44 | 76
|  | Kahrama PS | 100 | 3453230 | 0 | - | 0 |  | XXX
|  | DTS # 02 | XXX |  | 6 | 6 | 6 |  | XXX

## 2)RING #2
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 02 (DTS # 02 PNO: A30 & A40) | [9 empty] | APRIL - 2024 |  |  | PAGE 2 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| Main Camp (New) | DTS # 02 | 66 | 3292040 | 3 | 3 | 3 | 10.94 | XXX
|  | TX-1 | 53 | 3327627 | 3 | 3 | 3 |  | 83 | 0 | 0 | 435 | 30/03/2024 11.15Hrs
|  | TX-2 | 23 | 968083 | 0 | 0 | 0 |  | 0 | 0 | 0
|  | Escarpment | XXX |  | 0 | 0 | 0
| Escarpment | Main Camp New) | XXX |  | OFF |  |  | 11 | XXX
|  | TX-1 | 275 | 21327 | 5 | 6 | 6 |  | 127 | 165 | 107 | 427 | 30/03/2024 09.15Hrs
|  | TX-2 | 277 | 30884 | 10 | 11 | 11 |  | 268 | 250 | 264
|  | SS Bungalow | XXX |  | 17 | 19 | 18
| S.S.Bungalow | Escarpment | XXX |  | 17 | 19 | 18 | 11 | XXX
|  | TX-1 | 90 | 144210 | 2 | - | 2 |  | 54 | 50 | 48 | 410 | 30/03/2024 09.00Hrs
|  | TX-2 | 100 | 177390 | 2 | - | 2 |  | 54 | 50 | 48
|  | Supalite | XXX |  | 12 | 12 | 12
| Supalite | SS Bungalow | XXX |  |  |  |  | - | XXX
|  | TX-1 | 120 | 32981930 | XXX |  |  |  | 121 | 102 | 113 | 411 | 30/03/2024 08.50Hrs
|  | TX-2 | 116 | 31676048 | XXX |  |  |  | 113 | 94 | 114
|  | DTS # 02 | XXX | [5 empty] | XXX

## 3)RING #3
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 03 (DTS # 02 PNO: A50 & A60) | [9 empty] | APRIL - 2024 |  |  | PAGE 3 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| Hospital | DTS # 02 | 610 | 78224 | 25 | 25 | 25 | 10.99 | XXX
|  | TX-1 | 233 | 9650 | 9 | 9 | 9 |  | 238 | 227 | 225 | 417 | 2024-04-02
|  | TX-2 | 226 | 3984 | 4 | 4 | 4 |  | 110 | 114 | 111 |  | 09.20HRS
|  | New Cinema | XXX |  | 13 | 13 | 13 |  | XXX
| New Cinema | Hospital | XXX |  | 14 | 15 | 14 | 10.99 | XXX
|  | TX-1 | 165 | 6595707 | 10 | 10 | 10 |  | 212 | 202 | 207 | 436 | 2024-04-02
|  | TX-2 | 107 | 3562868 | 5 | 5 | 5 |  | 132 | 137 | 135 | 436 | 9.00HRS
|  | New M.R.Club | XXX |  | 0 | 0 | 0 |  | XXX
| New M.R. Club | New Cinema | XXX |  | OFF |  |  | 10.97 | XXX
|  | TX-1 | 337 | 2298844 | 11 | 12 | 11 |  | 307 | 247 | 235 | 436 | 2024-04-02
|  | TX-2 | 433 | 4759833 | 18 | 19 | 18 |  | 603 | 531 | 511 | 441 | 2024-04-02
|  | DTS # 2 | 700 | 6039121 | 28 | 31 | 28 |  | XXX

## 4)RING #4
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 04 (DTS # 01 PNO: A30 & A40) | [9 empty] | APRIL - 2024 |  |  | PAGE 4 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| F/Ball Pitch | DTS # 01 | 120 | 67998700 | 4 | - | 3.5 | 11.06 | XXX
|  | TX-1 | 80 | 144380 | 2 | - | 2 |  | 60 | 70 | 76 | 425 | 2024-04-02
|  | TX-2 | 60 | 5065040 | 1.5 | - | 2 |  | 70 | 65 | 82 |  | 9.20HRS
|  | Dk-5 | XXX |  | OFF
| DK-5 | Football Pitch | XXX |  | 0 | 0 | 0 | 10.9 | XXX
|  | TX-1 | 100 | 8902520 | 2.8 | - | 206 |  | 58 | 60 | 59 | 422 | 2024-04-02
|  | TX-2 | 80 | 9415000 | 3.1 | - | 2.3 |  | 80 | 80 | 78 |  | 9.38HRS
|  | DTS # 01 | XXX |  | 4 | 4 | 4 |  | XXX

## 5)RING #5
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 05 (DTS # 01 PNO: A50 & A60) | [9 empty] | APRIL - 2024 |  |  | PAGE 5 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| Dk5 Bungalows | DTS # 01 | 44 | 1327 | 6 | 6 | 7 | 11.1 | XXX
|  | TX-1 | 72 | 8742 | 2.5 | 2.3 | 2.9 |  | 28 | 85 | 100 | 414 | 2024-04-02
|  | TX-2 | 172 | 2888 | 4 | 4 | 4 |  | 139 | 156 | 95 |  | 9.56HRS
|  | SS # 815 | XXX |  | OFF | OFF | OFF |  | XXX
| S/S # 815 | DK-5 Bunglow | XXX |  | 0 | 0 | 0 | 11 | XXX
|  | TX-1 | 152 | 20786 | 5 | 5 | 4 |  | 140 | 96 | 124 | 422 | 2024-04-02
|  | TX-2 | 84 | 11828 | 0 | 0 | 0 |  | 64 | 88 | 44 |  | 9.47HRS
|  | DTS # 01 | 218 | 64783 | 0 | 0 | 0 |  | XXX

## 6)RING #6
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
| MAXIMUM DEMAND RECORDING SHEET JULY-2019 PAGE: 6 OF 19 | [10 empty] | APRIL - 2024 |  | PAGE 6 OF 19
RING # 06 (DTS # 02 PNO: A70 & A80)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| WORK SHOP | DTS # 02 | XXX | XXX | 8 | 8 | 8 | 11.09 | XXX
|  | TX-1 | 24 | 7780 | 0.4 | 0.4 | 0.4 |  | 22 | 24 | 24 | 422 | 2024-03-30
|  | TX-2 | 23 | 7764 | 0.3 | 0.3 | 0.3 |  | 24 | 26 | 30 |  | 10.20Hrs
|  | North Coast | XXX |  | 6 | 7 | 5
| North Coast | Work Shop | XXX |  | 0 | 0 | 0 | 11
|  | TX-1 | 114 | 15051 | 0 | 0 | 0 |  | 88 | 84 | 64 | 422 | 2024-03-30
|  | TX-2 | 119 | 14372 | 4 | 0 | 0 |  | 124 | 72 | 88 |  | 09.45Hrs
|  | Zone #3 | XXX |  | OFF
| ZONE # 3 | North Coast | XXX |  | 0 | 0 | 0 | 11.09 | XXX
|  | TX-1 | 124 | 3159 | 4 | 4 | 4 |  | 102 | 94 | 122 | 434 | 2024-03-30
|  | TX-2 | 123 | 2626 | 5 | 5 | 5 |  | 116 | 104 | 116 |  | 09.30Hrs
|  | SS Mess | XXX |  | 5 | 5 | 5
| SS MESS | Zone #3 | XXX |  | 5 | 5 | 5 | 11.05 | XXX
|  | TX-1 | 230 | 3498450 | 4 | - | 5 |  | 184 | 242 | 296 | 420 | 2024-03-30
|  | TX-2 | 230 | 3975670 | 5 | - | 5 |  | 240 | 272 | 194 |  | 10.00Hrs
|  | DTS # 02 | XXX | XXX | 8 | 8 | 8 |  | XXX

## 7)RING #7
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [6 empty] | APRIL - 2024 |  |  | PAGE 7 OF 19
RING # 07 (DTS # 01 PNO: A70 & A80)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-1310 | DTS # 01 | 551 | 71860 | 21 | 18 | 17 | 10.9 | XXX
|  | TX-1 | 155 | 17781 | 5 | 5 | 4 |  | 156 | 124 | 144 | 418 | 2024-04-01
|  | TX-2 | 375 | 18551 | 9 | 8 | 8 |  | 260 | 212 | 304 |  | 10:15Hrs
|  | S/S # 1320 | XXX |  | 0 | 0 | 0
| 88-SS-1320 | S/S # 1310 | XXX |  | 0 | 0 | 0 | 11 | XXX
|  | TX-1 | 105 | 5862 | 0 | 4 | 0 |  | 160 | 100 | 70 | 425 | 2024-04-01
|  | TX-2 | 39 | 12819 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 10:23Hrs
|  | S/S # 1420 |  |  | 0 | 0 | 0 |  | XXX
| 88-SS-1420 | S/S # 1320 | XXX |  | OFF |  |  | 11 | XXX
|  | TX-1 | 217 | 17959 | 7 | 6 | 6 |  | 195 | 120 | 160 | 425 | 2024-04-01
|  | TX-2 | 140 | 12009 | 0 | 0 | 0 |  | 118 | 120 | 145 |  | 10:31Hrs
|  | S/S # 1410 |  |  | 0 | 0 | 0
| 88-SS-1410 | S/S # 1420 |  |  | 0 | 0 | 0 | 11.1 | XXX
|  | TX-1 | 180 | 17308 | 7 | 6 | 5 |  | 216 | 132 | 168 | 428 | 2024-04-01
|  | TX-2 | 92 | 10307 | 0 | 0 | 0 |  | 68 | 32 | 44 |  | 10:43Hrs
|  | DTS # 01 | 523 | 58203 | 23 | 22 | 19 |  | XXX

## 8)RING #8
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET JULY-2019 PAGE:8 OF 19 | [11 empty] | APRIL-2024 |  | PAGE 8 OF 19
RING # 08 (DTS # 01 PNO: A110 & A120)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-1510 | DTS # 01 | 440 | 139653 | 16 | 17 | 16 | 11.02 | XXX
|  | TX-1 | 91 | 31794 | 0 | 0 | 0 |  | 50 | 60 | 75 | 429 | 2024-04-01
|  | TX-2 | 166 | 41169 | 6 | 5 | 6 |  | 120 | 165 | 155 |  | 10:52Hrs
|  | S/S # 1520 | XXX |  | 0 | 0 | 0 |  | XXX
| 88-SS-1520 | S/S # 1510 | XXX |  | 0 | 0 | 0 | 11.02 | XXX
|  | TX-1 | 120 | 37032 | 0 | 0 | 0 |  | 65 | 120 | 45 | 421 | 2024-04-01
|  | TX-2 | 138 | 30353 | 5 | 5 | 4 |  | 135 | 125 | 115 |  | 11.01Hrs
|  | S/S # 1610 | XXX |  | OFF |  |  |  | XXX
| 88-SS-1610 | S/S # 1520 | XXX |  | 0 | 0 | 0 | 11.2 | XXX
|  | TX-1 | 134 | 33711 | 4 | 5 | 5 |  | 105 | 155 | 115 | 429 | 2024-04-01
|  | TX-2 | 125 | 19740 | 4 | 5 | 4 |  | 120 | 125 | 100 |  | 11:11Hrs
|  | DTS # 01 | 241 | 58615 | 0 | 0 | 0 |  | XXX

## 9)RING #9
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET | [10 empty] | APRIL - 2024 |  | PAGE 9 OF 19
RING # 09 (DTS # 02 PNO: A110 & A120)
Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
88-SS-1805 | DTS # 02 | 407 | 74450 | 16 | 15 | 13 | 10.9 | XXX
| TX-1 | 147 | 27447 | 5 | 4 | 5 |  | 130 | 130 | 166 | 425 | 2024-04-02
| TX-2 | 139 | 24091 | 6 | 7 | 5 |  | 195 | 210 | 93 |  | 10:37Hrs
| 88-SS-1810 | XXX |  | 0 | 0 | 0 |  | XXX
88-SS-1810 | 88-SS-1805 | XXX |  | 0 | 0 | 0 | 10.9 | XXX
| TX-1 | 116 | 12114 | 0 | 0 | 0 |  | 64 | 68 | 80 | 421 | 2024-04-03
| TX-2 | 92 | 10061 | 0 | 0 | 0 |  | 56 | 40 | 100 |  | 10:25Hrs
| 88-SS-1710 | XXX |  | OFF |  |  |  | XXX
88-SS-1710 | 88-SS-1810 | XXX |  | 0 | 0 | 0 | 11 | XXX
| TX-1 | 167 | 18582 | 4 | 4 | 0 |  | 110 | 75 | 75 | 422
| TX-2 | 99 | 13071 | 0 | 0 | 0 |  | 90 | 100 | 95 | 421 | 2024-04-03
| TX-3 | 147 | 15587 | 4 | 5 | 4 |  | 142 | 125 | 80 | 421 | 10.00Hrs
| TX-4 | 195 | 25856 | 8 | 9 | 8 |  | 280 | 285 | 225 | 421
| 88-SS-550 (New) | XXX |  | 25 | 29 | 25 |  | XXX
| Police Station fdr | 142 | 8836 | 8 | 8 | 7 |  | 140 | 175 | 194 | 420
88-SS-550 (New) | 88-SS-1710 | XXX |  | 26 | 27 | 24 | 10.99
| TX-1 | 442 | 5417467 | 20 | 21 | 22 |  | 500 | 560 | 470 | 436 | 2024-04-02
| TX-2 | 427 | 4084763 | 18 | 19 | 20 |  | 500 | 525 | 505 |  | 10:48Hrs
| DTS # 02 | 1369 | 5185890 | 61 | 64 | 64

## 10)RING #10
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET | [10 empty] | APRIL - 2024 |  |  | PAGE 10 OF 19
RING # 10 (DTS # 01 PNO: A130 & A140)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| QPAA 88-SS-0015 | DTS # 01 | 2.0MW | 209191 | 123 | 126 | 122 | 10.9 | XXX |  |  |  | 03/04/2024111:32Hrs
|  | 88-TR0015-01 | 242 | 17423 | 13 | 14 | 14 |  | 346 | 316 | 322 | 413
|  | 88-TR0015-02 | 330 | 15482 | 22 | 23 | 22 |  | 663 | 648 | 600 | 409
|  | 88-SS-0020 | XXX |  | 73 | 72 | 71 |  | XXX
|  | Desal Plant | 144 | 8060 | 6 | 0 | 0 |  | XXX
|  | DWS Feeder | 341 | 21814 | 11 | 12 | 12 |  | XXX
| QPAA 88-SS-0020 | 88-SS-0015 | XXX |  | 75 | 73 | 75 | 10.9 | XXX
|  | 88-TR-0020-01 | 182 | 19229 | 12 | 12 | 12 |  | 342 | 332 | 320 | 418 | 03/04/2024110:55Hrs
|  | 88-TR-0020-02 | 142 | 21401 | 4 | 5 | 4 |  | 114 | 89 | 91 | 421
|  | IT (86T-SS-8601) | XXX |  | 58 | 57 | 57 |  | XXX
| IT S/S (86T-SS-8601) | 88-SS-0020 | XXX |  | 55 | 54 | 54 | 11.06 | XXX
|  | 86T-TR-8601-01 | 672 | 42420520 | 43 | 42 | 43 |  | 1178 | 1138 | 1178 | 424 | 03/04/2024010:50Hrs
|  | 86T-TR-8601-02 | 494 | 29178478 | 14 | 14 | 14 |  | 396 | 365 | 357 | 429
|  | HQ (DOMB) | XXX |  | 2 | 2 | 2 |  | XXX
| HQ (DOMB) | IT (86T-SS-8601) | XXX |  | OFF | OFF | OFF | 11 | XXX
|  | 88-TR002-01 | 444 | 4552 | 21 | 21 | 21 |  | 566 | 553 | 540 | 420 | 02/04/2024 11:00Hrs
|  | 88-TR002-02 | 395 | 1021 | 7 | 7 | 7 |  | 203 | 200 | 194 | 420
|  | 88-TR002-03 | 250 | 3294 | 10 | 11 | 10 |  | 352 | 304 | 290 | 421
|  | 88-TR002-04 | 415 | 190 | 20 | 21 | 21 |  | 542 | 545 | 528 | 419
|  | DTS # 01 | 1155 | 53532 | 58 | 60 | 58 |  | XXX

## 11)RING #11
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
| MAXIMUM DEMAND RECORDING SHEET | [10 empty] | APRIL - 2024 | PAGE 11 OF 19
RING # 11 (DTS # 01 PNO: A150 & A160)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-9310 | DTS # 01 | 744 | 2179507 | 29 | 30 | 30 | 11.2 | XXX
|  | 88-TR-9310-01 | 160 | 3822473 | 6 | 6 | 6 |  | 171 | 160 | 163 | 444 | 2024-04-01
|  | 88-TR-9310-02 | 147 | 2788274 | 6 | 6 | 6 |  | 160 | 155 | 143 |  | 11:28Hrs
|  | 88-SS-2010 | XXX |  | 17 | 18 | 18 |  | XXX
| 88-SS-2010 | 88-SS-9310 | XXX |  | 16 | 20 | 20 | 11.2 | XXX
|  | 88-TR-2010-01 | 259 | 25814 | 8 | 10 | 10 |  | 235 | 320 | 238 | 434 | 2024-04-01
|  | 88-TR-2010-02 | 332 | 25810 | 8 | 9 | 10 |  | 196 | 255 | 177 |  | 11:Hrs
|  | 88-SS-2020 | XXX |  | OFF |  |  |  | XXX
| 88-SS-2020 | 88-SS-2010 | XXX |  | 0 | 0 | 0 | 11.2
|  | 88-TR-2020-01 | 274 | 26176 | 7 | 8 | 9 |  | 226 | 312 | 212 | 433 | 2024-04-01
|  | 88-TR-2020-02 | 298 | 27951 | 7 | 7 | 9 |  | 190 | 277 | 209 |  | 11:20Hrs
|  | DTS # 01 | 527 | 54061 | 16 | 18 | 18 |  | XXX

## 12)RING #12
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [6 empty] | APRIL - 2024 |  |  | PAGE 12 OF 19
RING # 12 (DTS # 02 PNO: A130 & A140)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-9110 (S/S # N1) | DTS # 02 | 335 | 7218166 | 12 | 16 | 13 | 11.07 | XXX
|  | 88-TR-9110-01 | 166 | 1493365 | 6 | 9 | 6 |  | 178 | 269 | 130 | 441 | 2024-04-02
|  | 88-TR-9110-02 | 175 | 2261268 | 6 | 9 | 7 |  | 164 | 220 | 105 |  | 10.12Hrs
|  | 88-SS-9120 | XXX |  | 0 | 0 | 0
| 88-SS-9120 (S/S # N2) | 88-SS-9110 | XXX |  | 0FF |  |  | 10.99 | XXX
|  | 88-TR-9120-01 | 143 | 7649932 | 5 | 6 | 6 |  | 185 | 135 | 110 | 438 | 2024-04-02
|  | 88-TR-9120-02 | 144 | 5736143 | 6 | 6 | 5 |  | 250 | 160 | 120 |  | 10.20Hrs
|  | DTS # 02 | 268 | 9833617 | 12 | 11 | 12 |  | XXX

## 13)RING #14
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [7 empty] | APRIL - 2024 |  | PAGE 13 OF 19
RING # 14 (DTS # 02 PNO: A170 & A180)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| New Contractor | DTS # 02 | 547 | 6087119 | 9 | 9 | 8 | 11.06 | XXX |  |  |  | 01/04/2024 09:33Hrs
|  | TX-1 | 102 | 5030624 | 4 | 5 | 3 |  | 147 | 99 | 80 | 438
|  | TX-2 | 143 | 7748381 | 4 | 4 | 4 |  | 132 | 107 | 107 | 441
|  | North Gate | XXX |  | OFF
| NEW NORTH GATE | Contractor | XXX |  | 0 | 0 | 0 | 11.01 | 0 |  |  |  | 01/04/2024 09:50Hrs
|  | TX-1 | 81 | 3974078 | 4 | 4 | 3 |  | 89 | 89 | 91 | 436
|  | TX-2 | 54 | 3078669 | 1 | 1 | 1 |  | 0 | 0 | 0
|  | Kathiyah Bypass | 50 | 3509720 | 1 | 0 | 1 |  | XXX
|  | Covenant | XXX |  | 5 | 5 | 4 |  | XXX
| New Covenant | 88-SS-450 | XXX |  | 5 | 4 | 4 | 11.01 | XXX |  |  |  | 01/04/2024 10:00Hrs
|  | TX-1 | 73 | 4079541 | 2 | 3 | 2 |  | 0 | 0 | 0 | 437
|  | TX-2 | 184 | 8645790 | 5 | 5 | 4 |  | 155 | 111 | 123
|  | DTS # 02 | 375 | 940225 | 14 | 13 | 12

## 14)DTS #02 (hidden)
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [6 empty] | SEPTEMBER 2017 |  |  | PAGE 14 OF 18
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [MWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| DTS # 02 | Incomer # 01 | 5012 | 60095 MWH | 290 | 299 | 282 | 10.9 | XXX
|  | 88-TR-0981-01 | 0 | 54 MWH | 0 | 0 | 0 |  | 0 | 0 | 0 | 410 | 28/09/2017
|  | 88-TR-0981-02 | 0 | 318 MWH | 0 | 0 | 0 |  | 100 | 60 | 108 | 410 | 11:00 HRS
|  | Incomer # 02 | 4985 | 59715 MWH | 290 | 308 | 282 |  | XXX
|  | 11KV Ring # 1 (Pnl # A10) | 362 | 6139 MWH | 22 | 21 | 20 |  | XXX
|  | 11KV Ring # 1 (Pnl # A20) | 612 | 9613 MWH | 40 | 34 | 31 |  | XXX
|  | 11KV Ring # 2 (Pnl # A30) | 1842 | 18996 MWH | 107 | 112 | 109 |  | XXX
|  | 11KV Ring # 2 (Pnl # A40) | 386 | 14829 MWH | 24 | 24 | 24 |  | XXX
|  | 11KV Ring # 3 (Pnl # A50) | 359 | 5920 MWH | 18 | 20 | 21 |  | XXX
|  | 11KV Ring # 3 (Pnl # A60) | 1524 | 21698 MWH | 91 | 90 | 86 |  | XXX
|  | 11KV Ring # 6 (Pnl # A70) | 381 | 4836 MWH | 22 | 22 | 18 |  | XXX
|  | 11KV Ring # 6 (Pnl # A80) | 862 | 14019 MWH | 51 | 56 | 58 |  | XXX
|  | 11KV Ring # 9 (Pnl # A110) | 898 | 18128 MWH | 56 | 53 | 47 |  | XXX
|  | 11KV Ring # 9 (Pnl # A120) | 1481 | 13542 MWH | 88 | 91 | 86 |  | XXX
|  | 11KV Ring #12 (Pnl # A130) | 1303 | 2845 MWH | 74 | 79 | 81 |  | XXX
|  | 11KV Ring #12 (Pnl # A140) | 0 | 0 | 0 | 0 | 0 |  | XXX

## 17)DSFA
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [6 empty] | APRIL - 2024 |  |  | PAGE 17 OF 19
DSFA
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [MWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-1100 | Incomer # 1 | 1.21MW | 75815 | 55 | 57 | 52 | 10.8 | XXX |  |  |  | 31/03/2024 10.33Hrs
|  | Ring Fdr # 1 | 608 | 40787 | 26 | 28 | 25 |  | XXX
|  | Al Hamla BH | 634 | 31190 | 24 | 25 | 21 |  | XXX
|  | Coastal RLSS | 42 | 1496 | 1 | 1 | 1 |  | XXX
|  | 88-TR-1100-01 | 20 | 2291 | 0 | 0 | 0 |  | 18 | 17 | 16 | 409
|  | 88-TR-1100-02 | 0 | 2.1 | 0 | 0 | 0 |  | 0 | 0 | 0
|  | Ring Fdr # 2 | 664 | 56074 | 25 | 26 | 24 |  | xxx
|  | Al Hamla RMU | 0 | 2.7 | 0 | 0 | 0 |  | XXX
|  | Incomer # 2 | 678 | 75197 | 24 | 25 | 25 |  | XXX
|  | 86E-TR-0001 | 193 | 46 | 0 | 0 | 0 |  | XXX
| 88-SS-1110 | 88-SS-1100 | XXX |  | 31 | 33 | 30 | 10.8 | XXX |  |  |  | 31/03/2024 10:55Hrs
|  | 88-TR-1110-01 | 156 | 261 | 2 | 2 | 2 |  | 14 | 15 | 17 | 411
|  | 88-TR-1110-02 | 96 | 6770 | 3 | 2 | 3 |  | 58 | 50 | 49
|  | 88-SS-1120 | XXX |  | 26 | 27 | 28 |  | XXX
| 88-SS-1120 | 88-SS-1110 | XXX |  | 25 | 22 | 24 | 10.8 | XXX |  |  |  | 31/03/2024 11.12Hrs
|  | 88-TR-1120-01 | 96 | 2288 | 4 | 3 | 3 |  | 84 | 82 | 80 | 409
|  | 88-TR-1120-02 | 74 | 1452 | 0 | 0 | 0 |  | 99 | 102 | 104
|  | 88-SS-1130 | XXX |  | 19 | 17 | 16
| 88-SS-1130 | 88-SS-1120 | XXX |  | 18 | 17 | 17 | 10.8 | XXX |  |  |  | 31/03/2024 11.05Hrs
|  | 88-TR-1130-01 | 79 | 2178 | 2 | 3 | 2 |  | 55 | 57 | 48 | 409
|  | 88-TR-1130-02 | 109 | 1827 | 2 | 2 | 2 |  | 60 | 55 | 54
|  | 88-SS-1140 | XXX |  | 14 | 13 | 14
|  | El Workshop Tx | 0 | 105 | 0 | 0 | 0 |  | XXX
| 88-SS-1140 | 88-SS-1130 | XXX |  | 14 | 12 | 15 | 10.8 | XXX |  |  |  | 31/03/2024 11.20Hrs
|  | 88-TR-1140-01 | 192 | 10628 | 11 | 11 | 11 |  | 339 | 318 | 321 | 406
|  | 88-TR-1140-02 | 119 | 7632 | 2 | 3 | 3 |  | 80 | 78 | 99
|  | 88-SS-0140 | XXX |  | off | off | off |  | XXX
| 88-SS-0140 | 88-SS-1140 | XXX |  | 0 | 0 | 0 | 10.9 | XXX |  |  |  | 31/03/2024 08.47Hrs
|  | 88-TR-0140-01 | 70 | 7140 | 2 | 2 | 2 |  | 100 | 102 | 99 | 413
|  | 88-TR-0140-02 | 29 | 5288 | 0 | 0 | 0 |  | 5 | 5 | 4
|  | 88-SS-0130 | XXX |  | 0 | 0 | 0
| 88-SS-0130 | 88-SS-0140 | XXX |  | 0 | 0 | 0 | 11 |  |  |  |  | 31/03/2024 08.22Hrs
|  | 88-TR-0130-01 | 26 | 4753 | 0 | 0 | 0 |  | 14 | 15 | 13 | 420
|  | 88-TR-0130-02 | 152 | 14763 | 5 | 6 | 6 |  | 110 | 143 | 118
|  | 88-SS-1160 | XXX |  | 7 | 8 | 7
| 88-SS-1160 | 88-SS-0130 | XXX |  | 8 | 8 | 7 | 10.8 | XXX |  |  |  | 31/03/2024 10.45Hrs
|  | 88-TR-1160-01 | 63 | 4731 | 0 | 0 | 0 |  | 10 | 9 | 12 | 410
|  | 88-SS-1150 | XXX |  | 10 | 9 | 9
| 88-SS-1150 | 88-SS-1160 | XXX |  | 9 | 7 | 9 | 10.9 | XXX |  |  |  | 31/03/2024 10.40Hrs
|  | 88-TR-1150-01 | 151 | 9968 | 7 | 7 | 6 |  | 169 | 172 | 168 | 408
|  | 88-TR-1150-02 | 199 | 11411 | 10 | 10 | 9 |  | 293 | 224 | 221
|  | 88-SS-1100 | XXX | XXX | 25 | 26 | 27 |  | XXX