## 1)RING #1
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 01 (DTS # 02 PNO: A10 & A20) | [9 empty] | DECEMBER - 2024 |  |  | PAGE 1 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| Mosque | DTS # 02 | XXX |  | 8 | 8 | 8 | 10.9 | XXX
|  | TX-1 | 150 | 6131650 | 5 | - | 4 |  | 72 | 56 | 64 | 410 | 04/12/2024 08.40Hrs
|  | TX-2 | 110 | 1879180 | 3 | - | 3 |  | 84 | 44 | 80
|  | Fire Station | XXX |  | 0 | 0 | 0
| Fire Station | Mosque | XXX |  | OFF |  |  | 10.99 | XXX |  |  |  | 04/12/2024 9.31Hrs
|  | TX-1 | 216 | 1111 | 7 | 7 | 6 |  | 102 | 50 | 100 | 416
TX-2
|  | TX-2 | 129 | 3233 | 4 | 4 | 4 |  | 34 | 37 | 47
|  | Substation#N3 | XXX |  | 1 | 1 | 1
| Substation # N3 | Fire Station | XXX |  | 4 | 3 | 4 | 10.91 | XXX
|  | TX-1 | 30 | 1185862 | 1 | 1 | 1 |  | 0 | 0 | 0 | 436 | 04/12/2024 9.00Hrs
|  | TX-2 | 4 | 410384 | 0 | 0 | 0 |  | 0 | 0 | 0
|  | D-Type | XXX |  | 7 | 7 | 6 |  | XXX
| D-Type | Substation#N3 | XXX |  | 26 | 21 | 21 | 10.88 | XXX |  |  |  | 04/12/2024 9.20Hrs
|  | TX-1 | 150 | 56350 | 4 | - | 3 |  | 64 | 24 | 72 | 420
|  | TX-2 | 280 | 98620 | 8 | - | 6 |  | 52 | 16 | 28
|  | Kahrama PS | 0 | 3453300 | 0 | - | 0 |  | XXX
|  | DTS # 02 | XXX |  | 30 | 22 | 23 |  | XXX

## 2)RING #2
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 02 (DTS # 02 PNO: A30 & A40) | [9 empty] | DECEMBER - 2024 |  |  | PAGE 2 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| Main Camp (New) | DTS # 02 | 720 | 3813019 | 3 | 3 | 3 | 10.9 | XXX
|  | TX-1 | 69 | 3722840 | 3 | 3 | 3 |  | 0 | 0 | 0 | 437 | 04/12/2024 09.45Hrs
|  | TX-2 | 24 | 1091445 | 0 | 0 | 0 |  | 0 | 0 | 0
|  | Escarpment | XXX |  | 0 | 0 | 0
| Escarpment | Main Camp New) | XXX |  | OFF |  |  | 10.9 | XXX
|  | TX-1 | 270 | 22633 | 10 | 10 | 9 |  | 291 | 270 | 266 | 423 | 04/12/2024 10.25Hrs
|  | TX-2 | 332 | 32459 | 9 | 9 | 9 |  | 242 | 227 | 256
|  | SS Bungalow | XXX |  | 20 | 19 | 19
| S.S.Bungalow | Escarpment | XXX |  | 20 | 19 | 19 | 10.9 | XXX
|  | TX-1 | 170 | 762870 | 3 | - | 2 |  | 60 | 62 | 52 | 418 | 04/12/2024 10.15Hrs
|  | TX-2 | 220 | 782910 | 2 | - | 2 |  | 58 | 60 | 56
|  | Supalite | XXX |  | 38 | 38 | 38
| Supalite | SS Bungalow | XXX |  |  |  |  | - | XXX
|  | TX-1 | 171 | 34054946 | XXX |  |  |  | 119 | 108 | 131 | 409 | 04/12/2024 10.05Hrs
|  | TX-2 | 164 | 32708205 | XXX |  |  |  | 113 | 104 | 115
|  | DTS # 02 | XXX | [5 empty] | XXX

## 3)RING #3
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 03 (DTS # 02 PNO: A50 & A60) | [9 empty] | DECEMBER - 2024 |  |  | PAGE 3 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| Hospital | DTS # 02 | 650 | 80921 | 19 | 19 | 19 | 11 | XXX
|  | TX-1 | 252 | 717 | 7 | 6 | 6 |  | 210 | 151 | 158 | 415 | 2024-12-02
|  | TX-2 | 226 | 4181 | 2 | 2 | 2 |  | 50 | 54 | 50 |  | 11.10Hrs
|  | New Cinema | XXX |  | 11 | 11 | 11 |  | XXX
| New Cinema | Hospital | XXX |  | 7 | 7 | 6 | 10.8 | XXX
|  | TX-1 | 197 | 749217 | 6 | 6 | 6 |  | 162 | 157 | 157 | 430 | 2024-12-02
|  | TX-2 | 116 | 4087189 | 1 | 1 | 1 |  | 0 | 0 | 0 | 423 | 10.20Hrs
|  | New M.R.Club | XXX |  | 0 | 0 | 0 |  | XXX
| New M.R. Club | New Cinema | XXX |  | OFF |  |  | 10.9 | XXX
|  | TX-1 | 482 | 4687860 | 11 | 11 | 10 |  | 348 | 352 | 100 | 432 | 2024-12-02
|  | TX-2 | 489 | 7639990 | 19 | 19 | 19 |  | 383 | 327 | 471 | 432 | 08.30Hrs
|  | DTS # 2 | 946 | 1305897 | 27 | 25 | 25 |  | XXX

## 4)RING #4
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 04 (DTS # 01 PNO: A30 & A40) | [9 empty] | DECEMBER- 2024 |  |  | PAGE 4 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| F/Ball Pitch | DTS # 01 | 200 | 68918700 | 3 | - | 3 | 11.08 | XXX
|  | TX-1 | 100 | 635220 | 2 | - | 2 |  | 35 | 28 | 35 | 420 | 2024-12-04
|  | TX-2 | 80 | 5483000 | 1 | - | 0 |  | 28 | 35 | 35 |  | 11:00 hrs
|  | Dk-5 | XXX |  | OFF
| DK-5 | Football Pitch | XXX |  | 0 | 0 | 0 | 11.08 | XXX
|  | TX-1 | 120 | 9630680 | 1 | - | 2 |  | 49 | 42 | 35 | 408 | 2024-12-04
|  | TX-2 | 120 | 253540 | 2 | - | 2 |  | 42 | 49 | 49 |  | 10.50Hrs
|  | DTS # 01 | XXX |  | 8 | 6 | 8 |  | XXX

## 5)RING #5
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 05 (DTS # 01 PNO: A50 & A60) | [9 empty] | DECEMBER - 2024 |  |  | PAGE 5 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| Dk5 Bungalows | DTS # 01 | 62 | 1327 | 6 | 6 | 6 | 11.08 | XXX
|  | TX-1 | 82 | 9115 | 2 | 2 | 2 |  | 66 | 53 | 43 | 413 | 2024-12-03
|  | TX-2 | 201 | 3897 | 4 | 5 | 5 |  | 82 | 150 | 130 |  | 13.30.35Hrs
|  | SS # 815 | XXX |  | OFF | OFF | OFF |  | XXX
| S/S # 815 | DK-5 Bunglow | XXX |  | 0 | 0 | 0 | 11 | XXX
|  | TX-1 | 301 | 22102 | 6 | 5 | 5 |  | 148 | 126 | 168 | 422 | 2024-12-03
|  | TX-2 | 128 | 12308 | 0 | 0 | 0 |  | 40 | 20 | 60 |  | 13.20Hrs
|  | DTS # 01 | 405 | 66573 | 0 | 0 | 0 |  | XXX

## 6)RING #6
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
| MAXIMUM DEMAND RECORDING SHEET PAGE: 6 OF 19 | [10 empty] | DECEMBER- 2024 |  | PAGE 6 OF 19
RING # 06 (DTS # 02 PNO: A70 & A80)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| WORK SHOP | DTS # 02 | XXX | XXX | 5 | 5 | 5 | 11.02 | XXX
|  | TX-1 | 48 | 7874 | 1 | 1 | 1 |  | 26 | 20 | 30 | 419 | 2024-12-04
|  | TX-2 | 48 | 7855 | 1 | 1 | 1 |  | 26 | 18 | 28 |  | 10.40 hrs
|  | North Coast | XXX |  | 5 | 5 | 4
| North Coast | Work Shop | XXX |  | 0 | 0 | 0 | 10.9
|  | TX-1 | 148 | 15823 | 0 | 4 | 0 |  | 84 | 116 | 40 | 417 | 2024-12-03
|  | TX-2 | 124 | 15143 | 0 | 0 | 0 |  | 96 | 72 | 72 |  | 13.40 hrs
|  | Zone #3 | XXX |  | OFF
| ZONE # 3 | North Coast | XXX |  | 0 | 0 | 0 | 10.9 | XXX
|  | TX-1 | 167 | 4017 | 6 | 6 | 6 |  | 148 | 100 | 122 | 424 | 2024-12-03
|  | TX-2 | 159 | 3457 | 6 | 6 | 6 |  | 138 | 120 | 116 |  | 14.00hrs
|  | SS Mess | XXX |  | 14 | 13 | 14
| SS MESS | Zone #3 | XXX |  | 10 | 8 | 9 | 10.9 | XXX
|  | TX-1 | 250 | 4764170 | 11 | - | 11 |  | 212 | 296 | 272 | 410 | 2024-12-03
|  | TX-2 | 250 | 5255090 | 12 | - | 12 |  | 280 | 316 | 264 |  | 14.10hrs
|  | DTS # 02 | XXX | XXX | 31 | 32 | 33

## 7)RING #7
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [6 empty] | DECEMBER - 2024 |  |  | PAGE 7 OF 19
RING # 07 (DTS # 01 PNO: A70 & A80)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-1310 | DTS # 01 | 805 | 75805 | 28 | 27 | 24 | 10.9 | XXX
|  | TX-1 | 311 | 18919 | 9 | 8 | 8 |  | 200 | 212 | 202 | 420 | 2024-12-01
|  | TX-2 | 399 | 20231 | 12 | 13 | 11 |  | 260 | 200 | 228 |  | 09.25Hrs
|  | S/S # 1320 | XXX |  | 0 | 0 | 0
| 88-SS-1320 | S/S # 1310 | XXX |  | 0 | 0 | 0 | 10.9 | XXX
|  | TX-1 | 160 | 6743 | 4 | 4 | 0 |  | 155 | 105 | 85 | 421 | 2024-12-01
|  | TX-2 | 85 | 13047 | 0 | 0 | 0 |  | 60 | 40 | 40 |  | 10.05Hrs
|  | S/S # 1420 | XXX |  | 0 | 0 | 0 |  | XXX
| 88-SS-1420 | S/S # 1320 | XXX |  | OFF |  |  | 11 | XXX
|  | TX-1 | 309 | 19848 | 5 | 6 | 5 |  | 170 | 130 | 120 | 422 | 2024-12-01
|  | TX-2 | 203 | 12667 | 5 | 5 | 4 |  | 145 | 100 | 115 |  | 09.50Hrs
|  | S/S # 1410 | XXX |  | 0 | 0 | 0
| 88-SS-1410 | S/S # 1420 | XXX |  | 0 | 0 | 0 | 11 | XXX
|  | TX-1 | 226 | 18510 | 4 | 0 | 0 |  | 116 | 70 | 92 | 421 | 2024-12-01
|  | TX-2 | 104 | 10909 | 0 | 0 | 0 |  | 84 | 30 | 40 |  | 09.35Hrs
|  | DTS # 01 | 693 | 62505 | 15 | 14 | 0 |  | XXX

## 8)RING #8
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET JULY-2019 PAGE:8 OF 19 | [11 empty] | DECEMBER -2024 |  | PAGE 8 OF 19
RING # 08 (DTS # 01 PNO: A110 & A120)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-1510 | DTS # 01 | 589 | 143344 | 12 | 15 | 15 | 11 | XXX
|  | TX-1 | 109 | 32324 | 0 | 0 | 0 |  | 50 | 0 | 45 | 422 | 2024-12-01
|  | TX-2 | 223 | 42478 | 4 | 4 | 4 |  | 125 | 80 | 85 |  | 09.40Hrs
|  | S/S # 1520 | XXX |  | 0 | 12 | 0 |  | XXX
| 88-SS-1520 | S/S # 1510 | XXX |  | 0 | 0 | 0 | 11 | XXX
|  | TX-1 | 145 | 37846 | 0 | 0 | 0 |  | 75 | 100 | 45 | 421 | 2024-12-01
|  | TX-2 | 172 | 31376 | 4 | 4 | 4 |  | 115 | 130 | 85 |  | 09.50Hrs
|  | S/S # 1610 | XXX |  | OFF |  |  |  | XXX
| 88-SS-1610 | S/S # 1520 | XXX |  | 0 | 0 | 0 | 11 | XXX
|  | TX-1 | 204 | 34810 | 4 | 4 | 4 |  | 70 | 115 | 105 | 422 | 2024-12-01
|  | TX-2 | 184 | 20494 | 0 | 0 | 0 |  | 70 | 85 | 55 |  | 10.00Hrs
|  | DTS # 01 | 349 | 60453 | 0 | 0 | 0 |  | XXX

## 9)RING #9
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET | [10 empty] | DECEMBER - 2024 |  | PAGE 9 OF 19
RING # 09 (DTS # 02 PNO: A110 & A120)
Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
88-SS-1805 | DTS # 02 | 585 | 78427 | 13 | 0 | 13 | 10.9 | XXX
| TX-1 | 196 | 28721 | 0 | 0 | 0 |  | 99 | 90 | 97 | 421 | 2024-12-02
| TX-2 | 359 | 25504 | 5 | 4 | 4 |  | 157 | 100 | 125 |  | 10.00Hrs
| 88-SS-1810 | XXX |  | 0 | 0 | 0 |  | XXX
88-SS-1810 | 88-SS-1805 | XXX |  | 0 | 0 | 0 | 10.8 | XXX
| TX-1 | 129 | 12784 | 0 | 0 | 0 |  | 56 | 52 | 56 | 417 | 2024-12-02
| TX-2 | 99 | 10681 | 0 | 0 | 0 |  | 40 | 15 | 44 |  | 09.40Hrs
| 88-SS-1710 | XXX |  | OFF |  |  |  | XXX
88-SS-1710 | 88-SS-1810 | XXX |  | 0 | 0 | 0 | 10.9 | XXX
| TX-1 | 146 | 19131 | 4 | 5 | 4 |  | 135 | 115 | 100 | 415
| TX-2 | 121 | 13746 | 0 | 0 | 0 |  | 80 | 70 | 45 | 415 | 2024-12-02
| TX-3 | 175 | 16323 | 5 | 5 | 4 |  | 170 | 145 | 105 | 415 | 09.20Hrs
| TX-4 | 241 | 26937 | 6 | 7 | 7 |  | 180 | 160 | 145 | 417
| 88-SS-550 (New) | XXX |  | 22 | 24 | 21 |  | XXX
| Police Station fdr | 157 | 9683 | 4 | 4 | 4 |  | 51 | 50 | 48 | x
88-SS-550 (New) | 88-SS-1710 | XXX |  | 18 | 17 | 16 | 10.89
| TX-1 | 568 | 8565550 | 13 | 14 | 15 |  | 380 | 435 | 325 | 432 | 2024-12-02
| TX-2 | 662 | 6616161 | 14 | 15 | 16 |  | 405 | 450 | 420 |  | 08.55Hrs
| DTS # 02 | 1704 | 4763174 | 47 | 50 | 48

## 10)RING #10
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET | [10 empty] | DECEMBER - 2024 |  |  | PAGE 10 OF 19
RING # 10 (DTS # 01 PNO: A130 & A140)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| QPAA 88-SS-0015 | DTS # 01 | 2.26MW | 222270 | 100 | 100 | 98 | 11 | XXX |  |  |  | 02/12/2024 10.35Hrs
|  | 88-TR0015-01 | 306 | 18913 | 12 | 13 | 12 |  | 316 | 346 | 282 | 414
|  | 88-TR0015-02 | 384 | 17495 | 13 | 14 | 13 |  | 398 | 374 | 346 | 414
|  | 88-SS-0020 | XXX |  | 70 | 69 | 68 |  | XXX
|  | Desal Plant | 121 | 8602 | 0 | 0 | 0 |  | XXX
|  | DWS Feeder | 383 | 23464 | 12 | 12 | 13 |  | XXX
| QPAA 88-SS-0020 | 88-SS-0015 | XXX |  | 61 | 61 | 60 | 11 | XXX
|  | 88-TR-0020-01 | 236 | 20254 | 8 | 4 | 8 |  | 322 | 322 | 315 | 420 | 02/12/2024 10.25Hrs
|  | 88-TR-0020-02 | 216 | 22111 | 4 | 49 | 4 |  | 126 | 82 | 87 | 422
|  | IT (86T-SS-8601) | XXX |  | 50 | 56 | 4 |  | XXX
| IT S/S (86T-SS-8601) | 88-SS-0020 | XXX |  | 56 | 68 | 49 | 11.06 | XXX
|  | 86T-TR-8601-01 | 690 | 45711133 | 33 | 31 | 56 |  | 882 | 827 | 869 | 427 | 02/12/2024 13.10Hrs
|  | 86T-TR-8601-02 | 520 | 31689113 | 25 | 26 | 32 |  | 694 | 669 | 679 | 428
|  | HQ (DOMB) | XXX |  | 2 | 2 | 26 |  | XXX
| HQ (DOMB) | IT (86T-SS-8601) | XXX |  |  | OFF |  | 10.94 | XXX
|  | 88-TR002-01 | 497 | 6043 | 7 | 7 | 7 |  | 198 | 185 | 181 | 420 | 02/12/2024 10.10Hrs
|  | 88-TR002-02 | 543 | 3029 | 13 | 13 | 13 |  | 547 | 564 | 554 | 416
|  | 88-TR002-03 | 273 | 4402 | 10 | 10 | 10 |  | 208 | 179 | 202 | 419
|  | 88-TR002-04 | 418 | 2065 | 18 | 18 | 19 |  | 411 | 433 | 493 | 418
|  | DTS # 01 | 1295 | 60056 | 48 | 48 | 50 |  | XXX

## 11)RING #11
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
| MAXIMUM DEMAND RECORDING SHEET | [10 empty] | DECEMBER - 2024 | PAGE 11 OF 19
RING # 11 (DTS # 01 PNO: A150 & A160)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-9310 | DTS # 01 | 969 | 7755243 | 27 | 27 | 27 | 11 | XXX
|  | 88-TR-9310-01 | 216 | 4997719 | 5 | 5 | 5 |  | 160 | 143 | 143 | 437 | 2024-12-01
|  | 88-TR-9310-02 | 206 | 3631342 | 5 | 5 | 5 |  | 108 | 95 | 91 |  | 10.25Hrs
|  | 88-SS-2010 | XXX |  | 18 | 19 | 19 |  | XXX
| 88-SS-2010 | 88-SS-9310 | XXX |  | 15 | 16 | 17 | 11 | XXX
|  | 88-TR-2010-01 | 324 | 27427 | 8 | 8 | 9 |  | 194 | 253 | 189 | 427 | 2024-12-01
|  | 88-TR-2010-02 | 342 | 27721 | 6 | 8 | 7 |  | 234 | 257 | 144 |  | 10.40Hrs
|  | 88-SS-2020 | XXX |  | OFF |  |  |  | XXX
| 88-SS-2020 | 88-SS-2010 | XXX |  | 0 | 0 | 0 | 11 | XXX
|  | 88-TR-2020-01 | 318 | 27837 | 8 | 8 | 7 |  | 202 | 179 | 162 | 426 | 2024-12-01
|  | 88-TR-2020-02 | 342 | 29723 | 8 | 9 | 7 |  | 281 | 231 | 180 |  | 10.15Hrs
|  | DTS # 01 | 641 | 57478 | 15 | 18 | 16 |  | XXX

## 12)RING #12
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [6 empty] | DECEMBER- 2024 |  |  | PAGE 12 OF 19
RING # 12 (DTS # 02 PNO: A130 & A140)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-9110 (S/S # N1) | DTS # 02 | 461 | 157742 | 10 | 12 | 9 | 10.86 | XXX
|  | 88-TR-9110-01 | 216 | 2970386 | 4 | 4 | 4 |  | 30 | 40 | 35 | 432 | 2024-12-01
|  | 88-TR-9110-02 | 250 | 3730739 | 5 | 7 | 6 |  | 125 | 125 | 70 |  | 13.10Hrs
|  | 88-SS-9120 | XXX |  | 0 | 0 | 0
| 88-SS-9120 (S/S # N2) | 88-SS-9110 | XXX |  | 0FF |  |  | 10.8 | XXX
|  | 88-TR-9120-01 | 194 | 8875976 | 5 | 4 | 6 |  | 105 | 105 | 120 | 432 | 2024-12-01
|  | 88-TR-9120-02 | 193 | 6849456 | 5 | 5 | 4 |  | 115 | 0 | 0 |  | 08.15Hrs
|  | DTS # 02 | 373 | 2167630 | 7 | 8 | 7 |  | XXX

## 13)RING #14
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [7 empty] | DECEMBER - 2024 |  | PAGE 13 OF 19
RING # 14 (DTS # 02 PNO: A170 & A180)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| New Contractor | DTS # 02 | 269 | 7662252 | 7 | 8 | 5 | 10.9 | XXX |  |  |  | 01/12/2024 13.25Hrs
|  | TX-1 | 110 | 5638850 | 4 | 4 | 2 |  | 132 | 65 | 65 | 432
|  | TX-2 | 176 | 8715168 | 3 | 3 | 2 |  | 102 | 99 | 52 | 432
|  | North Gate | XXX |  | OFF |  |  |  | XXX
| NEW NORTH GATE | Contractor | XXX |  | 0 | 0 | 0 | 10.9 | XXX |  |  |  | 01/12/2024 13.32Hrs
|  | TX-1 | 101 | 4485549 | 4 | 4 | 4 |  | 99 | 107 | 97 | 433
|  | TX-2 | 77 | 3496562 | 1 | 1 | 1 |  | 0 | 0 | 57
|  | Kathiyah Bypass | 53 | 3736475 | 2 | 1 | 1 |  | XXX
|  | Covenant | XXX |  | 6 | 6 | 5 |  | XXX
| New Covenant | 88-SS-450 | XXX |  | 5 | 3 | 4 | 10.88 | XXX |  |  |  | 01/12/2024 13.36Hrs
|  | TX-1 | 103 | 4643130 | 3 | 2 | 3 |  | 0 | 0 | 115 | 423
|  | TX-2 | 200 | 9908179 | 6 | 6 | 4 |  | 143 | 108 | 99
|  | DTS # 02 | 465 | 3920057 | 12 | 11 | 11

## 14)DTS #02 (hidden)
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [6 empty] | SEPTEMBER 2017 |  |  | PAGE 14 OF 18
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [MWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| DTS # 02 | Incomer # 01 | 5012 | 60095 MWH | 290 | 299 | 282 | 10.9 | XXX
|  | 88-TR-0981-01 | 0 | 54 MWH | 0 | 0 | 0 |  | 0 | 0 | 0 | 410 | 28/09/2017
|  | 88-TR-0981-02 | 0 | 318 MWH | 0 | 0 | 0 |  | 100 | 60 | 108 | 410 | 11:00 HRS
|  | Incomer # 02 | 4985 | 59715 MWH | 290 | 308 | 282 |  | XXX
|  | 11KV Ring # 1 (Pnl # A10) | 362 | 6139 MWH | 22 | 21 | 20 |  | XXX
|  | 11KV Ring # 1 (Pnl # A20) | 612 | 9613 MWH | 40 | 34 | 31 |  | XXX
|  | 11KV Ring # 2 (Pnl # A30) | 1842 | 18996 MWH | 107 | 112 | 109 |  | XXX
|  | 11KV Ring # 2 (Pnl # A40) | 386 | 14829 MWH | 24 | 24 | 24 |  | XXX
|  | 11KV Ring # 3 (Pnl # A50) | 359 | 5920 MWH | 18 | 20 | 21 |  | XXX
|  | 11KV Ring # 3 (Pnl # A60) | 1524 | 21698 MWH | 91 | 90 | 86 |  | XXX
|  | 11KV Ring # 6 (Pnl # A70) | 381 | 4836 MWH | 22 | 22 | 18 |  | XXX
|  | 11KV Ring # 6 (Pnl # A80) | 862 | 14019 MWH | 51 | 56 | 58 |  | XXX
|  | 11KV Ring # 9 (Pnl # A110) | 898 | 18128 MWH | 56 | 53 | 47 |  | XXX
|  | 11KV Ring # 9 (Pnl # A120) | 1481 | 13542 MWH | 88 | 91 | 86 |  | XXX
|  | 11KV Ring #12 (Pnl # A130) | 1303 | 2845 MWH | 74 | 79 | 81 |  | XXX
|  | 11KV Ring #12 (Pnl # A140) | 0 | 0 | 0 | 0 | 0 |  | XXX

## 19)DSSA
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
[11 empty] | DECEMBER - 2024 |  |  | PAGE 19 OF 19
| DSSA SUB STATION | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [MWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-907 | 88-SS-900 | 0 | 25586 | 0 | 0 | 0 | 11.3 | XXX
|  | 88-TR-907 | 152 | 17500 | 10 | 10 | 10 |  | 225 | 251 | 234 | 420 | 2024-12-03
|  | 88-SS-930 | XXX |  | 24 | 30 | 25 |  | XXX |  |  |  | 10.25Hrs
|  | Amwaj Plot 37 Tx | 1287 | 55365303 | 17 | 20 | 17 |  | XXX
| 88-SS-930 | 88-SS-907 |  |  | XXX |  |  | xxx | XXX
|  | 88-TR-930 | 155 | 4412419 | XXX |  |  |  | 76 | 59 | 106 | 417 | 2024-12-03
|  | 88-SS-940 | XXX |  | XXX |  |  |  | XXX |  |  |  | 09.15Hrs
| 88-SS-940 | 88-SS-930 | XXX |  | XXX |  |  | xxx | XXX
|  | 88-TR-940 | 210 | 802665 | XXX |  |  |  | 125 | 149 | 129 | 428 | 2024-12-03
|  | 88-SS-900 | XXX |  | XXX |  |  |  | XXX |  |  |  | 09.05Hrs
| 88-SS-910 | 88-SS-900 | XXX |  | XXX |  |  | xxx | XXX
|  | 88-TR-910 | 239 | 31731850 | XXX |  |  |  | 54 | 56 | 58 | 417 | 2024-12-03
|  | 88-SS-913 | XXX |  | XXX |  |  |  | XXX |  |  |  | 10.10Hrs
| 88-SS-913 | 88-SS-910 | XXX |  | XXX |  |  | xxx | XXX
|  | 88-TR-913 | 379 | 48022 | XXX |  |  |  | 295 | 272 | 210 | 417 | 2024-12-03
|  | 88-SS-905 |  |  | XXX |  |  |  | XXX |  |  |  | 09.58Hrs
| 88-SS-905 | 88-SS-913 | XXX |  | OFF |  |  | 11 | XXX
|  | 88-TR-905 | 105 | 17181 | 6 | 5 | 5 |  | 139 | 165 | 165 | 420 | 2024-12-03
|  | 88-SS-900 | 77 | 16844 | 7 | 7 | 7 |  | XXX |  |  |  | 09.50Hrs
| 88-SS-925 | 88-SS-900 | 454 | 40205 | 24 | 23 | 21 | 11.2 | XXX
|  | 88-TR-925 | 324 | 30436 | 18 | 19 | 17 |  | 508 | 496 | 472 | 417 | 2024-12-03
|  | 88-SS-920 | XXX |  | OFF |  |  |  | XXX |  |  |  | 09.30Hrs
|  | Ala Qaria | 75 | 23333559 | 4 | 6 | 6 |  | XXX
| 88-SS-920 | 88-SS-925 | XXX |  | XXX |  |  | xxx | XXX
|  | 88-TR-920 | 156 | 25623716 | XXX |  |  |  | 74 | 91 | 0 | 417 | 2024-12-03
|  | 88-SS-916 | XXX |  | XXX |  |  |  | XXX |  |  |  | 09.40Hrs
| 88-SS-916 | 88-SS-920 | XXX |  | XXX |  |  | xxx | XXX
|  | 88-TR-916 | 207 | 20778 | XXX |  |  |  | 83 | 107 | 107 | 418 | 2024-12-03
|  | 88-SS-900 | XXX |  | XXX | [7 empty] | 09.50Hrs