## 1)RING #1
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 01 (DTS # 02 PNO: A10 & A20) | [9 empty] | FEBRUARY - 2024 |  |  | PAGE 1 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| Mosque | DTS # 02 | XXX |  | 6 | 6 | 6 | 11.05 | XXX
|  | TX-1 | 130 | 5081120 | 4 | - | 3 |  | 78 | 82 | 86 | 428 | 01/02/2024 13.00Hrs
|  | TX-2 | 90 | 1106840 | 3 | - | 3 |  | 78 | 82 | 86
|  | Fire Station | XXX |  | 0 | 0 | 0 |  | 3
| Fire Station | Mosque | XXX |  | OFF |  |  | 11.16 | XXX |  |  |  | 01/02/2024 12.50Hrs
|  | TX-1 | 114 | 9808 | 3 | 4 | 4 |  | 124 | 70 | 143 | 423
TX-2
|  | TX-2 | 69 | 2541 | 1 | 1 | 1 |  | 95 | 33 | 51
|  | Substation#N3 | XXX |  | 5 | 4 | 6
| Substation # N3 | Fire Station | XXX |  | 5 | 4 | 6 | 11.14 | XXX
|  | TX-1 | 21 | 1023967 | 1 | 1 | 1 |  | 0 | 0 | 0 | 437 | 31/01/2024 10.36Hrs
|  | TX-2 | 2 | 392406 | 0 | 0 | 0 |  | 0 | 0 | 0
|  | D-Type | XXX |  | 8 | 5 | 7 |  | XXX
| D-Type | Substation#N3 | XXX |  | 4 | 4 | 5 | 11.05 | XXX |  |  |  | 31/01/2024 10.30Hrs
|  | TX-1 | 700 | 9515900 | 2 | - | 2 |  | 48 | 20 | 56 | 420
|  | TX-2 | 600 | 9483480 | 3 | - | 2 |  | 52 | 20 | 40
|  | Kahrama PS | 100 | 3453200 | 0 | 0 | 0 |  | XXX
|  | DTS # 02 | XXX |  | 6 | 5 | 4 |  | XXX

## 2)RING #2
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 02 (DTS # 02 PNO: A30 & A40) | [9 empty] | FEBRUARY - 2024 |  |  | PAGE 2 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| Main Camp (New) | DTS # 02 | 57 | 3241579 | 1 | 1 | 1.7 | 11.1 | XXX
|  | TX-1 | 43 | 3291937 | 1 | 1 | 0.8 |  | 0 | 0 | 0 | 442 | 01/02/2024 08.35Hrs
|  | TX-2 | 20 | 953134 | 0 | 0 | 0.3 |  | 0 | 0 | 0
|  | Escarpment | XXX |  | 0 | 0 | 0
| Escarpment | Main Camp New) | XXX |  | OFF |  |  | 11 | XXX
|  | TX-1 | 208 | 21166 | 9 | 10 | 9 |  | 261 | 247 | 233 | 426 | 01/02/2024 09.12Hrs
|  | TX-2 | 247 | 30664 | 9 | 13 | 11 |  | 250 | 240 | 224
|  | SS Bungalow | XXX |  | 20 | 24 | 20
| S.S.Bungalow | Escarpment | XXX |  | 18 | 20 | 19 | 11 | XXX
|  | TX-1 | 70 | 94850 | 2 | - | 2 |  | 52 | 48 | 42 | 418 | 01/02/2024 09.05Hrs
|  | TX-2 | 70 | 129380 | 2 | - | 2 |  | 52 | 48 | 42
|  | Supalite | XXX |  | 12 | 16 | 12
| Supalite | SS Bungalow | XXX | [5 empty] | XXX
|  | TX-1 | 101 | 32889462 | XXX |  |  |  | 106 | 85 | 95 | 412 | 01/02/2024 08.50Hrs
|  | TX-2 | 98 | 31587558 | XXX |  |  |  | 104 | 84 | 92
|  | DTS # 02 | XXX | [5 empty] | XXX

## 3)RING #3
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 03 (DTS # 02 PNO: A50 & A60) | [9 empty] | FEBRUARY - 2024 |  |  | PAGE 3 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| Hospital | DTS # 02 | 548 | 77841 | 21 | 22 | 21 | 11.05 | XXX
|  | TX-1 | 199 | 9490 | 9 | 10 | 9 |  | 225 | 242 | 198 | 419 | 2024-02-01
|  | TX-2 | 214 | 3957 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 09.45Hrs
|  | New Cinema | XXX |  | 11 | 11 | 10 |  | XXX
| New Cinema | Hospital | XXX |  | 11 | 11 | 11 | 11.03 | XXX
|  | TX-1 | 133 | 6488233 | 6 | 6 | 6 |  | 132 | 122 | 122 | 437 | 2024-02-01
|  | TX-2 | 111 | 3476287 | 6 | 6 | 6 |  | 142 | 134 | 130 | 437 | 09.30Hrs
|  | New M.R.Club | XXX |  | 0 | 0 | 0 |  | XXX
| New M.R. Club | New Cinema | XXX |  | OFF | OFF | OFF | 11.05 | XXX
|  | TX-1 | 310 | 2027185 | 14 | 13 | 13 |  | 387 | 299 | 339 | 437 | 2024-02-01
|  | TX-2 | 426 | 4349479 | 19 | 19 | 20 |  | 503 | 467 | 515 | 436 | 10.00Hrs
|  | DTS # 2 | 648 | 5357666 | 37 | 37 | 37 |  | XXX

## 4)RING #4
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 04 (DTS # 01 PNO: A30 & A40) | [9 empty] | FEBRUARY - 2024 |  |  | PAGE 4 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| F/Ball Pitch | DTS # 01 | 120 | 67889600 | 5 | - | 3 | 10.9 | XXX
|  | TX-1 | 80 | 82930 | 3 | - | 3 |  | 32 | 30 | 32 | 414 | 2024-02-01
|  | TX-2 | 60 | 5017970 | 1 | - | 1 |  | 38 | 68 | 52 |  | 13:55Hrs
|  | Dk-5 | XXX |  | OFF
| DK-5 | Football Pitch | XXX |  | 0 | 0 | 0 | 10.9 | XXX
|  | TX-1 | 100 | 8820450 | 1 | - | 2 |  | 47 | 42 | 44 | 413 | 2024-02-01
|  | TX-2 | 100 | 9344910 | 2 | - | 2 |  | 68 | 65 | 55 |  | 13:42Hrs
|  | DTS # 01 | XXX |  | 2 | 2 | 3 |  | XXX

## 5)RING #5
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 05 (DTS # 01 PNO: A50 & A60) | [9 empty] | FEBRUARY - 2024 |  |  | PAGE 5 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| Dk5 Bungalows | DTS # 01 | 54 | 1327 | 5 | 6 | 7 | 11.08 | XXX
|  | TX-1 | 62 | 8700 | 2 | 1 | 1 |  | 25 | 64 | 48 | 412 | 2024-01-30
|  | TX-2 | 142 | 2767 | 4 | 6 | 6 |  | 158 | 200 | 88 |  | 13.42Hrs
|  | SS # 815 | XXX |  | OFF | OFF | OFF |  | XXX
| S/S # 815 | DK-5 Bunglow | XXX |  | 0 | 0 | 0 | 11 | XXX
|  | TX-1 | 128 | 20648 | 0 | 0 | 0 |  | 80 | 56 | 80 | 423 | 2024-01-30
|  | TX-2 | 80 | 11763 | 0 | 0 | 0 |  | 64 | 48 | 36 |  | 13.55Hrs
|  | DTS # 01 | 191 | 64578 | 0 | 0 | 0 |  | XXX

## 6)RING #6
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
| MAXIMUM DEMAND RECORDING SHEET JULY-2019 PAGE: 6 OF 19 | [10 empty] | FEBRUARY - 2024 |  | PAGE 6 OF 19
RING # 06 (DTS # 02 PNO: A70 & A80)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| WORK SHOP | DTS # 02 | XXX | XXX | 7 | 7 | 8 | 11.1 | XXX
|  | TX-1 | 23 | 7769 | 1 | 1 | 1 |  | 24 | 24 | 28 | 424 | 2024-02-01
|  | TX-2 | 23 | 7754 | 1 | 1 | 1 |  | 26 | 22 | 32 |  | 13.15Hrs
|  | North Coast | XXX |  | 7 | 6 | 5
| Norh Coast | Work Shop | XXX |  | 0 | 0 | 0 | 11
|  | TX-1 | 118 | 14959 | 0 | 0 | 0 |  | 84 | 72 | 68 | 423 | 2024-02-01
|  | TX-2 | 103 | 14283 | 0 | 4 | 0 |  | 148 | 92 | 72 |  | 13.35Hrs
|  | Zone #3 | XXX |  | OFF
| ZONE # 3 | North Coast | XXX |  | 0 | 0 | 0 | 11.11 | XXX
|  | TX-1 | 121 | 3079 | 4 | 4 | 3 |  | 124 | 90 | 120 | 436 | 2024-02-01
|  | TX-2 | 118 | 2547 | 3 | 4 | 4 |  | 120 | 104 | 114 |  | 13.30Hrs
|  | SS Mess | XXX |  | 0 | 0 | 0
| SS MESS | Zone #3 | XXX |  | 0 | 0 | 0 | 11.05 | XXX
|  | TX-1 | 240 | 3295610 | 10 | - | 10 |  | 184 | 242 | 168 | 420 | 2024-02-01
|  | TX-2 | 240 | 3768990 | 11 | - | 11 |  | 214 | 240 | 164 |  | 13.20Hrs
|  | DTS # 02 | XXX | XXX | 12 | 13 | 12 |  | XXX

## 7)RING #7
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [6 empty] | FEBRUARY - 2024 |  |  | PAGE 7 OF 19
RING # 07 (DTS # 01 PNO: A70 & A80)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-1310 | DTS # 01 | 513 | 71377 | 22 | 21 | 20 | 10.9 | XXX
|  | TX-1 | 119 | 17655 | 5 | 5 | 5 |  | 128 | 148 | 132 | 427 | 2024-02-01
|  | TX-2 | 355 | 18286 | 13 | 13 | 13 |  | 340 | 272 | 324 |  | 07.45Hrs
|  | S/S # 1320 | XXX |  | 0 | 0 | 0
| 88-SS-1320 | S/S # 1310 | XXX |  | 0 | 0 | 0 | 10.9 | XXX
|  | TX-1 | 98 | 5764 | 0 | 0 | 0 |  | 130 | 80 | 80 | 419 | 2024-02-01
|  | TX-2 | 39 | 12787 | 0 | 0 | 0 |  | 40 | 0 | 0 |  | 10.59Hrs
|  | S/S # 1420 |  |  | 0 | 0 | 0 |  | XXX
| 88-SS-1420 | S/S # 1320 | XXX |  | OFF |  |  | 10.9 | XXX
|  | TX-1 | 187 | 17771 | 6 | 5 | 4 |  | 190 | 100 | 95 | 420 | 2024-02-01
|  | TX-2 | 141 | 11911 | 0 | 0 | 0 |  | 70 | 40 | 50 |  | 10.55Hrs
|  | S/S # 1410 |  |  | 0 | 0 | 0
| 88-SS-1410 | S/S # 1420 |  |  | 13 | 12 | 0 | 10.9 | XXX
|  | TX-1 | 158 | 17188 | 5 | 0 | 0 |  | 140 | 60 | 112 | 419 | 2024-02-01
|  | TX-2 | 78 | 10230 | 0 | 0 | 0 |  | 88 | 72 | 88 |  | 10.45Hrs
|  | DTS # 01 | 756 | 57725 | 18 | 17 | 15 |  | XXX

## 8)RING #8
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET JULY-2019 PAGE:8 OF 19 | [11 empty] | FEBRUARY-2024 |  | PAGE 8 OF 19
RING # 08 (DTS # 01 PNO: A110 & A120)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-1510 | DTS # 01 | 443 | 139228 | 13 | 16 | 15 | 11 | XXX
|  | TX-1 | 96 | 31716 | 0 | 0 | 0 |  | 65 | 75 | 95 | 420 | 2024-02-01
|  | TX-2 | 167 | 41023 | 0 | 4 | 0 |  | 105 | 155 | 85 |  | 10:30Hrs
|  | S/S # 1520 | XXX |  | 0 | 0 | 0 |  | XXX
| 88-SS-1520 | S/S # 1510 | XXX |  | 0 | 0 | 0 | 11 | XXX
|  | TX-1 | 116 | 36936 | 0 | 0 | 0 |  | 85 | 95 | 45 | 421 | 2024-02-01
|  | TX-2 | 141 | 30241 | 0 | 0 | 0 |  | 75 | 110 | 80 |  | 10:25Hrs
|  | S/S # 1610 | XXX |  | OFF |  |  |  | XXX
| 88-SS-1610 | S/S # 1520 | XXX |  | 0 | 0 | 0 | 11 | XXX
|  | TX-1 | 131 | 33587 | 4 | 4 | 4 |  | 80 | 85 | 100 | 423 | 2024-02-01
|  | TX-2 | 129 | 19642 | 0 | 0 | 0 |  | 100 | 65 | 40 |  | 10:15Hrs
|  | DTS # 01 | 224 | 58394 | 0 | 0 | 0 |  | XXX

## 9)RING #9
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET | [10 empty] | FEBRUARY - 2024 |  | PAGE 9 OF 19
RING # 09 (DTS # 02 PNO: A110 & A120)
Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
88-SS-1805 | DTS # 02 | 388 | 74059 | 12 | 12 | 11 | 11.1 | XXX
| TX-1 | 121 | 27321 | 5 | 4 | 4 |  | 146 | 114 | 85 | 431 | 2024-01-31
| TX-2 | 119 | 23972 | 0 | 0 | 0 |  | 115 | 90 | 101 |  | 10.17Hrs
| 88-SS-1810 | XXX |  | 0 | 0 | 0 |  | XXX
88-SS-1810 | 88-SS-1805 | XXX |  | 0 | 0 | 0 | 11.1 | XXX
| TX-1 | 108 | 12032 | 0 | 0 | 0 |  | 48 | 40 | 0 | 430 | 2024-01-31
| TX-2 | 92 | 9989 | 0 | 0 | 0 |  | 48 | 72 | 64 |  | 09.30Hrs
| 88-SS-1710 | XXX |  | OFF |  |  |  | XXX
88-SS-1710 | 88-SS-1810 | XXX |  | 0 | 0 | 0 | 11.1 | XXX
| TX-1 | 137 | 18497 | 4 | 4 | 0 |  | 145 | 115 | 100 | 427
| TX-2 | 108 | 12980 | 0 | 0 | 0 |  | 70 | 45 | 60 | 427 | 2024-01-31
| TX-3 | 151 | 15470 | 7 | 6 | 6 |  | 220 | 175 | 145 | 427 | 09.50Hrs
| TX-4 | 181 | 25703 | 6 | 7 | 6 |  | 195 | 190 | 150 | 428
| 88-SS-550 (New) | XXX |  | 25 | 27 | 23 |  | XXX
| Police Station fdr | 147 | 8711 | 6 | 6 | 6 |  | 122 | 154 | 156 | 420
88-SS-550 (New) | 88-SS-1710 | XXX |  | 28 | 30 | 27 | 11.13
| TX-1 | 498 | 4974469 | 16 | 17 | 18 |  | 375 | 415 | 410 | 443 | 2024-01-31
| TX-2 | 428 | 3739700 | 20 | 21 | 22 |  | 510 | 620 | 529 |  | 10.47Hrs
| DTS # 02 | 1300 | 3841410 | 62 | 65 | 64

## 10)RING #10
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET | [10 empty] | FEBRUARY - 2024 |  |  | PAGE 10 OF 19
RING # 10 (DTS # 01 PNO: A130 & A140)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| QPAA 88-SS-0015 | DTS # 01 | 1.75MW | 207115 | 83 | 85 | 82 | 11.01 | XXX |  |  |  | 05/02/2024 09:30Hrs
|  | 88-TR0015-01 | 247 | 17257 | 6 | 6 | 6 |  | 141 | 141 | 141 | 418
|  | 88-TR0015-02 | 315 | 15237 | 11 | 12 | 10 |  | 316 | 282 | 244 | 418
|  | 88-SS-0020 | XXX |  | 62 | 62 | 62 |  | XXX
|  | Desal Plant | 120 | 7964 | 0 | 0 | 0 |  | XXX
|  | DWS Feeder | 326 | 21507 | 5 | 5 | 5 |  | XXX
| QPAA 88-SS-0020 | 88-SS-0015 | XXX |  | 63 | 62 | 61 | 11 | XXX
|  | 88-TR-0020-01 | 161 | 19105 | 8 | 78 | 7 |  | 231 | 213 | 214 | 423 | 05/02/2024 09:15Hrs
|  | 88-TR-0020-02 | 253 | 21305 | 0 | 0 | 0 |  | 96 | 70 | 76 | 425
|  | IT (86T-SS-8601) | XXX |  | 52 | 50 | 50 |  | XXX
| IT S/S (86T-SS-8601) | 88-SS-0020 | XXX |  | 51 | 51 | 50 | 11.16 | XXX
|  | 86T-TR-8601-01 | 626 | 41755253 | 34 | 33 | 32 |  | 884 | 825 | 872 | 431 | 05/02/2024 08:40Hrs
|  | 86T-TR-8601-02 | 496 | 28780042 | 20 | 21 | 20 |  | 550 | 541 | 536 | 432
|  | HQ (DOMB) | XXX |  | 2 | 2 | 2 |  | XXX
| HQ (DOMB) | IT (86T-SS-8601) | XXX |  | 1 | 3 | 1 | 11.2 | XXX
|  | 88-TR002-01 | 394 | 4310 | 7 | 7 | 6 |  | 187 | 185 | 192 | 429 | 05/02/2024 08:20Hrs
|  | 88-TR002-02 | 323 | 875 | 11 | 11 | 11 |  | 302 | 312 | 304 | 428
|  | 88-TR002-03 | 258 | 3063 | 11 | 12 | 11 |  | 441 | 304 | 269 | 428
|  | 88-TR002-04 | 422 | 9788 | 19 | 19 | 19 |  | 485 | 495 | 510 | 429
|  | DTS # 01 | 2185 | 52507 | 46 | 47 | 44 |  | XXX

## 11)RING #11
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
| MAXIMUM DEMAND RECORDING SHEET | [10 empty] | FEBRUARY - 2024 | PAGE 11 OF 19
RING # 11 (DTS # 01 PNO: A150 & A160)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-9310 | DTS # 01 | 689 | 1492244 | 30 | 30 | 29 | 11.15 | XXX
|  | 88-TR-9310-01 | 179 | 3701651 | 5 | 5 | 5 |  | 123 | 111 | 111 | 443 | 2024-02-04
|  | 88-TR-9310-02 | 144 | 2674287 | 8 | 8 | 8 |  | 163 | 171 | 160 |  | 13:55Hrs
|  | 88-SS-2010 | XXX |  | 17 | 17 | 16 |  | XXX
| 88-SS-2010 | 88-SS-9310 | XXX |  | 17 | 18 | 17 | 11.1 | XXX
|  | 88-TR-2010-01 | 261 | 25606 | 8 | 8 | 7 |  | 216 | 174 | 116 | 432 | 2024-02-04
|  | 88-TR-2010-02 | 287 | 25568 | 11 | 12 | 12 |  | 289 | 308 | 264 |  | 13:58Hrs
|  | 88-SS-2020 | XXX |  | OFF |  |  |  | XXX
| 88-SS-2020 | 88-SS-2010 | XXX |  | 0 | 0 | 0 | 11.1
|  | 88-TR-2020-01 | 265 | 25949 | 9 | 9 | 10 |  | 239 | 241 | 252 | 431 | 2024-02-04
|  | 88-TR-2020-02 | 286 | 27717 | 11 | 11 | 10 |  | 286 | 296 | 297 |  | 13:54Hrs
|  | DTS # 01 | 524 | 53602 | 20 | 21 | 20 |  | XXX

## 12)RING #12
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [6 empty] | FEBRUARY - 2024 |  |  | PAGE 12 OF 19
RING # 12 (DTS # 02 PNO: A130 & A140)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-9110 (S/S # N1) | DTS # 02 | 291 | 6938064 | 10 | 12 | 8 | 11.09 | XXX
|  | 88-TR-9110-01 | 114 | 1360404 | 4 | 4 | 3 |  | 134 | 108 | 110 | 441 | 2024-02-01
|  | 88-TR-9110-02 | 156 | 2113070 | 6 | 7 | 5 |  | 170 | 175 | 110 |  | 13:07Hrs
|  | 88-SS-9120 | XXX |  | 0 | 0 | 0
| 88-SS-9120 (S/S # N2) | 88-SS-9110 | XXX |  | 0FF |  |  | 11.09 | XXX
|  | 88-TR-9120-01 | 113 | 7534323 | 5 | 3 | 4 |  | 125 | 0 | 100 | 442 | 2024-02-01
|  | 88-TR-9120-02 | 118 | 5614888 | 5 | 5 | 5 |  | 155 | 99 | 149 |  | 13:03Hrs
|  | DTS # 02 | 206 | 9597487 | 10 | 9 | 9 |  | XXX

## 13)RING #14
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [7 empty] | FEBRUARY - 2024 |  | PAGE 13 OF 19
RING # 14 (DTS # 02 PNO: A170 & A180)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| New Contractor | DTS # 02 | 182 | 5875200 | 6 | 6 | 6 | 11.16 | XXX |  |  |  | 04/02/2024 13:28Hrs
|  | TX-1 | 86 | 4966813 | 3 | 4 | 3 |  | 87 | 134 | 60 | 443
|  | TX-2 | 127 | 7638195 | 3 | 3 | 2 |  | 92 | 67 | 70 | 443
|  | North Gate | XXX |  | OFF
| NEW NORTH GATE | Contractor | XXX |  | 0 | 0 | 0 | 11.16 | 0 |  |  |  | 04/02/2024 13:35Hrs
|  | TX-1 | 77 | 3921326 | 2 | 2 | 2 |  | 92 | 95 | 77 | 443
|  | TX-2 | 40 | 3048267 | 1 | 1 | 0 |  | 0 | 0 | 0
|  | Kathiyah Bypass | 49 | 3467485 | 1 | 0 | 1 |  | XXX
|  | Covenant | XXX |  | 5 | 5 | 4 |  | XXX
| New Covenant | 88-SS-450 | XXX |  | 3 | 3 | 3 | 11.16 | XXX |  |  |  | 04/02/2024 13:50Hrs
|  | TX-1 | 67 | 4027508 | 1 | 1 | 1 |  | 0 | 0 | 0 | 443
|  | TX-2 | 178 | 8505394 | 5 | 6 | 5 |  | 160 | 103 | 114
|  | DTS # 02 | 352 | 662891 | 11 | 11 | 8

## 14)DTS #02 (hidden)
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [6 empty] | SEPTEMBER 2017 |  |  | PAGE 14 OF 18
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [MWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| DTS # 02 | Incomer # 01 | 5012 | 60095 MWH | 290 | 299 | 282 | 10.9 | XXX
|  | 88-TR-0981-01 | 0 | 54 MWH | 0 | 0 | 0 |  | 0 | 0 | 0 | 410 | 28/09/2017
|  | 88-TR-0981-02 | 0 | 318 MWH | 0 | 0 | 0 |  | 100 | 60 | 108 | 410 | 11:00 HRS
|  | Incomer # 02 | 4985 | 59715 MWH | 290 | 308 | 282 |  | XXX
|  | 11KV Ring # 1 (Pnl # A10) | 362 | 6139 MWH | 22 | 21 | 20 |  | XXX
|  | 11KV Ring # 1 (Pnl # A20) | 612 | 9613 MWH | 40 | 34 | 31 |  | XXX
|  | 11KV Ring # 2 (Pnl # A30) | 1842 | 18996 MWH | 107 | 112 | 109 |  | XXX
|  | 11KV Ring # 2 (Pnl # A40) | 386 | 14829 MWH | 24 | 24 | 24 |  | XXX
|  | 11KV Ring # 3 (Pnl # A50) | 359 | 5920 MWH | 18 | 20 | 21 |  | XXX
|  | 11KV Ring # 3 (Pnl # A60) | 1524 | 21698 MWH | 91 | 90 | 86 |  | XXX
|  | 11KV Ring # 6 (Pnl # A70) | 381 | 4836 MWH | 22 | 22 | 18 |  | XXX
|  | 11KV Ring # 6 (Pnl # A80) | 862 | 14019 MWH | 51 | 56 | 58 |  | XXX
|  | 11KV Ring # 9 (Pnl # A110) | 898 | 18128 MWH | 56 | 53 | 47 |  | XXX
|  | 11KV Ring # 9 (Pnl # A120) | 1481 | 13542 MWH | 88 | 91 | 86 |  | XXX
|  | 11KV Ring #12 (Pnl # A130) | 1303 | 2845 MWH | 74 | 79 | 81 |  | XXX
|  | 11KV Ring #12 (Pnl # A140) | 0 | 0 | 0 | 0 | 0 |  | XXX

## 17)DSFA
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [6 empty] | FEBRUARY - 2024 |  |  | PAGE 17 OF 19
DSFA
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [MWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-1100 | Incomer # 1 | 1.17MW | 74950 | 52 | 54 | 50 | 10.9 | XXX |  |  |  | 01/02/2024 09:35Hrs
|  | Ring Fdr # 1 | 634 | 40432 | 28 | 28 | 28 |  | XXX
|  | Al Hamla BH | 670 | 30715 | 25 | 26 | 23 |  | XXX
|  | Coastal RLSS | 33 | 1479 | 1 | 1 | 1 |  | XXX
|  | 88-TR-1100-01 | 17 | 2283 | 0 | 0 | 0 |  | 14 | 11 | 13 | 410
|  | 88-TR-1100-02 | 0 | 2.1 | 0 | 0 | 0 |  | 0 | 0 | 0
|  | Ring Fdr # 2 | 515 | 55532 | 21 | 21 | 20 |  | xxx
|  | Al Hamla RMU | 0 | 2.7 | 0 | 0 | 0 |  | XXX
|  | Incomer # 2 | 521 | 74651 | 20 | 20 | 20 |  | XXX
|  | 86E-TR-0001 | 197 | 42 | 0 | 0 | 0 |  | XXX
| 88-SS-1110 | 88-SS-1100 | XXX |  | 34 | 34 | 33 | 10.8 | XXX |  |  |  | 01/02/2024 10:10Hrs
|  | 88-TR-1110-01 | 177 | 231 | 0 | 0 | 0 |  | 15 | 24 | 20 | 408
|  | 88-TR-1110-02 | 93 | 6726 | 3 | 3 | 3 |  | 60 | 68 | 56
|  | 88-SS-1120 | XXX |  | 27 | 27 | 26 |  | XXX
| 88-SS-1120 | 88-SS-1110 | XXX |  | 22 | 22 | 21 | 11 | XXX |  |  |  | 05/02/2024 12:55Hrs
|  | 88-TR-1120-01 | 106 | 2253 | 4 | 4 | 4 |  | 114 | 112 | 90 | 413
|  | 88-TR-1120-02 | 81 | 1437 | 2 | 2 | 2 |  | 112 | 114 | 96
|  | 88-SS-1130 | XXX |  | 16 | 17 | 17
| 88-SS-1130 | 88-SS-1120 | XXX |  | 13 | 14 | 13 | 11 | XXX |  |  |  | 05/02/2024 13:15Hrs
|  | 88-TR-1130-01 | 78 | 2150 | 0 | 2 | 2 |  | 45 | 45 | 36 | 416
|  | 88-TR-1130-02 | 120 | 1802 | 2 | 2 | 2 |  | 48 | 49 | 42
|  | 88-SS-1140 | XXX |  | 9 | 9 | 9
|  | El Workshop Tx | 0 | 104 | 0 | 0 | 0 |  | XXX
| 88-SS-1140 | 88-SS-1130 | XXX |  | 16 | 16 | 16 | 10.9 | XXX |  |  |  | 01/02/2024 09:00Hrs
|  | 88-TR-1140-01 | 184 | 10514 | 11 | 11 | 11 |  | 239 | 254 | 207 | 408
|  | 88-TR-1140-02 | 142 | 7572 | 4 | 4 | 4 |  | 84 | 80 | 80
|  | 88-SS-0140 | XXX |  | off | off | off |  | XXX
| 88-SS-0140 | 88-SS-1140 | XXX |  | 0 | 0 | 0 | 11 | XXX |  |  |  | 05/02/2024 13:35HrS
|  | 88-TR-0140-01 | 60 | 7088 | 0 | 0 | 0 |  | 150 | 150 | 150 | 414
|  | 88-TR-0140-02 | 32 | 5266 | 0 | 0 | 0 |  | 3 | 3 | 3
|  | 88-SS-0130 | XXX |  | 0 | 0 | 0
| 88-SS-0130 | 88-SS-0140 | XXX |  | 0 | 0 | 0 | 11 |  |  |  |  | 05/02/2024 13:50Hrs
|  | 88-TR-0130-01 | 37 | 4734 | 0 | 0 | 0 |  | 9 | 3 | 6 | 417
|  | 88-TR-0130-02 | 191 | 14669 | 7 | 8 | 7 |  | 202 | 219 | 147
|  | 88-SS-1160 | XXX |  | 9 | 9 | 9
| 88-SS-1160 | 88-SS-0130 | XXX |  | 11 | 11 | 11 | 10.9 | XXX |  |  |  | 01/02/2024 10:35Hrs
|  | 88-TR-1160-01 | 64 | 4688 | 0 | 0 | 0 |  | 8 | 12 | 10 | 410
|  | 88-SS-1150 | XXX |  | 11 | 12 | 11
| 88-SS-1150 | 88-SS-1160 | XXX |  | 10 | 11 | 11 | 10.7 | XXX |  |  |  | 01/02/2024 10:53Hrs
|  | 88-TR-1150-01 | 155 | 9808 | 5 | 5 | 4 |  | 120 | 84 | 84 | 410
|  | 88-TR-1150-02 | 179 | 11268 | 8 | 8 | 8 |  | 207 | 189 | 224
|  | 88-SS-1100 | XXX | XXX | 26 | 26 | 26 |  | XXX