## 1)RING #1
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 01 (DTS # 02 PNO: A10 & A20) | [9 empty] | JANUARY - 2024 |  |  | PAGE 1 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| Mosque | DTS # 02 | XXX |  | 6 | 6 | 6 | 11.05 | XXX
|  | TX-1 | 130 | 5016610 | 4 | - | 4 |  | 84 | 88 | 84 | 426 | 02/01/2024 13.25Hrs
|  | TX-2 | 100 | 1059250 | 3 | - | 3 |  | 84 | 88 | 84
|  | Fire Station | XXX |  | 0 | 0 | 0 |  | 3
| Fire Station | Mosque | XXX |  | OFF |  |  | 11.16 | XXX |  |  |  | 02/01/2024 13.18Hrs
|  | TX-1 | 147 | 9762 | 3 | 3 | 3 |  | 137 | 76 | 105 | 424
TX-2
|  | TX-2 | 99 | 2517 | 1 | 1 | 1 |  | 43 | 26 | 51
|  | Substation#N3 | XXX |  | 5 | 5 | 5
| Substation # N3 | Fire Station | XXX |  | 5 | 5 | 5 | 11.11 | XXX
|  | TX-1 | 21 | 1016135 | 1 | 1 | 1 |  | 0 | 0 | 0 | 443 | 02/01/2024 13.12Hrs
|  | TX-2 | 22 | 390708 | 0 | 0 | 0 |  | 0 | 0 | 0
|  | D-Type | XXX |  | 6 | 5 | 5 |  | XXX
| D-Type | Substation#N3 | XXX |  | 6 | 5 | 5 | 11.09 | XXX |  |  |  | 02/01/2024 13.06Hrs
|  | TX-1 | 60 | 9487860 | 2 | - | 2 |  | 28 | 80 | 80 | 420
|  | TX-2 | 60 | 9455620 | 2 | - | 2 |  | 36 | 64 | 64
|  | Kahrama PS | 100 | 3453190 | 0 | - | 0 |  | XXX
|  | DTS # 02 | XXX |  | 8 | 8 | 8 |  | XXX

## 2)RING #2
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 02 (DTS # 02 PNO: A30 & A40) | [9 empty] | JANUARY - 2024 |  |  | PAGE 2 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| Main Camp (New) | DTS # 02 | 107 | 3216568 | 1.5 | 1.4 | 1.7 | 11.2 | XXX
|  | TX-1 | 81 | 3274553 | 1.3 | 1.6 | 0.8 |  | 0 | 0 | 0 | 446 | 31/12/2023 08.06Hrs
|  | TX-2 | 37 | 945407 | 0.4 | 0.4 | 0.3 |  | 0 | 0 | 0
|  | Escarpment | XXX |  | 0 | 0 | 0
| Escarpment | Main Camp New) | XXX |  | OFF |  |  | 11.1 | XXX
|  | TX-1 | 206 | 21082 | 10 | 10 | 10 |  | 271 | 277 | 234 | 430 | 31/12/2023 09.50Hrs
|  | TX-2 | 256 | 30550 | 12 | 13 | 12 |  | 361 | 342 | 339
|  | SS Bungalow | XXX |  | 22 | 24 | 23
| S.S.Bungalow | Escarpment | XXX |  | 12 | 12 | 8 | 11.16 | XXX
|  | TX-1 | 70 | 69660 | 2 | - | 2 |  | 56 | 40 | 36 | 416 | 31/12/2023 08.38Hrs
|  | TX-2 | 70 | 104860 | 2 | - | 2 |  | 56 | 40 | 36
|  | Supalite | XXX |  | 12 | 16 | 12
| Supalite | SS Bungalow | XXX | [5 empty] | XXX
|  | TX-1 | 110 | 32839575 | XXX |  |  |  | 104 | 105 | 165 | 415 | 31/12/2023 08.23Hrs
|  | TX-2 | 106 | 31539907 | XXX |  |  |  | 108 | 100 | 158
|  | DTS # 02 | XXX | [5 empty] | XXX

## 3)RING #3
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 03 (DTS # 02 PNO: A50 & A60) | [9 empty] | JANUARY - 2024 |  |  | PAGE 3 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| Hospital | DTS # 02 | 474 | 77656 | 18 | 18 | 17 | 11.12 | XXX
|  | TX-1 | 219 | 9411 | 6 | 7 | 6 |  | 158 | 172 | 173 | 423 | 2023-12-31
|  | TX-2 | 172 | 3942 | 2 | 2 | 2 |  | 8 | 8 | 7 |  | 13:17Hrs
|  | New Cinema | XXX |  | 12 | 12 | 12 |  | XXX
| New Cinema | Hospital | XXX |  | 7 | 6 | 6 | 11.13 | XXX
|  | TX-1 | 186 | 6436477 | 5 | 5 | 4 |  | 220 | 202 | 199 | 441 | 2023-12-31
|  | TX-2 | 133 | 3437604 | 2 | 2 | 2 |  | 122 | 117 | 115 | 442 | 13:00Hrs
|  | New M.R.Club | XXX |  | 0 | 0 | 0 |  | XXX
| New M.R. Club | New Cinema | XXX |  | OFF | OFF | OFF | 11.14 | XXX
|  | TX-1 | 440 | 1896420 | 14 | 15 | 13 |  | 391 | 271 | 311 | 442 | 2023-12-31
|  | TX-2 | 499 | 4145667 | 13 | 13 | 13 |  | 399 | 379 | 476 | 442 | 10:15Hrs
|  | DTS # 2 | 895 | 5023366 | 32 | 32 | 30 |  | XXX

## 4)RING #4
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 04 (DTS # 01 PNO: A30 & A40) | [9 empty] | JANUARY - 2024 |  |  | PAGE 4 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| F/Ball Pitch | DTS # 01 | 120 | 67834700 | 3 | - | 4 | 11.13 | XXX
|  | TX-1 | 80 | 51430 | 2 | - | 2 |  | 28 | 28 | 28 | 414 | 2023-12-31
|  | TX-2 | 60 | 4994870 | 1 | - | 1 |  | 42 | 70 | 56 |  | 13:35Hrs
|  | Dk-5 | XXX |  | OFF
| DK-5 | Football Pitch | XXX |  | 0 | 0 | 0 | 11.11 | XXX
|  | TX-1 | 100 | 8779530 | 2 | - | 3 |  | 49 | 42 | 42 | 412 | 2023-12-31
|  | TX-2 | 80 | 9311160 | 2 | - | 2 |  | 70 | 63 | 49 |  | 13:45Hrs
|  | DTS # 01 | XXX |  | 2 | 3 | 2 |  | XXX

## 5)RING #5
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 05 (DTS # 01 PNO: A50 & A60) | [9 empty] | JANUARY - 2024 |  |  | PAGE 5 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| Dk5 Bungalows | DTS # 01 | 56 | 1327 | 5 | 6 | 7 | 11.15 | XXX
|  | TX-1 | 62 | 8681 | 1 | 1 | 1 |  | 67 | 30 | 49 | 415 | 2024-01-02
|  | TX-2 | 211 | 2715 | 3 | 4 | 4 |  | 98 | 171 | 70 |  | 13.45Hrs
|  | SS # 815 | XXX |  | OFF | OFF | OFF |  | XXX
| S/S # 815 | DK-5 Bunglow | XXX |  | 0 | 0 | 0 | 11 | XXX
|  | TX-1 | 150 | 20586 | 5 | 5 | 5 |  | 148 | 184 | 140 | 425 | 2023-12-31
|  | TX-2 | 88 | 11731 | 0 | 0 | 0 |  | 48 | 44 | 32 |  | 13.50Hrs
|  | DTS # 01 | 209 | 64484 | 0 | 0 | 0 |  | XXX

## 6)RING #6
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
| MAXIMUM DEMAND RECORDING SHEET JULY-2019 PAGE: 6 OF 19 | [10 empty] | JANUARY - 2024 |  | PAGE 6 OF 19
RING # 06 (DTS # 02 PNO: A70 & A80)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| WORK SHOP | DTS # 02 | XXX | XXX | 8 | 7 | 8 | 11.13 | XXX
|  | TX-1 | 43 | 7762 | 1 | 1 | 1 |  | 26 | 22 | 26 | 425 | 2024-01-01
|  | TX-2 | 42 | 7748 | 1 | 1 | 1 |  | 26 | 24 | 32 |  | 08.56Hrs
|  | North Coast | XXX |  | 7 | 8 | 6
| Norh Coast | Work Shop | XXX |  | 0 | 0 | 0 | 11.1
|  | TX-1 | 123 | 14909 | 4 | 0 | 4 |  | 64 | 76 | 148 | 426 | 2024-01-01
|  | TX-2 | 103 | 14238 | 0 | 0 | 0 |  | 68 | 32 | 40 |  | 08.25Hrs
|  | Zone #3 | XXX |  | OFF
| ZONE # 3 | North Coast | XXX |  | 0 | 0 | 0 | 11.13 | XXX
|  | TX-1 | 121 | 3037 | 5 | 4 | 4 |  | 110 | 102 | 98 | 440 | 2024-01-01
|  | TX-2 | 118 | 2505 | 5 | 5 | 5 |  | 100 | 100 | 102 |  | 08.30Hrs
|  | SS Mess | XXX |  | 0 | 0 | 0
| SS MESS | Zone #3 | XXX |  | 0 | 0 | 0 | 11.14 | XXX
|  | TX-1 | 220 | 3172320 | 8 | - | 8 |  | 192 | 232 | 176 | 420 | 2024-01-01
|  | TX-2 | 230 | 3644360 | 8 | - | 7 |  | 224 | 232 | 176 |  | 08.45Hrs
|  | DTS # 02 | XXX | XXX | 12 | 12 | 12 |  | XXX

## 7)RING #7
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [6 empty] | JANUARY - 2024 |  |  | PAGE 7 OF 19
RING # 07 (DTS # 01 PNO: A70 & A80)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-1310 | DTS # 01 | 535 | 71139 | 19 | 16 | 17 | 11.1 | XXX
|  | TX-1 | 129 | 17599 | 4 | 0 | 0 |  | 92 | 64 | 104 | 430 | 2023-12-31
|  | TX-2 | 366 | 18141 | 13 | 11 | 12 |  | 292 | 324 | 392 |  | 08:55Hrs
|  | S/S # 1320 | XXX |  | 0 | 0 | 0
| 88-SS-1320 | S/S # 1310 | XXX |  | 0 | 0 | 0 | 11.2 | XXX
|  | TX-1 | 100 | 5716 | 4 | 0 | 0 |  | 120 | 105 | 60 | 429 | 2023-12-31
|  | TX-2 | 36 | 12769 | 0 | 0 | 0 |  | 40 | 0 | 0 |  | 08:45Hrs
|  | S/S # 1420 |  |  | 0 | 0 | 0 |  | XXX
| 88-SS-1420 | S/S # 1320 | XXX |  | OFF |  |  | 11.2 | XXX
|  | TX-1 | 208 | 17677 | 6 | 5 | 4 |  | 175 | 115 | 105 | 430 | 2023-12-31
|  | TX-2 | 140 | 11860 | 0 | 0 | 0 |  | 65 | 40 | 45 |  | 08:35Hrs
|  | S/S # 1410 |  |  | 0 | 0 | 0
| 88-SS-1410 | S/S # 1420 |  |  | 12 | 0 | 0 | 11.1 | XXX
|  | TX-1 | 155 | 17128 | 4 | 0 | 0 |  | 124 | 64 | 76 | 427 | 2023-12-31
|  | TX-2 | 85 | 10191 | 0 | 0 | 0 |  | 80 | 84 | 44 |  | 08:25Hrs
|  | DTS # 01 | 512 | 57482 | 18 | 18 | 15 |  | XXX

## 8)RING #8
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET JULY-2019 PAGE:8 OF 19 | [11 empty] | JANUARY-2024 |  | PAGE 8 OF 19
RING # 08 (DTS # 01 PNO: A110 & A120)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-1510 | DTS # 01 | 447 | 139003 | 15 | 17 | 14 | 11.2 | XXX
|  | TX-1 | 84 | 31676 | 0 | 0 | 0 |  | 45 | 70 | 55 | 430 | 2023-12-31
|  | TX-2 | 163 | 40949 | 4 | 5 | 4 |  | 130 | 125 | 90 |  | 09.10Hrs
|  | S/S # 1520 | XXX |  | 0 | 0 | 0 |  | XXX
| 88-SS-1520 | S/S # 1510 | XXX |  | 0 | 0 | 0 | 11.2 | XXX
|  | TX-1 | 115 | 36884 | 0 | 5 | 4 |  | 90 | 135 | 45 | 430 | 2023-12-31
|  | TX-2 | 150 | 30181 | 6 | 5 | 5 |  | 135 | 110 | 150 |  | 09.20Hrs
|  | S/S # 1610 | XXX |  | OFF |  |  |  | XXX
| 88-SS-1610 | S/S # 1520 | XXX |  | 0 | 0 | 0 | 11.2 | XXX
|  | TX-1 | 137 | 33525 | 0 | 0 | 0 |  | 65 | 65 | 100 | 430 | 2023-12-31
|  | TX-2 | 136 | 19589 | 0 | 0 | 0 |  | 90 | 100 | 85 |  | 09.26Hrs
|  | DTS # 01 | 226 | 58280 | 0 | 0 | 0 |  | XXX

## 9)RING #9
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET | [10 empty] | JANUARY - 2024 |  | PAGE 9 OF 19
RING # 09 (DTS # 02 PNO: A110 & A120)
Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
88-SS-1805 | DTS # 02 | 748 | 73889 | 14 | 13 | 12 | 11.1 | XXX
| TX-1 | 127 | 27267 | 5 | 4 | 4 |  | 95 | 95 | 110 | 431 | 2024-01-02
| TX-2 | 121 | 23920 | 4 | 4 | 0 |  | 140 | 96 | 0 |  | 12.55Hrs
| 88-SS-1810 | XXX |  | 0 | 0 | 0 |  | XXX
88-SS-1810 | 88-SS-1805 | XXX |  | 0 | 0 | 0 | 11.2 | XXX
| TX-1 | 107 | 11998 | 0 | 0 | 0 |  | 56 | 80 | 68 | 432 | 2024-01-04
| TX-2 | 97 | 9960 | 0 | 0 | 0 |  | 32 | 88 | 84 |  | 12.59Hrs
| 88-SS-1710 | XXX |  | OFF |  |  |  | XXX
88-SS-1710 | 88-SS-1810 | XXX |  | 0 | 0 | 0 | 11.2 | XXX
| TX-1 | 243 | 18464 | 0 | 0 | 0 |  | 120 | 100 | 80 | 430
| TX-2 | 140 | 12939 | 0 | 0 | 0 |  | 75 | 60 | 65 | 430 | 2024-01-04
| TX-3 | 264 | 15416 | 6 | 6 | 6 |  | 195 | 150 | 150 | 430 | 12.53Hrs
| TX-4 | 609 | 25641 | 8 | 9 | 9 |  | 185 | 145 | 110 | 431
| 88-SS-550 (New) | XXX |  | 25 | 25 | 23 |  | XXX
| Police Station fdr | 143 | 8659 | 7 | 7 | 6 |  | 100 | 100 | 100 | 420
88-SS-550 (New) | 88-SS-1710 | XXX |  | 27 | 28 | 25 | 11.1
| TX-1 | 559 | 4776529 | 13 | 17 | 18 |  | 375 | 589 | 315 | 442 | 2024-01-02
| TX-2 | 531 | 3589011 | 9 | 11 | 11 |  | 275 | 315 | 225 |  | 13.55Hrs
| DTS # 02 | 1655 | 3233258 | 48 | 54 | 53

## 10)RING #10
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET | [10 empty] | JANUARY - 2024 |  |  | PAGE 10 OF 19
RING # 10 (DTS # 01 PNO: A130 & A140)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| QPAA 88-SS-0015 | DTS # 01 | 2.25MW | 206380 | 107 | 110 | 109 | 11 | XXX |  |  |  | 03/01/2024 14.05Hrs
|  | 88-TR0015-01 | 237 | 17163 | 12 | 12 | 12 |  | 374 | 346 | 346 | 417
|  | 88-TR0015-02 | 292 | 15110 | 13 | 14 | 14 |  | 316 | 316 | 282 | 418
|  | 88-SS-0020 | XXX |  | 74 | 74 | 74 |  | XXX
|  | Desal Plant | 123 | 7904 | 6 | 0 | 0 |  | XXX
|  | DWS Feeder | 319 | 21413 | 6 | 6 | 6 |  | XXX
| QPAA 88-SS-0020 | 88-SS-0015 | XXX |  | 62 | 62 | 62 | 11.1 | XXX
|  | 88-TR-0020-01 | 188 | 19036 | 8 | 8 | 8 |  | 223 | 216 | 212 | 423 | 03/01/2024 14.00Hrs
|  | 88-TR-0020-02 | 575 | 21254 | 4 | 4 | 0 |  | 121 | 94 | 89 | 424
|  | IT (86T-SS-8601) | XXX |  | 55 | 54 | 55 |  | XXX
| IT S/S (86T-SS-8601) | 88-SS-0020 | XXX |  | 52 | 52 | 51 | 11.1 | XXX
|  | 86T-TR-8601-01 | 690 | 41382813 | 33 | 31 | 32 |  | 855 | 811 | 856 | 428 | 03/01/2024 13.52Hrs
|  | 86T-TR-8601-02 | 529 | 28558968 | 21 | 22 | 22 |  | 608 | 587 | 578 | 431
|  | HQ (DOMB) | XXX |  | 2 | 2 | 2 |  | XXX
| HQ (DOMB) | IT (86T-SS-8601) | XXX |  | 1 | 1 | 1 | 11.17 | XXX
|  | 88-TR002-01 | 367 | 4195 | 7 | 7 | 7 |  | 200 | 197 | 205 | 428 | 03/01/2024 13.42Hrs
|  | 88-TR002-02 | 347 | 778 | 12 | 13 | 13 |  | 307 | 350 | 340 | 428
|  | 88-TR002-03 | 260 | 2926 | 10 | 10 | 9 |  | 284 | 237 | 233 | 425
|  | 88-TR002-04 | 422 | 9556 | 17 | 17 | 19 |  | 450 | 499 | 488 | 424
|  | DTS # 01 | 2145 | 51575 | 46 | 47 | 47 |  | XXX

## 11)RING #11
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
| MAXIMUM DEMAND RECORDING SHEET | [10 empty] | JANUARY - 2024 | PAGE 11 OF 19
RING # 11 (DTS # 01 PNO: A150 & A160)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-9310 | DTS # 01 | 705 | 1090013 | 30 | 31 | 30 | 11.1 | XXX
|  | 88-TR-9310-01 | 171 | 3630853 | 5 | 6 | 5 |  | 161 | 152 | 160 | 443 | 2023-12-31
|  | 88-TR-9310-02 | 153 | 2607964 | 5 | 5 | 5 |  | 152 | 147 | 135 |  | 09:50Hrs
|  | 88-SS-2010 | XXX |  | 20 | 19 | 19 |  | XXX
| 88-SS-2010 | 88-SS-9310 | XXX |  | 17 | 16 | 17 | 11.1 | XXX
|  | 88-TR-2010-01 | 242 | 25485 | 7 | 7 | 7 |  | 219 | 189 | 233 | 433 | 2023-12-31
|  | 88-TR-2010-02 | 292 | 25426 | 8 | 8 | 9 |  | 258 | 256 | 217 |  | 10:00Hrs
|  | 88-SS-2020 | XXX |  | OFF |  |  |  | XXX
| 88-SS-2020 | 88-SS-2010 | XXX |  | 0 | 0 | 0 | 11.1
|  | 88-TR-2020-01 | 252 | 25815 | 8 | 8 | 9 |  | 217 | 236 | 175 | 430 | 2023-12-31
|  | 88-TR-2020-02 | 255 | 27578 | 9 | 9 | 9 |  | 242 | 250 | 219 |  | 09:45Hrs
|  | DTS # 01 | 499 | 53330 | 20 | 18 | 19 |  | XXX

## 12)RING #12
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [6 empty] | JANUARY - 2024 |  |  | PAGE 12 OF 19
RING # 12 (DTS # 02 PNO: A130 & A140)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-9110 (S/S # N1) | DTS # 02 | 313 | 6802024 | 10 | 12 | 10 | 11.07 | XXX
|  | 88-TR-9110-01 | 159 | 1295456 | 5 | 5 | 5 |  | 145 | 110 | 130 | 443 | 2024-01-01
|  | 88-TR-9110-02 | 165 | 2041454 | 5 | 6 | 5 |  | 145 | 140 | 145 |  | 09.11Hrs
|  | 88-SS-9120 | XXX |  | 0 | 0 | 0
| 88-SS-9120 (S/S # N2) | 88-SS-9110 | XXX |  | 0FF |  |  | 11.2 | XXX
|  | 88-TR-9120-01 | 130 | 7479296 | 2 | 3 | 4 |  | 100 | 100 | 0 | 446 | 2024-01-01
|  | 88-TR-9120-02 | 133 | 5561545 | 4 | 4 | 4 |  | 110 | 99 | 100 |  | 07.41Hrs
|  | DTS # 02 | 246 | 9489487 | 7 | 7 | 7 |  | XXX

## 13)RING #14
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [7 empty] | JANUARY - 2024 |  | PAGE 13 OF 19
RING # 14 (DTS # 02 PNO: A170 & A180)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| New Contractor | DTS # 02 | 203 | 5781445 | 6 | 6 | 6 | 11.2 | XXX |  |  |  | 01/01/2024 08.11Hrs
|  | TX-1 | 86 | 4931222 | 2 | 2 | 3 |  | 60 | 87 | 65 | 445
|  | TX-2 | 141 | 7580122 | 4 | 4 | 4 |  | 132 | 92 | 87 | 444
|  | North Gate | XXX |  | OFF
| NEW NORTH GATE | Contractor | XXX |  | 0 | 0 | 0 | 11.19 | XXX |  |  |  | 01/01/2024 08.02Hrs
|  | TX-1 | 75 | 3891279 | 2 | 2 | 2 |  | 65 | 55 | 60 | 444
|  | TX-2 | 41 | 3033445 | 1 | 1 | 1 |  | 0 | 0 | 0
|  | Kathiyah Bypass | 51 | 3444444 | 1 | 1 | 1 |  | XXX
|  | Covenant | XXX |  | 4 | 4 | 4 |  | XXX
| New Covenant | 88-SS-450 | XXX |  | 4 | 3 | 3 | 11.2 | XXX |  |  |  | 01/01/2024 07.53Hrs
|  | TX-1 | 73 | 3998631 | 2 | 2 | 2 |  | 0 | 0 | 0 | 446
|  | TX-2 | 171 | 8424936 | 5 | 6 | 4 |  | 160 | 111 | 119
|  | DTS # 02 | 351 | 484011 | 11 | 11 | 9

## 14)DTS #02 (hidden)
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [6 empty] | SEPTEMBER 2017 |  |  | PAGE 14 OF 18
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [MWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| DTS # 02 | Incomer # 01 | 5012 | 60095 MWH | 290 | 299 | 282 | 10.9 | XXX
|  | 88-TR-0981-01 | 0 | 54 MWH | 0 | 0 | 0 |  | 0 | 0 | 0 | 410 | 28/09/2017
|  | 88-TR-0981-02 | 0 | 318 MWH | 0 | 0 | 0 |  | 100 | 60 | 108 | 410 | 11:00 HRS
|  | Incomer # 02 | 4985 | 59715 MWH | 290 | 308 | 282 |  | XXX
|  | 11KV Ring # 1 (Pnl # A10) | 362 | 6139 MWH | 22 | 21 | 20 |  | XXX
|  | 11KV Ring # 1 (Pnl # A20) | 612 | 9613 MWH | 40 | 34 | 31 |  | XXX
|  | 11KV Ring # 2 (Pnl # A30) | 1842 | 18996 MWH | 107 | 112 | 109 |  | XXX
|  | 11KV Ring # 2 (Pnl # A40) | 386 | 14829 MWH | 24 | 24 | 24 |  | XXX
|  | 11KV Ring # 3 (Pnl # A50) | 359 | 5920 MWH | 18 | 20 | 21 |  | XXX
|  | 11KV Ring # 3 (Pnl # A60) | 1524 | 21698 MWH | 91 | 90 | 86 |  | XXX
|  | 11KV Ring # 6 (Pnl # A70) | 381 | 4836 MWH | 22 | 22 | 18 |  | XXX
|  | 11KV Ring # 6 (Pnl # A80) | 862 | 14019 MWH | 51 | 56 | 58 |  | XXX
|  | 11KV Ring # 9 (Pnl # A110) | 898 | 18128 MWH | 56 | 53 | 47 |  | XXX
|  | 11KV Ring # 9 (Pnl # A120) | 1481 | 13542 MWH | 88 | 91 | 86 |  | XXX
|  | 11KV Ring #12 (Pnl # A130) | 1303 | 2845 MWH | 74 | 79 | 81 |  | XXX
|  | 11KV Ring #12 (Pnl # A140) | 0 | 0 | 0 | 0 | 0 |  | XXX

## 17)DSFA
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [6 empty] | JANUARY - 2024 |  |  | PAGE 17 OF 19
DSFA
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [MWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-1100 | Incomer # 1 | 1.23MW | 74523 | 47 | 49 | 45 | 11 | XXX |  |  |  | 07/01/2024 13.10Hrs
|  | Ring Fdr # 1 | 666 | 40278 | 28 | 30 | 29 |  | XXX
|  | Al Hamla BH | 656 | 30456 | 21 | 22 | 19 |  | XXX
|  | Coastal RLSS | 38 | 1472 | 1 | 1 | 1 |  | XXX
|  | 88-TR-1100-01 | 17 | 2280 | 0 | 0 | 0 |  | 14 | 15 | 14 | 413
|  | 88-TR-1100-02 | 0 | 2.1 | 0 | 0 | 0 |  | 0 | 0 | 0
|  | Ring Fdr # 2 | 554 | 55300 | 24 | 24 | 23 |  | xxx
|  | Al Hamla RMU | 0 | 2.7 | 0 | 0 | 0 |  | XXX
|  | Incomer # 2 | 558 | 74418 | 24 | 24 | 23 |  | XXX
|  | 86E-TR-0001 | 192 | 39 | 0 | 0 | 0 |  | XXX
| 88-SS-1110 | 88-SS-1100 | XXX |  | 22 | 23 | 24 | 11.1 | XXX |  |  |  | 04/01/2024 13.42Hrs
|  | 88-TR-1110-01 | 178 | 214 | 4 | 4 | 4 |  | 40 | 36 | 40 | 423
|  | 88-TR-1110-02 | 121 | 6705 | 2 | 2 | 2 |  | 30 | 28 | 36
|  | 88-SS-1120 | XXX |  | 19 | 20 | 19 |  | XXX
| 88-SS-1120 | 88-SS-1110 | XXX |  | 16 | 17 | 16 | 11 | XXX |  |  |  | 04/01/2024 13.55Hrs
|  | 88-TR-1120-01 | 116 | 2235 | 3 | 3 | 3 |  | 130 | 128 | 113 | 417
|  | 88-TR-1120-02 | 65 | 1430 | 0 | 0 | 0 |  | 82 | 71 | 66
|  | 88-SS-1130 | XXX |  | 13 | 13 | 13
| 88-SS-1130 | 88-SS-1120 | XXX |  | 17 | 17 | 17 | 11 | XXX |  |  |  | 04/01/2024 13.49Hrs
|  | 88-TR-1130-01 | 86 | 2132 | 0 | 2 | 0 |  | 30 | 30 | 30 | 417
|  | 88-TR-1130-02 | 126 | 1789 | 2 | 0 | 0 |  | 32 | 32 | 33
|  | 88-SS-1140 | XXX |  | 13 | 14 | 14
|  | El Workshop Tx | 0 | 104 | 0 | 0 | 0 |  | XXX
| 88-SS-1140 | 88-SS-1130 | XXX |  | 12 | 13 | 13 | 11 | XXX |  |  |  | 04/01/2024 14.02Hrs
|  | 88-TR-1140-01 | 176 | 10466 | 6 | 7 | 7 |  | 120 | 120 | 120 | 417
|  | 88-TR-1140-02 | 139 | 7539 | 5 | 5 | 5 |  | 120 | 120 | 120
|  | 88-SS-0140 | XXX |  | off | off | off |  | XXX
| 88-SS-0140 | 88-SS-1140 | XXX |  | 0 | 0 | 0 | 11 | XXX |  |  |  | 07/01/2024 13.20Hrs
|  | 88-TR-0140-01 | 74 | 7062 | 0 | 0 | 0 |  | 28 | 29 | 28 | 413
|  | 88-TR-0140-02 | 33 | 5253 | 0 | 0 | 0 |  | 3 | 3 | 3
|  | 88-SS-0130 | XXX |  | 0 | 0 | 0
| 88-SS-0130 | 88-SS-0140 | XXX |  | 0 | 0 | 0 | 11.1 |  |  |  |  | 07/01/2024 13.30Hrs
|  | 88-TR-0130-01 | 30 | 4723 | 0 | 0 | 0 |  | 4 | 5 | 8 | 413
|  | 88-TR-0130-02 | 197 | 14609 | 8 | 9 | 9 |  | 240 | 230 | 200
|  | 88-SS-1160 | XXX |  | 10 | 10 | 10
| 88-SS-1160 | 88-SS-0130 | XXX |  | 10 | 10 | 10 | 11.2 | XXX |  |  |  | 04/01/2024 13.26Hrs
|  | 88-TR-1160-01 | 66 | 4666 | 0 | 0 | 0 |  | 4 | 4 | 5 | 421
|  | 88-SS-1150 | XXX |  | 10 | 10 | 10
| 88-SS-1150 | 88-SS-1160 | XXX |  | 10 | 10 | 10 | 11.2 | XXX |  |  |  | 04/01/2024 13.30Hrs
|  | 88-TR-1150-01 | 154 | 9734 | 6 | 7 | 6 |  | 146 | 146 | 120 | 422
|  | 88-TR-1150-02 | 178 | 11209 | 7 | 7 | 6 |  | 189 | 147 | 163
|  | 88-SS-1100 | XXX | XXX | 24 | 24 | 23 |  | XXX