## 1)RING #1
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 01 (DTS # 02 PNO: A10 & A20) | [9 empty] | JULY - 2024 |  |  | PAGE 1 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| Mosque | DTS # 02 | XXX |  | 15 | 14 | 10 | 10.9 | XXX
|  | TX-1 | 230 | 5530690 | 13 | - | 12 |  | 160 | 208 | 202 | 420 | 02/07/2024 13.20Hrs
|  | TX-2 | 170 | 1437830 | 9 | - | 9 |  | 160 | 201 | 200
|  | Fire Station | XXX |  | 0 | 0 | 0 |  | 3
| Fire Station | Mosque | XXX |  | OFF |  |  | 11.08 | XXX |  |  |  | 02/07/2024 10.30Hrs
|  | TX-1 | 306 | 286 | 15 | 12 | 13 |  | 351 | 240 | 431 | 419
TX-2
|  | TX-2 | 204 | 2798 | 9 | 7 | 9 |  | 176 | 146 | 253
|  | Substation#N3 | XXX |  | 22 | 19 | 19
| Substation # N3 | Fire Station | XXX |  | 23 | 16 | 20 | 11.04 | XXX
|  | TX-1 | 45 | 1092464 | 2 | 2 | 2 |  | 10 | 10 | 10 | 436 | 02/07/2024 10.40Hrs
|  | TX-2 | 2 | 401051 | 0 | 0 | 0 |  | 20 | 20 | 20
|  | D-Type | XXX |  | 26 | 19 | 22 |  | XXX
| D-Type | Substation#N3 | XXX |  | 25 | 22 | 20 | 11 | XXX |  |  |  | 02/07/2024 13.05Hrs
|  | TX-1 | 130 | 9746310 | 6 | - | 6 |  | 90 | 132 | 127 | 421
|  | TX-2 | 260 | 9500050 | 13 | - | 12 |  | 81 | 129 | 122
|  | Kahrama PS | 100 | 3453260 | 0 | - | 0 |  | XXX
|  | DTS # 02 | XXX |  | 25 | 24 | 25 |  | XXX

## 2)RING #2
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 02 (DTS # 02 PNO: A30 & A40) | [9 empty] | JULY - 2024 |  |  | PAGE 2 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| Main Camp (New) | DTS # 02 | 143 | 3462878 | 5 | 5 | 4 | 11.15 | XXX
|  | TX-1 | 119 | 3457218 | 4 | 4 | 4 |  | 413 | 444 | 443 | 419 | 02/07/2024 08.30Hrs
|  | TX-2 | 33 | 1009977 | 1 | 1 | 1 |  | 0 | 0 | 0
|  | Escarpment | XXX |  | 0 | 0 | 0
| Escarpment | Main Camp New) | XXX |  | OFF |  |  | 11.1 | XXX
|  | TX-1 | 440 | 21795 | 19 | 20 | 18 |  | 527 | 487 | 470 | 427 | 02/07/2024 08.47Hrs
|  | TX-2 | 444 | 31425 | 19 | 20 | 20 |  | 544 | 520 | 516
|  | SS Bungalow | XXX |  | 39 | 41 | 39
| S.S.Bungalow | Escarpment | XXX |  | 32 | 36 | 36 | 11.11 | XXX
|  | TX-1 | 180 | 346440 | 7 | - | 7 |  | 186 | 196 | 188 | 420 | 02/07/2024 08.50Hrs
|  | TX-2 | 180 | 375090 | 6 | - | 7 |  | 160 | 166 | 158
|  | Supalite | XXX |  | 44 | 44 | 42
| Supalite | SS Bungalow | XXX |  |  |  |  | - | XXX
|  | TX-1 | 306 | 33350508 | XXX |  |  |  | 319 | 356 | 423 | 412 | 02/07/2024 08.12Hrs
|  | TX-2 | 295 | 32030279 | XXX |  |  |  | 304 | 334 | 404
|  | DTS # 02 | XXX | [5 empty] | XXX

## 3)RING #3
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 03 (DTS # 02 PNO: A50 & A60) | [9 empty] | JULY - 2024 |  |  | PAGE 3 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| Hospital | DTS # 02 | 796 | 79168 | 38 | 37 | 36 | 10.9 | XXX
|  | TX-1 | 357 | 34 | 13 | 13 | 11 |  | 388 | 316 | 346 | 418 | 2024-07-02
|  | TX-2 | 188 | 4042 | 5 | 5 | 5 |  | 126 | 128 | 130 |  | 13.37HRS
|  | New Cinema | XXX |  | 21 | 21 | 21 |  | XXX
| New Cinema | Hospital | XXX |  | 22 | 231 | 20 | 10.9 | XXX
|  | TX-1 | 324 | 6910206 | 15 | 12 | 13 |  | 377 | 370 | 362 | 435 | 2024-07-02
|  | TX-2 | 143 | 3747016 | 7 | 7 | 7 |  | 199 | 182 | 175 | 435 | 13.25HRS
|  | New M.R.Club | XXX |  | 0 | 0 | 0 |  | XXX
| New M.R. Club | New Cinema | XXX |  | OFF |  |  | 10.9 | XXX
|  | TX-1 | 692 | 3129143 | 30 | 32 | 32 |  | 740 | 739 | 36 | 430 | 2024-07-02
|  | TX-2 | 884 | 5796816 | 37 | 38 | 35 |  | 987 | 807 | 860 | 431 | 13.30HRS
|  | DTS # 2 | 1507 | 7905720 | 69 | 71 | 67 |  | XXX

## 4)RING #4
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 04 (DTS # 01 PNO: A30 & A40) | [9 empty] | JULY - 2024 |  |  | PAGE 4 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| F/Ball Pitch | DTS # 01 | 240 | 68305400 | 7 | - | 7 | 11 | XXX
|  | TX-1 | 120 | 292290 | 3 | - | 3 |  | 57 | 63 | 53 | 415 | 2024-07-01
|  | TX-2 | 120 | 5213770 | 3 | - | 4 |  | 110 | 102 | 117 |  | 10.15HRS
|  | Dk-5 | XXX |  | OFF
| DK-5 | Football Pitch | XXX |  | 0 | 0 | 0 | 11.01 | XXX
|  | TX-1 | 200 | 9145400 | 8 | - | 7 |  | 125 | 110 | 117 | 417 | 2024-07-01
|  | TX-2 | 240 | 9677630 | 8 | - | 8 |  | 198 | 205 | 217 |  | 10.09HRS
|  | DTS # 01 | XXX |  | 9 | 10 | 9 |  | XXX

## 5)RING #5
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 05 (DTS # 01 PNO: A50 & A60) | [9 empty] | JULY - 2024 |  |  | PAGE 5 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| Dk5 Bungalows | DTS # 01 | 6 | 1327 | 13 | 19 | 15 | 11.05 | XXX
|  | TX-1 | 117 | 8878 | 5 | 4 | 4 |  | 150 | 50 | 120 | 411 | 2024-07-01
|  | TX-2 | 271 | 3211 | 13 | 10 | 10 |  | 219 | 346 | 346 |  | 09.40HRS
|  | SS # 815 | XXX |  | OFF | OFF | OFF |  | XXX
| S/S # 815 | DK-5 Bunglow | XXX |  | 0 | 0 | 0 | 11 | XXX
|  | TX-1 | 347 | 21192 | 19 | 20 | 18 |  | 420 | 388 | 328 | 421 | 2024-07-01
|  | TX-2 | 129 | 11988 | 5 | 5 | 5 |  | 144 | 132 | 128 |  | 09.30HRS
|  | DTS # 01 | 456 | 65340 | 19 | 20 | 18 |  | XXX

## 6)RING #6
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
| MAXIMUM DEMAND RECORDING SHEET PAGE: 6 OF 19 | [10 empty] | JULY - 2024 |  | PAGE 6 OF 19
RING # 06 (DTS # 02 PNO: A70 & A80)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| WORK SHOP | DTS # 02 | XXX | XXX | 13 | 13 | 13 | 11.05 | XXX
|  | TX-1 | 69 | 7813 | 4 | 3 | 4 |  | 74 | 82 | 84 | 423 | 2024-07-02
|  | TX-2 | 70 | 7796 | 4 | 4 | 4 |  | 86 | 84 | 102 |  | 09.39Hrs
|  | North Coast | XXX |  | 17 | 18 | 13
| North Coast | Work Shop | XXX |  | 18 | 18 | 14 | 11
|  | TX-1 | 219 | 15318 | 8 | 7 | 6 |  | 232 | 184 | 168 | 421 | 2024-07-02
|  | TX-2 | 243 | 14659 | 10 | 11 | 8 |  | 348 | 224 | 168 |  | 10.10Hrs
|  | Zone #3 | XXX |  | OFF
| ZONE # 3 | North Coast | XXX |  | 0 | 0 | 0 | 11.05 | XXX
|  | TX-1 | 276 | 3450 | 13 | 13 | 12 |  | 300 | 314 | 260 | 424 | 2024-07-02
|  | TX-2 | 264 | 2908 | 11 | 11 | 10 |  | 230 | 220 | 270 |  | 10.05Hrs
|  | SS Mess | XXX |  | 14 | 14 | 14
| SS MESS | Zone #3 | XXX |  | 16 | 14 | 14 | 11 | XXX
|  | TX-1 | 300 | 3958140 | 16 | 14 | 14 |  | 430 | 452 | 402 | 420 | 2024-07-02
|  | TX-2 | 310 | 4441000 | 16 | - | 16 |  | 440 | 444 | 436 |  | 10.17Hrs
|  | DTS # 02 | XXX | XXX | 42 | 46 | 42 |  | XXX

## 7)RING #7
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [6 empty] | JULY - 2024 |  |  | PAGE 7 OF 19
RING # 07 (DTS # 01 PNO: A70 & A80)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-1310 | DTS # 01 | 924 | 73065 | 47 | 41 | 43 | 11 | XXX
|  | TX-1 | 253 | 18075 | 12 | 9 | 8 |  | 316 | 188 | 284 | 421 | 2024-06-30
|  | TX-2 | 509 | 19104 | 27 | 25 | 26 |  | 640 | 588 | 732 |  | 10.40Hrs
|  | S/S # 1320 | XXX |  | 0 | 0 | 0
| 88-SS-1320 | S/S # 1310 | XXX |  | 0 | 0 | 0 | 11 | XXX
|  | TX-1 | 241 | 6145 | 6 | 8 | 9 |  | 300 | 280 | 260 | 421 | 2024-06-30
|  | TX-2 | 48 | 12877 | 0 | 0 | 0 |  | 40 | 40 | 45 |  | 10.30Hrs
|  | S/S # 1420 | XXX |  | 0 | 0 | 0 |  | XXX
| 88-SS-1420 | S/S # 1320 | XXX |  | OFF |  |  | 11 | XXX
|  | TX-1 | 515 | 18560 | 18 | 15 | 17 |  | 425 | 385 | 515 | 421 | 2024-06-30
|  | TX-2 | 199 | 12226 | 6 | 4 | 4 |  | 250 | 250 | 175 |  | 10.19Hrs
|  | S/S # 1410 | XXX |  | 24 | 19 | 21
| 88-SS-1410 | S/S # 1420 | XXX |  | 24 | 20 | 21 | 11 | XXX
|  | TX-1 | 343 | 17719 | 14 | 12 | 12 |  | 364 | 296 | 348 | 420 | 2024-06-30
|  | TX-2 | 164 | 10511 | 5 | 7 | 5 |  | 168 | 176 | 132 |  | 10.03Hrs
|  | DTS # 01 | 1.11MW | 59604 | 44 | 38 | 39 |  | XXX

## 8)RING #8
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET JULY-2019 PAGE:8 OF 19 | [11 empty] | JULY -2024 |  | PAGE 8 OF 19
RING # 08 (DTS # 01 PNO: A110 & A120)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-1510 | DTS # 01 | 895 | 140819 | 33 | 37 | 35 | 11 | XXX
|  | TX-1 | 138 | 31965 | 4 | 5 | 5 |  | 105 | 150 | 125 | 422 | 2024-06-27
|  | TX-2 | 339 | 41588 | 11 | 13 | 12 |  | 345 | 350 | 267 |  | 08.46Hrs
|  | S/S # 1520 | XXX |  | 17 | 20 | 17 |  | XXX
| 88-SS-1520 | S/S # 1510 | XXX |  | 17 | 20 | 18 | 11 | XXX
|  | TX-1 | 223 | 37270 | 6 | 8 | 7 |  | 175 | 250 | 140 | 422 | 2024-06-27
|  | TX-2 | 269 | 30680 | 10 | 11 | 10 |  | 290 | 300 | 270 |  | 07.38Hrs
|  | S/S # 1610 | XXX |  | OFF |  |  |  | XXX
| 88-SS-1610 | S/S # 1520 | XXX |  | 0 | 0 | 0 | 10.9 | XXX
|  | TX-1 | 297 | 34062 | 12 | 11 | 11 |  | 275 | 275 | 315 | 420 | 2024-06-27
|  | TX-2 | 221 | 19988 | 7 | 6 | 7 |  | 170 | 160 | 210 |  | 09.15Hrs
|  | DTS # 01 | 500 | 59201 | 19 | 18 | 18 |  | XXX

## 9)RING #9
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET | [10 empty] | JULY - 2024 |  | PAGE 9 OF 19
RING # 09 (DTS # 02 PNO: A110 & A120)
Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
88-SS-1805 | DTS # 02 | 1.05MW | 75774 | 53 | 51 | 49 | 10.9 | XXX
| TX-1 | 358 | 27884 | 18 | 18 | 20 |  | 409 | 492 | 568 | 422 | 2024-07-01
| TX-2 | 404 | 24537 | 16 | 18 | 18 |  | 423 | 419 | 413 |  | 13.09Hrs
| 88-SS-1810 | XXX |  | 19 | 13 | 12 |  | XXX
88-SS-1810 | 88-SS-1805 | XXX |  | 19 | 14 | 12 | 10.9 | XXX
| TX-1 | 196 | 12347 | 9 | 7 | 6 |  | 256 | 96 | 248 | 419 | 2024-07-01
| TX-2 | 179 | 10272 | 10 | 7 | 5 |  | 3 | 48 | 220 |  | 12.49Hrs
| 88-SS-1710 | XXX |  | OFF |  |  |  | XXX
88-SS-1710 | 88-SS-1810 | XXX |  | 0 | 0 | 0 | 10.9 | XXX
| TX-1 | 208 | 18764 | 7 | 8 | 8 |  | 205 | 185 | 150 | 416
| TX-2 | 177 | 13291 | 8 | 9 | 8 |  | 265 | 180 | 205 | 415 | 2024-07-01
| TX-3 | 249 | 15856 | 10 | 12 | 9 |  | 340 | 275 | 205 | 419 | 12.58Hrs
| TX-4 | 307 | 26232 | 14 | 16 | 15 |  | 415 | 425 | 355 | 417
| 88-SS-550 (New) | XXX |  | 53 | 59 | 53 |  | XXX
| Police Station fdr | 216 | 9132 | 13 | 13 | 13 |  | 210 | 216 | 260 | 421
88-SS-550 (New) | 88-SS-1710 | XXX |  | 49 | 54 | 49 | 10.9
| TX-1 | 865 | 6510438 | 41 | 38 | 37 |  | 1139 | 870 | 930 | 436 | 2024-07-01
| TX-2 | 858 | 4947694 | 33 | 33 | 33 |  | 845 | 820 | 799 |  | 13.47Hrs
| DTS # 02 | 2673 | 8498388 | 123 | 124 | 119

## 10)RING #10
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET | [10 empty] | JULY - 2024 |  |  | PAGE 10 OF 19
RING # 10 (DTS # 01 PNO: A130 & A140)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| QPAA 88-SS-0015 | DTS # 01 | 2.03MW | 219847 | 181 | 180 | 183 | 11 | XXX |  |  |  | 30/06/2024 13.00Hrs
|  | 88-TR0015-01 | 462 | 17902 | 23 | 24 | 24 |  | 616 | 632 | 617 | 415
|  | 88-TR0015-02 | 578 | 16169 | 35 | 37 | 35 |  | 959 | 894 | 871 | 412
|  | 88-SS-0020 | XXX |  | 101 | 102 | 101 |  | XXX
|  | Desal Plant | 140 | 8237 | 6 | 0 | 0 |  | XXX
|  | DWS Feeder | 460 | 22372 | 19 | 20 | 21 |  | XXX
| QPAA 88-SS-0020 | 88-SS-0015 | XXX |  | 101 | 102 | 100 | 11 | XXX
|  | 88-TR-0020-01 | 365 | 19549 | 4 | 4 | 0 |  | 106 | 94 | 100 | 421 | 30/06/2024 13.08Hrs
|  | 88-TR-0020-02 | 326 | 21667 | 19 | 19 | 19 |  | 588 | 561 | 541 | 419
|  | IT (86T-SS-8601) | XXX |  | 80 | 80 | 80 |  | XXX
| IT S/S (86T-SS-8601) | 88-SS-0020 | XXX |  | 81 | 80 | 80 | 11.1 | XXX
|  | 86T-TR-8601-01 | 996 | 43572799 | 46 | 45 | 45 |  | 1183 | 1146 | 1198 | 421 | 29/06/2024 13.40Hrs
|  | 86T-TR-8601-02 | 743 | 30025092 | 35 | 37 | 36 |  | 792 | 786 | 751 | 425
|  | HQ (DOMB) | XXX |  | 2 | 2 | 2 |  | XXX
| HQ (DOMB) | IT (86T-SS-8601) | XXX |  |  | OFF |  | 11.01 | XXX
|  | 88-TR002-01 | 833 | 5112 | 7 | 7 | 7 |  | 456 | 452 | 453 | 420 | 30/06/2024 13.26Hrs
|  | 88-TR002-02 | 838 | 1633 | 48 | 48 | 48 |  | 752 | 779 | 761 | 417
|  | 88-TR002-03 | 278 | 3696 | 11 | 11 | 11 |  | 371 | 369 | 338 | 423
|  | 88-TR002-04 | 423 | 851 | 28 | 25 | 24 |  | 529 | 533 | 540 | 419
|  | DTS # 01 | 1865 | 55783 | 85 | 86 | 86 |  | XXX

## 11)RING #11
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
| MAXIMUM DEMAND RECORDING SHEET | [10 empty] | JULY - 2024 | PAGE 11 OF 19
RING # 11 (DTS # 01 PNO: A150 & A160)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-9310 | DTS # 01 | 1482 | 4107784 | 64 | 63 | 62 | 10.96 | XXX
|  | 88-TR-9310-01 | 402 | 4194495 | 16 | 16 | 16 |  | 427 | 419 | 416 | 436 | 2024-07-01
|  | 88-TR-9310-02 | 291 | 3073430 | 11 | 11 | 11 |  | 283 | 238 | 271 |  | 10.27Hrs
|  | 88-SS-2010 | XXX |  | 31 | 36 | 35 |  | XXX
| 88-SS-2010 | 88-SS-9310 | XXX |  | 32 | 37 | 36 | 10.9 | XXX
|  | 88-TR-2010-01 | 453 | 26385 | 13 | 17 | 17 |  | 378 | 5121 | 324 | 423 | 2024-07-01
|  | 88-TR-2010-02 | 459 | 26492 | 18 | 20 | 19 |  | 515 | 583 | 483 |  | 10.35Hrs
|  | 88-SS-2020 | XXX |  | OFF |  |  |  | XXX
| 88-SS-2020 | 88-SS-2010 | XXX |  | 0 | 0 | 0 | 10.9 | XXX
|  | 88-TR-2020-01 | 413 | 26763 | 12 | 15 | 16 |  | 313 | 533 | 334 | 424 | 2024-07-01
|  | 88-TR-2020-02 | 471 | 28576 | 15 | 17 | 15 |  | 440 | 455 | 373 |  | 10.20Hrs
|  | DTS # 01 | 831 | 55264 | 28 | 33 | 32 |  | XXX

## 12)RING #12
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [6 empty] | JULY - 2024 |  |  | PAGE 12 OF 19
RING # 12 (DTS # 02 PNO: A130 & A140)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-9110 (S/S # N1) | DTS # 02 | 865 | 8204004 | 30 | 40 | 38 | 11.17 | XXX
|  | 88-TR-9110-01 | 452 | 1985699 | 16 | 22 | 20 |  | 389 | 664 | 435 | 442 | 2024-06-27
|  | 88-TR-9110-02 | 439 | 2757049 | 16 | 22 | 21 |  | 415 | 714 | 364 |  | 9.53HRS
|  | 88-SS-9120 | XXX |  | 0 | 0 | 0
| 88-SS-9120 (S/S # N2) | 88-SS-9110 | XXX |  | 0FF |  |  | 11.04 | XXX
|  | 88-TR-9120-01 | 353 | 8248671 | 18 | 15 | 19 |  | 425 | 389 | 525 | 437 | 2024-06-27
|  | 88-TR-9120-02 | 323 | 6097882 | 14 | 13 | 15 |  | 350 | 359 | 420 |  | 13.33HRS
|  | DTS # 02 | 670 | 592328 | 36 | 32 | 37 |  | XXX

## 13)RING #14
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [7 empty] | JULY - 2024 |  | PAGE 13 OF 19
RING # 14 (DTS # 02 PNO: A170 & A180)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| New Contractor | DTS # 02 | 426 | 6645029 | 17 | 17 | 17 | 10.9 | XXX |  |  |  | 30/06/2024 13.52Hrs
|  | TX-1 | 162 | 5229642 | 5 | 5 | 5 |  | 132 | 152 | 15 | 436
|  | TX-2 | 280 | 8107163 | 12 | 12 | 12 |  | 312 | 294 | 307 | 435
|  | North Gate | XXX |  | OFF
| NEW NORTH GATE | Contractor | XXX |  | 0 | 0 | 0 | 10.9 | 0 |  |  |  | 30/06/2024 14.02Hrs
|  | TX-1 | 173 | 4152231 | 8 | 8 | 9 |  | 222 | 242 | 232 | 435
|  | TX-2 | 133 | 3204630 | 7 | 7 | 6 |  | 182 | 137 | 147
|  | Kathiyah Bypass | 64 | 3589586 | 1 | 2 | 1 |  | XXX
|  | Covenant | XXX |  | 16 | 17 | 16 |  | XXX
| New Covenant | 88-SS-450 | XXX |  | 13 | 14 | 11 | 10.9 | XXX |  |  |  | 30/06/2024 13.42Hrs
|  | TX-1 | 172 | 4268996 | 8 | 9 | 8 |  | 235 | 195 | 237 | 436
|  | TX-2 | 363 | 9084495 | 17 | 18 | 15 |  | 511 | 399 | 387
|  | DTS # 02 | 839 | 1951429 | 40 | 41 | 37

## 14)DTS #02 (hidden)
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [6 empty] | SEPTEMBER 2017 |  |  | PAGE 14 OF 18
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [MWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| DTS # 02 | Incomer # 01 | 5012 | 60095 MWH | 290 | 299 | 282 | 10.9 | XXX
|  | 88-TR-0981-01 | 0 | 54 MWH | 0 | 0 | 0 |  | 0 | 0 | 0 | 410 | 28/09/2017
|  | 88-TR-0981-02 | 0 | 318 MWH | 0 | 0 | 0 |  | 100 | 60 | 108 | 410 | 11:00 HRS
|  | Incomer # 02 | 4985 | 59715 MWH | 290 | 308 | 282 |  | XXX
|  | 11KV Ring # 1 (Pnl # A10) | 362 | 6139 MWH | 22 | 21 | 20 |  | XXX
|  | 11KV Ring # 1 (Pnl # A20) | 612 | 9613 MWH | 40 | 34 | 31 |  | XXX
|  | 11KV Ring # 2 (Pnl # A30) | 1842 | 18996 MWH | 107 | 112 | 109 |  | XXX
|  | 11KV Ring # 2 (Pnl # A40) | 386 | 14829 MWH | 24 | 24 | 24 |  | XXX
|  | 11KV Ring # 3 (Pnl # A50) | 359 | 5920 MWH | 18 | 20 | 21 |  | XXX
|  | 11KV Ring # 3 (Pnl # A60) | 1524 | 21698 MWH | 91 | 90 | 86 |  | XXX
|  | 11KV Ring # 6 (Pnl # A70) | 381 | 4836 MWH | 22 | 22 | 18 |  | XXX
|  | 11KV Ring # 6 (Pnl # A80) | 862 | 14019 MWH | 51 | 56 | 58 |  | XXX
|  | 11KV Ring # 9 (Pnl # A110) | 898 | 18128 MWH | 56 | 53 | 47 |  | XXX
|  | 11KV Ring # 9 (Pnl # A120) | 1481 | 13542 MWH | 88 | 91 | 86 |  | XXX
|  | 11KV Ring #12 (Pnl # A130) | 1303 | 2845 MWH | 74 | 79 | 81 |  | XXX
|  | 11KV Ring #12 (Pnl # A140) | 0 | 0 | 0 | 0 | 0 |  | XXX

## 17)DSFA
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [6 empty] | JULY - 2024 |  |  | PAGE 17 OF 19
DSFA
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [MWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-1100 | Incomer # 1 | 1.89MW | 78069 | 89 | 93 | 91 | 10.9 | XXX |  |  |  | 27/06/2024 10.10Hrs
|  | Ring Fdr # 1 | 1.01MW | 41743 | 51 | 52 | 50 |  | XXX
|  | Al Hamla BH | 882 | 32410 | 35 | 36 | 36 |  | XXX
|  | Coastal RLSS | 53 | 1539 | 1 | 2 | 1 |  | XXX
|  | 88-TR-1100-01 | 30 | 2324 | 0 | 0 | 0 |  | 22 | 15 | 36 | 412
|  | 88-TR-1100-02 | 0 | 2.1 | 0 | 0 | 0 |  | 0 | 0 | 0
|  | Ring Fdr # 2 | 736 | 57109 | 38 | 39 | 37 |  | xxx
|  | Al Hamla RMU | 0 | 2.7 | 0 | 0 | 0 |  | XXX
|  | Incomer # 2 | 732 | 76238 | 37 | 36 | 35 |  | XXX
|  | 86E-TR-0001 | 191 | 54 | 0 | 0 | 0 |  | XXX
| 88-SS-1110 | 88-SS-1100 | XXX |  | 55 | 54 | 55 | 10.9 | XXX |  |  |  | 27/06/2024 13.10Hrs
|  | 88-TR-1110-01 | 183 | 340 | 5 | 5 | 5 |  | 146 | 84 | 84 | 414
|  | 88-TR-1110-02 | 142 | 6894 | 5 | 6 | 6 |  | 146 | 169 | 84
|  | 88-SS-1120 | XXX |  | 43 | 44 | 43 |  | XXX
| 88-SS-1120 | 88-SS-1110 | XXX |  | 42 | 41 | 40 | 10.9 | XXX |  |  |  | 27/06/2024 12.50Hrs
|  | 88-TR-1120-01 | 152 | 2383 | 8 | 8 | 8 |  | 189 | 207 | 208 | 412
|  | 88-TR-1120-02 | 73 | 1496 | 0 | 2 | 0 |  | 80 | 80 | 80
|  | 88-SS-1130 | XXX |  | 33 | 32 | 33
| 88-SS-1130 | 88-SS-1120 | XXX |  | 32 | 31 | 31 | 10.9 | XXX |  |  |  | 27/06/2024 12.44Hrs
|  | 88-TR-1130-01 | 101 | 2246 | 2 | 2 | 2 |  | 80 | 84 | 80 | 413
|  | 88-TR-1130-02 | 101 | 1898 | 4 | 4 | 4 |  | 84 | 84 | 84
|  | 88-SS-1140 | XXX |  | 24 | 23 | 23
|  | El Workshop Tx | 0 | 107 | 0 | 0 | 0 |  | XXX
| 88-SS-1140 | 88-SS-1130 | XXX |  | 26 | 25 | 26 | 10.9 | XXX |  |  |  | 27/06/2024 12.38Hrs
|  | 88-TR-1140-01 | 269 | 10923 | 14 | 14 | 15 |  | 359 | 388 | 379 | 411
|  | 88-TR-1140-02 | 189 | 7818 | 10 | 10 | 10 |  | 240 | 268 | 254
|  | 88-SS-0140 | XXX |  | off | off | off |  | XXX
| 88-SS-0140 | 88-SS-1140 | XXX |  | 0 | 0 | 0 | 10.9 | XXX |  |  |  | 30/06/2024 08.20Hrs
|  | 88-TR-0140-01 | 79 | 7258 | 2 | 3 | 3 |  | 40 | 88 | 90 | 413
|  | 88-TR-0140-02 | 28 | 5318 | 0 | 0 | 0 |  | 9 | 10 | 9
|  | 88-SS-0130 | XXX |  | 0 | 0 | 0
| 88-SS-0130 | 88-SS-0140 | XXX |  | 0 | 0 | 0 | 10.9 |  |  |  |  | 02/07/2024 12.47Hrs
|  | 88-TR-0130-01 | 26 | 4783 | 0 | 0 | 0 |  | 11 | 9 | 13 | 412
|  | 88-TR-0130-02 | 269 | 15057 | 15 | 15 | 15 |  | 290 | 282 | 200
|  | 88-SS-1160 | XXX |  | 19 | 21 | 22
| 88-SS-1160 | 88-SS-0130 | XXX |  | 18 | 20 | 17 | 11 | XXX |  |  |  | 27/06/2024 13.18Hrs
|  | 88-TR-1160-01 | 83 | 4801 | 0 | 0 | 0 |  | 21 | 6 | 22 | 414
|  | 88-SS-1150 | XXX |  | 20 | 18 | 21
| 88-SS-1150 | 88-SS-1160 | XXX |  | 19 | 18 | 20 | 10.9 | XXX |  |  |  | 27/06/2024 13.30Hrs
|  | 88-TR-1150-01 | 177 | 10197 | 7 | 7 | 6 |  | 189 | 169 | 146 | 416
|  | 88-TR-1150-02 | 256 | 11713 | 11 | 10 | 10 |  | 268 | 239 | 293
|  | 88-SS-1100 | XXX | XXX | 36 | 39 | 34 |  | XXX