## 1)RING #1
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 01 (DTS # 02 PNO: A10 & A20) | [9 empty] | MARCH - 2024 |  |  | PAGE 1 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| Mosque | DTS # 02 | XXX |  | 6 | 5 | 6 | 11.14 | XXX
|  | TX-1 | 130 | 5136630 | 6 | - | 5 |  | 73 | 84 | 81 | 426 | 28/02/2024 09.45Hrs
|  | TX-2 | 90 | 1147790 | 4 | - | 4 |  | 73 | 83 | 82
|  | Fire Station | XXX |  | 0 | 0 | 0 |  | 3
| Fire Station | Mosque | XXX |  | OFF |  |  | 11.17 | XXX |  |  |  | 28/02/2024 09.25Hrs
|  | TX-1 | 128 | 9850 | 4 | 3 | 4 |  | 110 | 65 | 126 | 421
TX-2
|  | TX-2 | 68 | 2562 | 1 | 1 | 1 |  | 41 | 49 | 31
|  | Substation#N3 | XXX |  | 5 | 4 | 4
| Substation # N3 | Fire Station | XXX |  | 5 | 4 | 4 | 11.23 | XXX
|  | TX-1 | 27 | 1033934 | 1 | 1 | 1 |  | 0 | 0 | 0 | 443 | 28/02/2024 08.55Hrs
|  | TX-2 | 2 | 394030 | 0 | 0 | 0 |  | 0 | 0 | 0
|  | D-Type | XXX |  | 6 | 4 | 6 |  | XXX
| D-Type | Substation#N3 | XXX |  | 5 | 4 | 4 | 11.15 | XXX |  |  |  | 28/02/2024 08.24Hrs | TX-2 Multifunction Meter Replaced on 27th Feb -2024
|  | TX-1 | 60 | 9542930 | 2 | - | 2 |  | 40 | 36 | 68 | 420
|  | TX-2 | 100 | 9097630 | 4 | - | 4 |  | 40 | 20 | 68
|  | Kahrama PS | 100 | 3453200 | 0 | - | 0 |  | XXX
|  | DTS # 02 | XXX |  | 4 | 4 | 4 |  | XXX

## 2)RING #2
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 02 (DTS # 02 PNO: A30 & A40) | [9 empty] | MARCH - 2024 |  |  | PAGE 2 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| Main Camp (New) | DTS # 02 | 63 | 3263766 | 2 | 2 | 2 | 11.14 | XXX
|  | TX-1 | 49 | 3307296 | 2 | 2 | 2 |  | 0 | 0 | 0 | 443 | 28/02/2024 12.55Hrs
|  | TX-2 | 22 | 960042 | 0.5 | 0.5 | 0.5 |  | 0 | 0 | 0
|  | Escarpment | XXX |  | 0 | 0 | 0
| Escarpment | Main Camp New) | XXX |  | OFF |  |  | 11.1 | XXX
|  | TX-1 | 201 | 21237 | 9 | 9 | 8 |  | 253 | 238 | 214 | 429 | 28/02/2024 13.15Hrs
|  | TX-2 | 275 | 30763 | 13 | 13 | 13 |  | 312 | 333 | 309
|  | SS Bungalow | XXX |  | 22 | 22 | 22
| S.S.Bungalow | Escarpment | XXX |  | 22 | 22 | 22 | 11 | XXX
|  | TX-1 | 60 | 115860 | 2 | - | 1 |  | 56 | 50 | 48 | 418 | 28/02/2024 10.40Hrs
|  | TX-2 | 60 | 149810 | 2 | - | 1 |  | 56 | 50 | 48
|  | Supalite | XXX |  | 14 | 14 | 14
| Supalite | SS Bungalow | XXX | [5 empty] | XXX
|  | TX-1 | 118 | 32929317 | XXX |  |  |  | 105 | 80 | 120 | 412 | 28/02/2024 11.00Hrs
|  | TX-2 | 113 | 31625693 | XXX |  |  |  | 100 | 82 | 100
|  | DTS # 02 | XXX | [5 empty] | XXX

## 3)RING #3
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 03 (DTS # 02 PNO: A50 & A60) | [9 empty] | MARCH - 2024 |  |  | PAGE 3 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| Hospital | DTS # 02 | 287 | 78007 | 20 | 19 | 19 | 11.12 | XXX
|  | TX-1 | 192 | 9560 | 6 | 6 | 6 |  | 173 | 189 | 185 | 422 | 2024-02-29
|  | TX-2 | 210 | 3968 | 4 | 4 | 4 |  | 107 | 112 | 107 |  | 09.45Hrs
|  | New Cinema | XXX |  | 8 | 8 | 8 |  | XXX
| New Cinema | Hospital | XXX |  | 7 | 7 | 7 | 11.08 | XXX
|  | TX-1 | 215 | 6533988 | 5 | 5 | 5 |  | 137 | 125 | 140 | 441 | 2024-02-29
|  | TX-2 | 97 | 3513612 | 3 | 3 | 3 |  | 72 | 62 | 60 | 442 | 10.05Hrs
|  | New M.R.Club | XXX |  | 0 | 0 | 0 |  | XXX
| New M.R. Club | New Cinema | XXX |  | OFF |  |  | 11.09 | XXX
|  | TX-1 | 315 | 2146020 | 10 | 9 | 8 |  | 267 | 183 | 251 | 441 | 2024-02-29
|  | TX-2 | 427 | 4533201 | 14 | 14 | 13 |  | 419 | 379 | 432 | 441 | 09.55Hrs
|  | DTS # 2 | 700 | 5659968 | 23 | 23 | 21 |  | XXX

## 4)RING #4
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 04 (DTS # 01 PNO: A30 & A40) | [9 empty] | MARCH - 2024 |  |  | PAGE 4 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| F/Ball Pitch | DTS # 01 | 120 | 67942100 | 3 | - | 2 | 11 | XXX
|  | TX-1 | 60 | 112300 | 2 | - | 1 |  | 52 | 48 | 56 | 420 | 2024-03-04
|  | TX-2 | 80 | 5040860 | 1 | - | 1 |  | 62 | 82 | 70 |  | 09:45Hrs
|  | Dk-5 | XXX |  | OFF
| DK-5 | Football Pitch | XXX |  | 0 | 0 | 0 | 10.9 | XXX
|  | TX-1 | 100 | 8861580 | 2 | - | 2 |  | 50 | 52 | 56 | 420 | 2024-03-04
|  | TX-2 | 80 | 9380760 | 1 | - | 1 |  | 80 | 80 | 78 |  | 09:26Hrs
|  | DTS # 01 | XXX |  | 3 | 3 | 3 |  | XXX

## 5)RING #5
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 05 (DTS # 01 PNO: A50 & A60) | [9 empty] | MARCH - 2024 |  |  | PAGE 5 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| Dk5 Bungalows | DTS # 01 | 48 | 1327 | 4 | 5 | 5 | 11.02 | XXX
|  | TX-1 | 63 | 8719 | 1 | 1 | 1 |  | 36 | 26 | 22 | 410 | 2024-02-29
|  | TX-2 | 144 | 2823 | 3 | 3 | 4 |  | 100 | 147 | 80 |  | 10:26Hrs
|  | SS # 815 | XXX |  | OFF | OFF | OFF |  | XXX
| S/S # 815 | DK-5 Bunglow | XXX |  | 0 | 0 | 0 | 10.9 | XXX
|  | TX-1 | 152 | 20709 | 5 | 5 | 5 |  | 236 | 104 | 112 | 420 | 2024-02-29
|  | TX-2 | 82 | 11793 | 0 | 0 | 0 |  | 60 | 52 | 48 |  | 10:10Hrs
|  | DTS # 01 | 206 | 64671 | 0 | 0 | 0 |  | XXX

## 6)RING #6
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
| MAXIMUM DEMAND RECORDING SHEET JULY-2019 PAGE: 6 OF 19 | [10 empty] | MARCH - 2024 |  | PAGE 6 OF 19
RING # 06 (DTS # 02 PNO: A70 & A80)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| WORK SHOP | DTS # 02 | XXX | XXX | 8 | 8 | 8 | 11.11 | XXX
|  | TX-1 | 27 | 7774 | 1 | 1 | 1 |  | 22 | 23 | 25 | 422 | 2024-02-29
|  | TX-2 | 26 | 7759 | 1 | 1 | 1 |  | 24 | 22 | 28 |  | 10:19Hrs
|  | North Coast | XXX |  | 7 | 7 | 6
| North Coast | Work Shop | XXX |  | 0 | 0 | 0 | 11
|  | TX-1 | 107 | 15007 | 0 | 0 | 0 |  | 100 | 44 | 48 | 423 | 2024-03-03
|  | TX-2 | 113 | 14328 | 0 | 0 | 0 |  | 64 | 52 | 44 |  | 10:20Hrs
|  | Zone #3 | XXX |  | OFF
| ZONE # 3 | North Coast | XXX |  | 0 | 0 | 0 | 11.15 | XXX
|  | TX-1 | 108 | 3119 | 4 | 4 | 4 |  | 110 | 85 | 112 | 436 | 2024-03-03
|  | TX-2 | 106 | 2586 | 4 | 4 | 4 |  | 108 | 98 | 108 |  | 10:32Hrs
|  | SS Mess | XXX |  | 0 | 0 | 0
| SS MESS | Zone #3 | XXX |  | 0 | 0 | 0 | 11.09 | XXX
|  | TX-1 | 230 | 3370210 | 6 | - | 7 |  | 176 | 226 | 182 | 420 | 2024-02-29
|  | TX-2 | 230 | 3845270 | 7 | - | 7 |  | 224 | 261 | 176 |  | 10:30Hrs
|  | DTS # 02 | XXX | XXX | 10 | 10 | 10 |  | XXX

## 7)RING #7
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [6 empty] | MARCH - 2024 |  |  | PAGE 7 OF 19
RING # 07 (DTS # 01 PNO: A70 & A80)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-1310 | DTS # 01 | 533 | 71580 | 21 | 19 | 19 | 11 | XXX
|  | TX-1 | 139 | 17710 | 4 | 4 | 4 |  | 112 | 116 | 100 | 423 | 2024-02-29
|  | TX-2 | 377 | 18413 | 12 | 12 | 12 |  | 344 | 316 | 330 |  | 08:59Hrs
|  | S/S # 1320 | XXX |  | 0 | 0 | 0
| 88-SS-1320 | S/S # 1310 | XXX |  | 0 | 0 | 0 | 11 | XXX
|  | TX-1 | 94 | 5807 | 0 | 0 | 0 |  | 125 | 90 | 90 | 422 | 2024-02-29
|  | TX-2 | 35 | 12803 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 09:15Hrs
|  | S/S # 1420 |  |  | 0 | 0 | 0 |  | XXX
| 88-SS-1420 | S/S # 1320 | XXX |  | OFF |  |  | 11 | XXX
|  | TX-1 | 212 | 17852 | 5 | 5 | 0 |  | 180 | 85 | 100 | 421 | 2024-02-29
|  | TX-2 | 144 | 11958 | 0 | 0 | 0 |  | 55 | 0 | 0 |  | 09:30Hrs
|  | S/S # 1410 |  |  | 0 | 0 | 0
| 88-SS-1410 | S/S # 1420 |  |  | 0 | 0 | 0 | 10.9 | XXX
|  | TX-1 | 169 | 17239 | 0 | 0 | 0 |  | 92 | 76 | 84 | 420 | 2024-02-29
|  | TX-2 | 88 | 10264 | 0 | 0 | 0 |  | 56 | 48 | 0 |  | 09:43Hrs
|  | DTS # 01 | 680 | 57936 | 16 | 16 | 14 |  | XXX

## 8)RING #8
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET JULY-2019 PAGE:8 OF 19 | [11 empty] | MARCH-2024 |  | PAGE 8 OF 19
RING # 08 (DTS # 01 PNO: A110 & A120)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-1510 | DTS # 01 | 440 | 139440 | 10 | 13 | 12 | 11 | XXX
|  | TX-1 | 96 | 31757 | 0 | 0 | 0 |  | 50 | 0 | 45 | 422 | 2024-03-03
|  | TX-2 | 160 | 41093 | 0 | 4 | 4 |  | 100 | 95 | 50 |  | 08:55Hrs
|  | S/S # 1520 | XXX |  | 0 | 0 | 0 |  | XXX
| 88-SS-1520 | S/S # 1510 | XXX |  | 0 | 0 | 0 | 10.9 | XXX
|  | TX-1 | 121 | 36985 | 0 | 0 | 0 |  | 45 | 75 | 45 | 421 | 2024-03-03
|  | TX-2 | 132 | 30297 | 5 | 5 | 5 |  | 130 | 95 | 75 |  | 09:15Hrs
|  | S/S # 1610 | XXX |  | OFF |  |  |  | XXX
| 88-SS-1610 | S/S # 1520 | XXX |  | 0 | 0 | 0 | 11 | XXX
|  | TX-1 | 126 | 33649 | 4 | 4 | 4 |  | 75 | 110 | 110 | 420 | 2024-03-03
|  | TX-2 | 115 | 19690 | 0 | 0 | 0 |  | 75 | 75 | 60 |  | 09:25Hrs
|  | DTS # 01 | 224 | 58504 | 0 | 0 | 0 |  | XXX

## 9)RING #9
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET | [10 empty] | MARCH - 2024 |  | PAGE 9 OF 19
RING # 09 (DTS # 02 PNO: A110 & A120)
Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
88-SS-1805 | DTS # 02 | 390 | 74248 | 0 | 0 | 12 | 11 | XXX
| TX-1 | 126 | 27383 | 0 | 0 | 0 |  | 84 | 98 | 100 | 431 | 2024-03-03
| TX-2 | 123 | 24026 | 4 | 0 | 0 |  | 117 | 93 | 103 |  | 10:45Hrs
| 88-SS-1810 | XXX |  | 0 | 0 | 0 |  | XXX
88-SS-1810 | 88-SS-1805 | XXX |  | 0 | 0 | 0 | 10.9 | XXX
| TX-1 | 110 | 12072 | 0 | 0 | 0 |  | 88 | 76 | 72 | 420 | 2024-03-03
| TX-2 | 100 | 10025 | 0 | 0 | 0 |  | 40 | 76 | 84 |  | 12:55Hrs
| 88-SS-1710 | XXX |  | OFF |  |  |  | XXX
88-SS-1710 | 88-SS-1810 | XXX |  | 0 | 0 | 0 | 10.9 | XXX
| TX-1 | 131 | 18538 | 0 | 0 | 0 |  | 90 | 80 | 65 | 418
| TX-2 | 93 | 13026 | 0 | 0 | 0 |  | 70 | 75 | 40 | 418 | 2024-03-03
| TX-3 | 155 | 15531 | 5 | 5 | 5 |  | 150 | 140 | 95 | 418 | 13:10Hrs
| TX-4 | 203 | 25776 | 7 | 7 | 7 |  | 200 | 195 | 170 | 419
| 88-SS-550 (New) | XXX |  | 22 | 24 | 22 |  | XXX
| Police Station fdr | 141 | 8770 | 6 | 6 | 6 |  | 145 | 180 | 192 | 420
88-SS-550 (New) | 88-SS-1710 | XXX |  | 19 | 20 | 18 | 11.07
| TX-1 | 440 | 5191849 | 13 | 17 | 16 |  | 370 | 485 | 305 | 441 | 2024-03-03
| TX-2 | 444 | 3903581 | 15 | 17 | 17 |  | 420 | 480 | 370 |  | 10:55Hrs
| DTS # 02 | 1360 | 4500614 | 46 | 53 | 50

## 10)RING #10
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET | [10 empty] | MARCH - 2024 |  |  | PAGE 10 OF 19
RING # 10 (DTS # 01 PNO: A130 & A140)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| QPAA 88-SS-0015 | DTS # 01 | 1.9MW | 208084 | 95 | 96 | 92 | 10.9 | XXX |  |  |  | 03/03/2024 09:35Hrs
|  | 88-TR0015-01 | 268 | 17329 | 10 | 10 | 10 |  | 200 | 186 | 141 | 413
|  | 88-TR0015-02 | 310 | 15312 | 12 | 13 | 12 |  | 282 | 244 | 244 | 411
|  | 88-SS-0020 | XXX |  | 63 | 62 | 62 |  | XXX
|  | Desal Plant | 118 | 8009 | 6 | 6 | 6 |  | XXX
|  | DWS Feeder | 372 | 21646 | 11 | 11 | 11 |  | XXX
| QPAA 88-SS-0020 | 88-SS-0015 | XXX |  | 59 | 58 | 56 | 10.9 | XXX
|  | 88-TR-0020-01 | 147 | 19164 | 5 | 4 | 4 |  | 122 | 109 | 119 | 420 | 03/03/2024 09:50Hrs
|  | 88-TR-0020-02 | 139 | 21436 | 0 | 0 | 0 |  | 103 | 60 | 66 | 421
|  | IT (86T-SS-8601) | XXX |  | 52 | 50 | 50 |  | XXX
| IT S/S (86T-SS-8601) | 88-SS-0020 | XXX |  | 54 | 53 | 52 | 11.01 | XXX
|  | 86T-TR-8601-01 | 616 | 42031459 | 34 | 32 | 32 |  | 875 | 817 | 863 | 424 | 29/02/2024 12:20Hrs
|  | 86T-TR-8601-02 | 446 | 28937669 | 22 | 22 | 21 |  | 582 | 576 | 586 | 426
|  | HQ (DOMB) | XXX |  | 2 | 2 | 2 |  | XXX
| HQ (DOMB) | IT (86T-SS-8601) | XXX |  | OFF | OFF | OFF | 11.01 | XXX
|  | 88-TR002-01 | 394 | 4427 | 13 | 13 | 13 |  | 352 | 337 | 337 | 420 | 03/03/2024 10.10Hrs
|  | 88-TR002-02 | 354 | 926 | 6 | 6 | 6 |  | 171 | 168 | 165 | 420
|  | 88-TR002-03 | 252 | 3172 | 11 | 11 | 11 |  | 316 | 282 | 266 | 420
|  | 88-TR002-04 | 417 | 9982 | 19 | 19 | 19 |  | 518 | 544 | 551 | 420
|  | DTS # 01 | 1045 | 52992 | 47 | 49 | 47 |  | XXX

## 11)RING #11
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
| MAXIMUM DEMAND RECORDING SHEET | [10 empty] | MARCH - 2024 | PAGE 11 OF 19
RING # 11 (DTS # 01 PNO: A150 & A160)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-9310 | DTS # 01 | 739 | 1773360 | 24 | 24 | 23 | 11.04 | XXX
|  | 88-TR-9310-01 | 143 | 3748791 | 4 | 4 | 4 |  | 131 | 123 | 123 | 441 | 2024-02-29
|  | 88-TR-9310-02 | 147 | 2720852 | 7 | 7 | 7 |  | 211 | 203 | 211 |  | 09.05Hrs
|  | 88-SS-2010 | XXX |  | 13 | 13 | 13 |  | XXX
| 88-SS-2010 | 88-SS-9310 | XXX |  | 18 | 17 | 17 | 11 | XXX
|  | 88-TR-2010-01 | 250 | 25694 | 7 | 7 | 6 |  | 164 | 147 | 178 | 428 | 2024-02-29
|  | 88-TR-2010-02 | 289 | 25666 | 11 | 10 | 10 |  | 289 | 238 | 279 |  | 08.56Hrs
|  | 88-SS-2020 | XXX |  | OFF |  |  |  | XXX
| 88-SS-2020 | 88-SS-2010 | XXX |  | 0 | 0 | 0 | 11
|  | 88-TR-2020-01 | 265 | 26045 | 6 | 7 | 7 |  | 232 | 234 | 137 | 427 | 2024-02-29
|  | 88-TR-2020-02 | 275 | 27815 | 7 | 8 | 8 |  | 178 | 269 | 180 |  | 09.25Hrs
|  | DTS # 01 | 509 | 53795 | 15 | 17 | 15 |  | XXX

## 12)RING #12
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [6 empty] | MARCH - 2024 |  |  | PAGE 12 OF 19
RING # 12 (DTS # 02 PNO: A130 & A140)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-9110 (S/S # N1) | DTS # 02 | 299 | 7059410 | 10 | 10 | 7 | 11.07 | XXX
|  | 88-TR-9110-01 | 153 | 1417442 | 4 | 3 | 2 |  | 105 | 0 | 130 | 442 | 2024-02-29
|  | 88-TR-9110-02 | 160 | 2177859 | 6 | 6 | 3 |  | 145 | 0 | 0 |  | 10.41Hrs
|  | 88-SS-9120 | XXX |  | 0 | 0 | 0
| 88-SS-9120 (S/S # N2) | 88-SS-9110 | XXX |  | 0FF |  |  | 11.15 | XXX
|  | 88-TR-9120-01 | 113 | 7581242 | 4 | 4 | 4 |  | 0 | 110 | 0 | 443 | 2024-02-28
|  | 88-TR-9120-02 | 122 | 5664274 | 4 | 4 | 4 |  | 99 | 100 | 105 |  | 13:40Hrs
|  | DTS # 02 | 215 | 9693480 | 7 | 7 | 8 |  | XXX

## 13)RING #14
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [7 empty] | MARCH - 2024 |  | PAGE 13 OF 19
RING # 14 (DTS # 02 PNO: A170 & A180)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| New Contractor | DTS # 02 | 547 | 5979099 | 6 | 6 | 6 | 11.07 | XXX |  |  |  | 28/02/2024 10.20Hrs
|  | TX-1 | 102 | 4992529 | 2 | 2 | 2 |  | 62 | 49 | 52 | 441
|  | TX-2 | 131 | 7678527 | 4 | 4 | 3 |  | 134 | 125 | 52 | 441
|  | North Gate | XXX |  | OFF
| NEW NORTH GATE | Contractor | XXX |  | 0 | 0 | 0 | 11.11 | 0 |  |  |  | 28/02/2024 10.06Hrs
|  | TX-1 | 81 | 3941412 | 4 | 4 | 4 |  | 97 | 97 | 110 | 442
|  | TX-2 | 50 | 3059713 | 1 | 1 | 1 |  | 0 | 0 | 0
|  | Kathiyah Bypass | 50 | 3486574 | 1 | 1 | 1 |  | XXX
|  | Covenant | XXX |  | 5 | 5 | 5 |  | XXX
| New Covenant | 88-SS-450 | XXX |  | 4 | 3 | 3 | 11.09 | XXX |  |  |  | 28/02/2024 09.56Hrs
|  | TX-1 | 73 | 4048135 | 1 | 2 | 1 |  | 0 | 0 | 0 | 442
|  | TX-2 | 171 | 8560515 | 4 | 4 | 4 |  | 104 | 104 | 109
|  | DTS # 02 | 333 | 749163 | 10 | 10 | 9

## 14)DTS #02 (hidden)
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [6 empty] | SEPTEMBER 2017 |  |  | PAGE 14 OF 18
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [MWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| DTS # 02 | Incomer # 01 | 5012 | 60095 MWH | 290 | 299 | 282 | 10.9 | XXX
|  | 88-TR-0981-01 | 0 | 54 MWH | 0 | 0 | 0 |  | 0 | 0 | 0 | 410 | 28/09/2017
|  | 88-TR-0981-02 | 0 | 318 MWH | 0 | 0 | 0 |  | 100 | 60 | 108 | 410 | 11:00 HRS
|  | Incomer # 02 | 4985 | 59715 MWH | 290 | 308 | 282 |  | XXX
|  | 11KV Ring # 1 (Pnl # A10) | 362 | 6139 MWH | 22 | 21 | 20 |  | XXX
|  | 11KV Ring # 1 (Pnl # A20) | 612 | 9613 MWH | 40 | 34 | 31 |  | XXX
|  | 11KV Ring # 2 (Pnl # A30) | 1842 | 18996 MWH | 107 | 112 | 109 |  | XXX
|  | 11KV Ring # 2 (Pnl # A40) | 386 | 14829 MWH | 24 | 24 | 24 |  | XXX
|  | 11KV Ring # 3 (Pnl # A50) | 359 | 5920 MWH | 18 | 20 | 21 |  | XXX
|  | 11KV Ring # 3 (Pnl # A60) | 1524 | 21698 MWH | 91 | 90 | 86 |  | XXX
|  | 11KV Ring # 6 (Pnl # A70) | 381 | 4836 MWH | 22 | 22 | 18 |  | XXX
|  | 11KV Ring # 6 (Pnl # A80) | 862 | 14019 MWH | 51 | 56 | 58 |  | XXX
|  | 11KV Ring # 9 (Pnl # A110) | 898 | 18128 MWH | 56 | 53 | 47 |  | XXX
|  | 11KV Ring # 9 (Pnl # A120) | 1481 | 13542 MWH | 88 | 91 | 86 |  | XXX
|  | 11KV Ring #12 (Pnl # A130) | 1303 | 2845 MWH | 74 | 79 | 81 |  | XXX
|  | 11KV Ring #12 (Pnl # A140) | 0 | 0 | 0 | 0 | 0 |  | XXX

## 17)DSFA
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [6 empty] | MARCH - 2024 |  |  | PAGE 17 OF 19
DSFA
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [MWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-1100 | Incomer # 1 | 1.15MW | 75396 | 44 | 45 | 45 | 10.9 | XXX |  |  |  | 04/03/2024 10.30Hrs
|  | Ring Fdr # 1 | 647 | 40627 | 26 | 25 | 25 |  | XXX
|  | Al Hamla BH | 589 | 30948 | 15 | 15 | 16 |  | XXX
|  | Coastal RLSS | 34 | 1488 | 1 | 0 | 1 |  | XXX
|  | 88-TR-1100-01 | 27 | 2287 | 0 | 0 | 0 |  | 19 | 19 | 20 | 410
|  | 88-TR-1100-02 | 0 | 2.1 | 0 | 0 | 0 |  | 0 | 0 | 0
|  | Ring Fdr # 2 | 519 | 55828 | 24 | 25 | 24 |  | xxx
|  | Al Hamla RMU | 0 | 2.7 | 0 | 0 | 0 |  | XXX
|  | Incomer # 2 | 518 | 74948 | 24 | 24 | 23 |  | XXX
|  | 86E-TR-0001 | 193 | 44 | 0 | 0 | 0 |  | XXX
| 88-SS-1110 | 88-SS-1100 | XXX |  | 13 | 13 | 11 | 10.9 | XXX |  |  |  | 02/03/2024 10:30Hrs
|  | 88-TR-1110-01 | 173 | 246 | 0 | 0 | 0 |  | 15 | 18 | 21 | 411
|  | 88-TR-1110-02 | 146 | 6748 | 0 | 0 | 0 |  | 60 | 52 | 43
|  | 88-SS-1120 | XXX |  | 11 | 11 | 20 |  | XXX
| 88-SS-1120 | 88-SS-1110 | XXX |  | 21 | 21 | 20 | 10.8 | XXX |  |  |  | 03/03/2024 13.40Hrs
|  | 88-TR-1120-01 | 138 | 2275 | 3 | 3 | 3 |  | 132 | 128 | 114 | 408
|  | 88-TR-1120-02 | 83 | 1446 | 0 | 0 | 0 |  | 148 | 134 | 122
|  | 88-SS-1130 | XXX |  | 17 | 17 | 16
| 88-SS-1130 | 88-SS-1120 | XXX |  | 17 | 19 | 17 | 11 | XXX |  |  |  | 04/03/2024 10.05Hrs
|  | 88-TR-1130-01 | 81 | 2165 | 2 | 3 | 0 |  | 52 | 58 | 44 | 415
|  | 88-TR-1130-02 | 132 | 1816 | 0 | 0 | 0 |  | 62 | 56 | 54
|  | 88-SS-1140 | XXX |  | 14 | 14 | 14
|  | El Workshop Tx | 0 | 105 | 0 | 0 | 0 |  | XXX
| 88-SS-1140 | 88-SS-1130 | XXX |  | 9 | 9 | 9 | 10.9 | XXX |  |  |  | 02/03/2024 10.20Hrs
|  | 88-TR-1140-01 | 203 | 10569 | 5 | 5 | 5 |  | 146 | 143 | 138 | 410
|  | 88-TR-1140-02 | 138 | 7601 | 2 | 2 | 2 |  | 48 | 36 | 42
|  | 88-SS-0140 | XXX |  | off | off | off |  | XXX
| 88-SS-0140 | 88-SS-1140 | XXX |  | 0 | 0 | 0 | 11 | XXX |  |  |  | 02/03/2024 10.44Hrs
|  | 88-TR-0140-01 | 8 | 7115 | 0 | 0 | 0 |  | 101 | 107 | 98 | 413
|  | 88-TR-0140-02 | 32 | 5277 | 0 | 0 | 0 |  | 3 | 3 | 3
|  | 88-SS-0130 | XXX |  | 0 | 0 | 0
| 88-SS-0130 | 88-SS-0140 | XXX |  | 0 | 0 | 0 | 11 |  |  |  |  | 04/03/2024 10.40Hrs
|  | 88-TR-0130-01 | 28 | 4744 | 0 | 0 | 0 |  | 10 | 10 | 7 | 415
|  | 88-TR-0130-02 | 160 | 14718 | 8 | 8 | 8 |  | 120 | 134 | 128
|  | 88-SS-1160 | XXX |  | 10 | 10 | 10
| 88-SS-1160 | 88-SS-0130 | XXX |  | 9 | 9 | 9 | 10.8 | XXX |  |  |  | 03/03/2024 13.30Hrs
|  | 88-TR-1160-01 | 64 | 4711 | 0 | 0 | 0 |  | 10 | 12 | 10 | 409
|  | 88-SS-1150 | XXX |  | 10 | 10 | 10
| 88-SS-1150 | 88-SS-1160 | XXX |  | 6 | 6 | 6 | 10.8 | XXX |  |  |  | 02/03/2024 10.40Hrs
|  | 88-TR-1150-01 | 161 | 9890 | 6 | 6 | 6 |  | 120 | 120 | 126 | 413
|  | 88-TR-1150-02 | 176 | 11341 | 9 | 10 | 9 |  | 189 | 169 | 170
|  | 88-SS-1100 | XXX | XXX | 22 | 22 | 21 |  | XXX