## 1)RING #1
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 01 (DTS # 02 PNO: A10 & A20) | [9 empty] | MAY - 2024 |  |  | PAGE 1 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| Mosque | DTS # 02 | XXX |  | 4 | 4 | 4 | 10.9 | XXX
|  | TX-1 | 160 | 5288860 | 7 | - | 6 |  | 60 | 68 | 80 | 422 | 01/05/2024 08.20Hrs
|  | TX-2 | 120 | 1260040 | 5 | - | 5 |  | 60 | 68 | 80
|  | Fire Station | XXX |  | 0 | 0 | 0 |  | 3
| Fire Station | Mosque | XXX |  | OFF |  |  | 11.12 | XXX |  |  |  | 01/05/2024 08.35Hrs
|  | TX-1 | 230 | 9991 | 6 | 5 | 5 |  | 233 | 113 | 173 | 420
TX-2
|  | TX-2 | 118 | 2627 | 3 | 3 | 3 |  | 105 | 58 | 44
|  | Substation#N3 | XXX |  | 10 | 7 | 8
| Substation # N3 | Fire Station | XXX |  | 10 | 7 | 8 | 11.07 | XXX
|  | TX-1 | 30 | 1059731 | 2 | 2 | 2 |  | 40 | 40 | 40 | 436 | 01/05/2024 08.50Hrs
|  | TX-2 | 2 | 397590 | 0 | 0 | 0 |  | 40 | 40 | 40
|  | D-Type | XXX |  | 14 | 11 | 10 |  | XXX
| D-Type | Substation#N3 | XXX |  | 14 | 11 | 10 | 11 | XXX |  |  |  | 01/05/2024 09.00Hrs
|  | TX-1 | 80 | 9611160 | 2 | - | 2 |  | 28 | 40 | 32 | 422
|  | TX-2 | 160 | 9244790 | 5 | - | 5 |  | 28 | 40 | 32
|  | Kahrama PS | 100 | 3453240 | 0 | - | 0 |  | XXX
|  | DTS # 02 | XXX |  | 4 | 4 | 4 |  | XXX

## 2)RING #2
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 02 (DTS # 02 PNO: A30 & A40) | [9 empty] | MAY - 2024 |  |  | PAGE 2 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| Main Camp (New) | DTS # 02 | 86 | 3329064 | 3 | 3 | 3 | 11.18 | XXX
|  | TX-1 | 69 | 3354040 | 2 | 2 | 2 |  | 80 | 80 | 80 | 443 | 29/04/2024 09.30Hrs
|  | TX-2 | 26 | 978847 | 1 | 1 | 1 |  | 60 | 40 | 52
|  | Escarpment | XXX |  | 0 | 0 | 0
| Escarpment | Main Camp New) | XXX |  | OFF |  |  | 11.1 | XXX
|  | TX-1 | 296 | 21439 | 18 | 18 | 17 |  | 546 | 478 | 459 | 427 | 29/04/2024 09.45Hrs
|  | TX-2 | 319 | 31011 | 16 | 17 | 17 |  | 435 | 438 | 431
|  | SS Bungalow | XXX |  | 34 | 35 | 34
| S.S.Bungalow | Escarpment | XXX |  | 20 | 20 | 20 | 11.15 | XXX
|  | TX-1 | 100 | 185990 | 3 | - | 4 |  | 96 | 96 | 96 | 410 | 29/04/2024 08.10Hrs
|  | TX-2 | 100 | 218150 | 3 | - | 3 |  | 84 | 96 | 92
|  | Supalite | XXX |  | 20 | 19 | 21
| Supalite | SS Bungalow | XXX |  |  |  |  | - | XXX
|  | TX-1 | 196 | 33060891 | XXX |  |  |  | 192 | 204 | 236 | 415 | 29/04/2024 10.40Hrs
|  | TX-2 | 186 | 31751783 | XXX |  |  |  | 170 | 174 | 243
|  | DTS # 02 | XXX | [5 empty] | XXX

## 3)RING #3
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 03 (DTS # 02 PNO: A50 & A60) | [9 empty] | MAY - 2024 |  |  | PAGE 3 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| Hospital | DTS # 02 | 604 | 78447 | 29 | 30 | 27 | 11.1 | XXX
|  | TX-1 | 256 | 9745 | 11 | 12 | 10 |  | 342 | 273 | 234 | 420 | 2024-04-30
|  | TX-2 | 182 | 3995 | 2 | 2 | 2 |  | 59 | 64 | 62 |  | 10.45HRS
|  | New Cinema | XXX |  | 16 | 16 | 16 |  | XXX
| New Cinema | Hospital | XXX |  | 18 | 19 | 19 | 11.06 | XXX
|  | TX-1 | 264 | 6665843 | 15 | 15 | 15 |  | 345 | 347 | 334 | 437 | 2024-04-30
|  | TX-2 | 125 | 3609590 | 5 | 5 | 5 |  | 140 | 140 | 134 | 437 | 11.00HRS
|  | New M.R.Club | XXX |  | 0 | 0 | 0 |  | XXX
| New M.R. Club | New Cinema | XXX |  | OFF |  |  | 11.07 | XXX
|  | TX-1 | 479 | 2487107 | 25 | 26 | 26 |  | 619 | 580 | 587 | 437 | 2024-04-30
|  | TX-2 | 575 | 5007910 | 23 | 24 | 23 |  | 655 | 567 | 571 | 437 | 10.55HRS
|  | DTS # 2 | 1039 | 6475200 | 46 | 49 | 45 |  | XXX

## 4)RING #4
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 04 (DTS # 01 PNO: A30 & A40) | [9 empty] | MAY - 2024 |  |  | PAGE 4 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| F/Ball Pitch | DTS # 01 | 160 | 68068700 | 5 | - | 4 | 11.1 | XXX
|  | TX-1 | 100 | 180640 | 3 | - | 2 |  | 56 | 40 | 45 | 415 | 2024-04-30
|  | TX-2 | 80 | 5098620 | 2 | - | 2 |  | 42 | 63 | 70 |  | 10.25HRS
|  | Dk-5 | XXX |  | OFF
| DK-5 | Football Pitch | XXX |  | 0 | 0 | 0 | 11.17 | XXX
|  | TX-1 | 120 | 8955980 | 4 | - | 4 |  | 92 | 112 | 119 | 420 | 2024-04-30
|  | TX-2 | 120 | 9463740 | 4 | - | 4 |  | 92 | 110 | 108 |  | 10.10HRS
|  | DTS # 01 | XXX |  | 5 | 5 | 5 |  | XXX

## 5)RING #5
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 05 (DTS # 01 PNO: A50 & A60) | [9 empty] | MAY - 2024 |  |  | PAGE 5 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| Dk5 Bungalows | DTS # 01 | 70 | 1327 | 11 | 9 | 10 | 11.03 | XXX
|  | TX-1 | 98 | 8771 | 2.3 | 3 | 3.5 |  | 38 | 45 | 92 | 416 | 2024-04-30
|  | TX-2 | 201 | 2963 | 7 | 6 | 8 |  | 194 | 194 | 264 |  | 09.45HRS
|  | SS # 815 | XXX |  | OFF | OFF | OFF |  | XXX
| S/S # 815 | DK-5 Bunglow | XXX |  | 0 | 0 | 0 | 11.02 | XXX
|  | TX-1 | 179 | 20865 | 7 | 6 | 7 |  | 176 | 176 | 188 | 430 | 2024-04-30
|  | TX-2 | 108 | 11869 | 4 | 4 | 4 |  | 96 | 120 | 104 |  | 9.05HRS
|  | DTS # 01 | 267 | 64903 | 14 | 13 | 12 |  | XXX

## 6)RING #6
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
| MAXIMUM DEMAND RECORDING SHEET PAGE: 6 OF 19 | [10 empty] | MAY - 2024 |  | PAGE 6 OF 19
RING # 06 (DTS # 02 PNO: A70 & A80)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| WORK SHOP | DTS # 02 | XXX | XXX | 4 | 4 | 4 | 11.06 | XXX
|  | TX-1 | 56 | 7788 | 2 | 2 | 2 |  | 58 | 64 | 42 | 422 | 2024-05-01
|  | TX-2 | 56 | 7771 | 2 | 2 | 2 |  | 48 | 58 | 62 |  | 10.55Hrs
|  | North Coast | XXX |  | 11 | 11 | 8
| North Coast | Work Shop | XXX |  | 0 | 0 | 0 | 11
|  | TX-1 | 155 | 15117 | 4 | 4 | 4 |  | 152 | 112 | 88 | 422 | 2024-05-01
|  | TX-2 | 174 | 14442 | 5 | 5 | 0 |  | 188 | 108 | 68 |  | 10.15Hrs
|  | Zone #3 | XXX |  | OFF
| ZONE # 3 | North Coast | XXX |  | 0 | 0 | 0 | 11.07 | XXX
|  | TX-1 | 188 | 3226 | 6 | 6 | 6 |  | 190 | 164 | 172 | 424 | 2024-05-01
|  | TX-2 | 181 | 2691 | 6 | 6 | 6 |  | 170 | 154 | 158 |  | 10.30Hrs
|  | SS Mess | XXX |  | 4 | 4 | 4
| SS MESS | Zone #3 | XXX |  | 4 | 4 | 4 | 11 | XXX
|  | TX-1 | 280 | 3642800 | 10 | 0 | 11 |  | 184 | 200 | 216 | 420 | 2024-05-01
|  | TX-2 | 280 | 4121760 | 11 | - | 11 |  | 184 | 200 | 216 |  | 10.40Hrs
|  | DTS # 02 | XXX | XXX | 16 | 16 | 16 |  | XXX

## 7)RING #7
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [6 empty] | MAY - 2024 |  |  | PAGE 7 OF 19
RING # 07 (DTS # 01 PNO: A70 & A80)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-1310 | DTS # 01 | 651 | 72146 | 29 | 28 | 25 | 11.1 | XXX
|  | TX-1 | 218 | 17855 | 6 | 6 | 6 |  | 152 | 152 | 136 | 428 | 2024-04-30
|  | TX-2 | 385 | 18687 | 19 | 18 | 18 |  | 426 | 524 | 372 |  | 12.54Hrs
|  | S/S # 1320 | XXX |  | 0 | 0 | 0
| 88-SS-1320 | S/S # 1310 | XXX |  | 0 | 0 | 0 | 11.1 | XXX
|  | TX-1 | 145 | 5925 | 6 | 6 | 4 |  | 205 | 170 | 140 | 429 | 2024-04-30
|  | TX-2 | 40 | 12836 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 13.05Hrs
|  | S/S # 1420 | XXX |  | 0 | 0 | 0 |  | XXX
| 88-SS-1420 | S/S # 1320 | XXX |  | OFF |  |  | 11.1 | XXX
|  | TX-1 | 310 | 18091 | 10 | 10 | 9 |  | 320 | 225 | 235 | 428 | 2024-04-30
|  | TX-2 | 157 | 12061 | 7 | 6 | 6 |  | 145 | 145 | 225 |  | 13.11Hrs
|  | S/S # 1410 | XXX |  | 17 | 15 | 16
| 88-SS-1410 | S/S # 1420 | XXX |  | 17 | 14 | 15 | 11.2 | XXX
|  | TX-1 | 222 | 17401 | 10 | 10 | 9 |  | 324 | 260 | 248 | 428 | 2024-04-30
|  | TX-2 | 111 | 10355 | 0 | 4 | 0 |  | 116 | 96 | 76 |  | 13.18Hrs
|  | DTS # 01 | 716 | 58528 | 31 | 29 | 27 |  | XXX

## 8)RING #8
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET JULY-2019 PAGE:8 OF 19 | [11 empty] | MAY -2024 |  | PAGE 8 OF 19
RING # 08 (DTS # 01 PNO: A110 & A120)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-1510 | DTS # 01 | 577 | 139934 | 22 | 24 | 21 | 11.02 | XXX
|  | TX-1 | 112 | 31837 | 4 | 0 | 4 |  | 70 | 70 | 110 | 430 | 2024-04-30
|  | TX-2 | 220 | 41274 | 8 | 8 | 7 |  | 250 | 210 | 185 |  | 13.27Hrs
|  | S/S # 1520 | XXX |  | 0 | 12 | 0 |  | XXX
| 88-SS-1520 | S/S # 1510 | XXX |  | 0 | 12 | 12 | 11.02 | XXX
|  | TX-1 | 128 | 37087 | 0 | 4 | 4 |  | 55 | 175 | 50 | 430 | 2024-04-30
|  | TX-2 | 201 | 30431 | 6 | 7 | 6 |  | 205 | 205 | 115 |  | 13.34Hrs
|  | S/S # 1610 | XXX |  | OFF |  |  |  | XXX
| 88-SS-1610 | S/S # 1520 | XXX |  | 0 | 0 | 0 | 11.02 | XXX
|  | TX-1 | 190 | 33793 | 7 | 7 | 6 |  | 185 | 160 | 175 | 430 | 2024-04-30
|  | TX-2 | 179 | 19806 | 4 | 5 | 5 |  | 140 | 130 | 110 |  | 13.44Hrs
|  | DTS # 01 | 323 | 58760 | 0 | 0 | 0 |  | XXX

## 9)RING #9
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET | [10 empty] | MAY - 2024 |  | PAGE 9 OF 19
RING # 09 (DTS # 02 PNO: A110 & A120)
Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
88-SS-1805 | DTS # 02 | 637 | 74719 | 22 | 23 | 21 | 11 | XXX
| TX-1 | 223 | 27535 | 9 | 8 | 9 |  | 209 | 215 | 287 | 430 | 2024-04-30
| TX-2 | 235 | 24181 | 6 | 7 | 7 |  | 168 | 260 | 191 |  | 10.18Hrs
| 88-SS-1810 | XXX |  | 0 | 0 | 0 |  | XXX
88-SS-1810 | 88-SS-1805 | XXX |  | 0 | 0 | 0 | 11 | XXX
| TX-1 | 139 | 12163 | 4 | 4 | 4 |  | 124 | 64 | 92 | 423 | 2024-04-30
| TX-2 | 116 | 10103 | 4 | 4 | 4 |  | 136 | 68 | 64 |  | 10.06Hrs
| 88-SS-1710 | XXX |  | OFF |  |  |  | XXX
88-SS-1710 | 88-SS-1810 | XXX |  | 0 | 0 | 0 | 11.01 | XXX
| TX-1 | 213 | 18628 | 4 | 4 | 4 |  | 115 | 115 | 90 | 425
| TX-2 | 129 | 13120 | 4 | 4 | 4 |  | 155 | 115 | 85 | 425 | 2024-04-30
| TX-3 | 196 | 15654 | 10 | 10 | 8 |  | 300 | 245 | 235 | 425 | 09.55Hrs
| TX-4 | 228 | 25943 | 10 | 11 | 10 |  | 300 | 310 | 250 | 425
| 88-SS-550 (New) | XXX |  | 38 | 42 | 37 |  | XXX
| Police Station fdr | 162 | 8908 | 8 | 9 | 9 |  | 192 | 246 | 260 | 422
88-SS-550 (New) | 88-SS-1710 | XXX |  | 36 | 40 | 35 | 11.1
| TX-1 | 582 | 5672080 | 28 | 26 | 30 |  | 714 | 690 | 789 | 441 | 2024-04-30
| TX-2 | 559 | 4283918 | 26 | 25 | 26 |  | 625 | 680 | 705 |  | 10.31Hrs
| DTS # 02 | 1841 | 5971557 | 89 | 90 | 88

## 10)RING #10
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET | [10 empty] | MAY - 2024 |  |  | PAGE 10 OF 19
RING # 10 (DTS # 01 PNO: A130 & A140)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| QPAA 88-SS-0015 | DTS # 01 | 2.4MW | 210954 | 119 | 123 | 118 | 11 | XXX |  |  |  | 01/05/2024 09.30Hrs
|  | 88-TR0015-01 | 310 | 17537 | 18 | 19 | 18 |  | 360 | 330 | 325 | 415
|  | 88-TR0015-02 | 408 | 15819 | 23 | 25 | 23 |  | 647 | 620 | 618 | 415
|  | 88-SS-0020 | XXX |  | 71 | 71 | 70 |  | XXX
|  | Desal Plant | 117 | 8107 | 6 | 0 | 0 |  | XXX
|  | DWS Feeder | 368 | 21957 | 9 | 10 | 10 |  | XXX
| QPAA 88-SS-0020 | 88-SS-0015 | XXX |  | 82 | 82 | 80 | 11.1 | XXX
|  | 88-TR-0020-01 | 233 | 19304 | 4 | 4 | 0 |  | 120 | 90 | 92 | 426 | 01/05/2024 9:40Hrs
|  | 88-TR-0020-02 | 202 | 21468 | 10 | 10 | 10 |  | 307 | 265 | 284 | 425
|  | IT (86T-SS-8601) | XXX |  | 66 | 64 | 65 |  | XXX
| IT S/S (86T-SS-8601) | 88-SS-0020 | XXX |  | 57 | 57 | 57 | 11.15 | XXX
|  | 86T-TR-8601-01 | 722 | 42785179 | 41 | 40 | 40 |  | 1090 | 1030 | 1070 | 428 | 02/05/2024 08.30Hrs
|  | 86T-TR-8601-02 | 623 | 29402345 | 18 | 19 | 19 |  | 520 | 503 | 510 | 432
|  | HQ (DOMB) | XXX |  | 2 | 2 | 2 |  | XXX
| HQ (DOMB) | IT (86T-SS-8601) | XXX |  | 1 | 2 | 1 | 11.17 | XXX
|  | 88-TR002-01 | 508 | 4689 | 15 | 15 | 15 |  | 407 | 399 | 385 | 426 | 01/05/2024 10:00Hrs
|  | 88-TR002-02 | 620 | 1164 | 21 | 21 | 21 |  | 558 | 577 | 559 | 425
|  | 88-TR002-03 | 262 | 3414 | 12 | 12 | 12 |  | 302 | 284 | 277 | 428
|  | 88-TR002-04 | 427 | 394 | 21 | 20 | 20 |  | 499 | 528 | 547 | 425
|  | DTS # 01 | 1335 | 54139 | 67 | 68 | 68 |  | XXX

## 11)RING #11
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
| MAXIMUM DEMAND RECORDING SHEET | [10 empty] | MAY - 2024 | PAGE 11 OF 19
RING # 11 (DTS # 01 PNO: A150 & A160)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-9310 | DTS # 01 | 1078 | 2650249 | 41 | 46 | 45 | 11.18 | XXX
|  | 88-TR-9310-01 | 236 | 3906802 | 8 | 8 | 8 |  | 231 | 219 | 219 | 444 | 2024-04-30
|  | 88-TR-9310-02 | 222 | 2863248 | 8 | 9 | 9 |  | 223 | 223 | 219 |  | 10.44Hrs
|  | 88-SS-2010 | XXX |  | 23 | 28 | 28 |  | XXX
| 88-SS-2010 | 88-SS-9310 | XXX |  | 22 | 25 | 25 | 11.1 | XXX
|  | 88-TR-2010-01 | 333 | 25952 | 9 | 11 | 10 |  | 303 | 367 | 187 | 432 | 2024-04-30
|  | 88-TR-2010-02 | 369 | 25980 | 13 | 14 | 15 |  | 354 | 379 | 343 |  | 10.36Hrs
|  | 88-SS-2020 | XXX |  | OFF |  |  |  | XXX
| 88-SS-2020 | 88-SS-2010 | XXX |  | 0 | 0 | 0 | 11.1 | XXX
|  | 88-TR-2020-01 | 323 | 26323 | 11 | 13 | 14 |  | 368 | 386 | 297 | 433 | 2024-04-30
|  | 88-TR-2020-02 | 363 | 28100 | 10 | 12 | 12 |  | 310 | 407 | 280 |  | 10.51Hrs
|  | DTS # 01 | 648 | 54349 | 22 | 26 | 22 |  | XXX

## 12)RING #12
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [6 empty] | MAY - 2024 |  |  | PAGE 12 OF 19
RING # 12 (DTS # 02 PNO: A130 & A140)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-9110 (S/S # N1) | DTS # 02 | 517 | 7424814 | 20 | 30 | 26 | 11.14 | XXX
|  | 88-TR-9110-01 | 255 | 1592100 | 10 | 13 | 11 |  | 260 | 390 | 240 | 442 | 2024-04-29
|  | 88-TR-9110-02 | 270 | 2369732 | 11 | 16 | 14 |  | 315 | 539 | 250 |  | 11.17Hrs
|  | 88-SS-9120 | XXX |  | 0 | 0 | 0
| 88-SS-9120 (S/S # N2) | 88-SS-9110 | XXX |  | 0FF |  |  | 11.2 | XXX
|  | 88-TR-9120-01 | 199 | 7735635 | 8 | 8 | 8 |  | 140 | 260 | 205 | 444 | 2024-04-29
|  | 88-TR-9120-02 | 191 | 5816894 | 10 | 8 | 9 |  | 130 | 256 | 190 |  | 10.10Hrs
|  | DTS # 02 | 378 | 9999658 | 21 | 17 | 19 |  | XXX

## 13)RING #14
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [7 empty] | MAY - 2024 |  | PAGE 13 OF 19
RING # 14 (DTS # 02 PNO: A170 & A180)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| New Contractor | DTS # 02 | 292 | 6218283 | 14 | 16 | 15 | 11.15 | XXX |  |  |  | 29/04/2024 10.55Hrs
|  | TX-1 | 118 | 5079133 | 7 | 7 | 7 |  | 197 | 187 | 165 | 442
|  | TX-2 | 207 | 7830953 | 8 | 8 | 7 |  | 252 | 195 | 179 | 442
|  | North Gate | XXX |  | OFF
| NEW NORTH GATE | Contractor | XXX |  | 0 | 0 | 0 | 11.17 | 0 |  |  |  | 29/04/2024 13.30Hrs
|  | TX-1 | 118 | 4013334 | 4 | 5 | 4 |  | 190 | 194 | 190 | 442
|  | TX-2 | 76 | 3102685 | 7 | 7 | 7 |  | 127 | 120 | 110
|  | Kathiyah Bypass | 54 | 3531162 | 2 | 2 | 1 |  | XXX
|  | Covenant | XXX |  | 12 | 13 | 12 |  | XXX
| New Covenant | 88-SS-450 | XXX |  | 12 | 12 | 11 | 11.15 | XXX |  |  |  | 29/04/2024 10.40Hrs
|  | TX-1 | 114 | 4119361 | 6 | 6 | 6 |  | 135 | 99 | 127 | 443
|  | TX-2 | 205 | 8737036 | 9 | 10 | 9 |  | 251 | 216 | 211
|  | DTS # 02 | 488 | 1155293 | 30 | 31 | 28

## 14)DTS #02 (hidden)
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [6 empty] | SEPTEMBER 2017 |  |  | PAGE 14 OF 18
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [MWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| DTS # 02 | Incomer # 01 | 5012 | 60095 MWH | 290 | 299 | 282 | 10.9 | XXX
|  | 88-TR-0981-01 | 0 | 54 MWH | 0 | 0 | 0 |  | 0 | 0 | 0 | 410 | 28/09/2017
|  | 88-TR-0981-02 | 0 | 318 MWH | 0 | 0 | 0 |  | 100 | 60 | 108 | 410 | 11:00 HRS
|  | Incomer # 02 | 4985 | 59715 MWH | 290 | 308 | 282 |  | XXX
|  | 11KV Ring # 1 (Pnl # A10) | 362 | 6139 MWH | 22 | 21 | 20 |  | XXX
|  | 11KV Ring # 1 (Pnl # A20) | 612 | 9613 MWH | 40 | 34 | 31 |  | XXX
|  | 11KV Ring # 2 (Pnl # A30) | 1842 | 18996 MWH | 107 | 112 | 109 |  | XXX
|  | 11KV Ring # 2 (Pnl # A40) | 386 | 14829 MWH | 24 | 24 | 24 |  | XXX
|  | 11KV Ring # 3 (Pnl # A50) | 359 | 5920 MWH | 18 | 20 | 21 |  | XXX
|  | 11KV Ring # 3 (Pnl # A60) | 1524 | 21698 MWH | 91 | 90 | 86 |  | XXX
|  | 11KV Ring # 6 (Pnl # A70) | 381 | 4836 MWH | 22 | 22 | 18 |  | XXX
|  | 11KV Ring # 6 (Pnl # A80) | 862 | 14019 MWH | 51 | 56 | 58 |  | XXX
|  | 11KV Ring # 9 (Pnl # A110) | 898 | 18128 MWH | 56 | 53 | 47 |  | XXX
|  | 11KV Ring # 9 (Pnl # A120) | 1481 | 13542 MWH | 88 | 91 | 86 |  | XXX
|  | 11KV Ring #12 (Pnl # A130) | 1303 | 2845 MWH | 74 | 79 | 81 |  | XXX
|  | 11KV Ring #12 (Pnl # A140) | 0 | 0 | 0 | 0 | 0 |  | XXX

## 17)DSFA
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [6 empty] | MAY - 2024 |  |  | PAGE 17 OF 19
DSFA
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [MWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-1100 | Incomer # 1 | 1.52MW | 76466 | 66 | 68 | 66 | 10.9 | XXX |  |  |  | 01/05/2024 13.30Hrs
|  | Ring Fdr # 1 | 865 | 41034 | 46 | 47 | 47 |  | XXX
|  | Al Hamla BH | 699 | 31572 | 29 | 30 | 28 |  | XXX
|  | Coastal RLSS | 35 | 1508 | 1 | 1 | 0 |  | XXX
|  | 88-TR-1100-01 | 25 | 2299 | 0 | 0 | 0 |  | 23 | 16 | 18 | 410
|  | 88-TR-1100-02 | 0 | 2.1 | 0 | 0 | 0 |  | 0 | 0 | 0
|  | Ring Fdr # 2 | 625 | 56398 | 33 | 33 | 31 |  | xxx
|  | Al Hamla RMU | 0 | 2.7 | 0 | 0 | 0 |  | XXX
|  | Incomer # 2 | 619 | 75522 | 32 | 31 | 30 |  | XXX
|  | 86E-TR-0001 | 191 | 49 | 0 | 0 | 0 |  | XXX
| 88-SS-1110 | 88-SS-1100 | XXX |  | 36 | 37 | 37 | 10.9 | XXX |  |  |  | 02/05/2024 13:00Hrs
|  | 88-TR-1110-01 | 162 | 283 | 3 | 3 | 3 |  | 12 | 11 | 10 | 412
|  | 88-TR-1110-02 | 114 | 6801 | 4 | 4 | 4 |  | 54 | 85 | 85
|  | 88-SS-1120 | XXX |  | 28 | 29 | 29 |  | XXX
| 88-SS-1120 | 88-SS-1110 | XXX |  | 32 | 33 | 32 | 10.9 | XXX |  |  |  | 02/05/2024 12.48Hrs
|  | 88-TR-1120-01 | 143 | 2311 | 6 | 6 | 5 |  | 169 | 146 | 146 | 410
|  | 88-TR-1120-02 | 88 | 1464 | 0 | 0 | 0 |  | 62 | 65 | 60
|  | 88-SS-1130 | XXX |  | 24 | 25 | 25
| 88-SS-1130 | 88-SS-1120 | XXX |  | 23 | 24 | 23 | 10.9 | XXX |  |  |  | 02/05/2024 12.40Hrs
|  | 88-TR-1130-01 | 87 | 2196 | 2 | 2 | 2 |  | 50 | 40 | 38 | 411
|  | 88-TR-1130-02 | 136 | 1843 | 2 | 2 | 2 |  | 50 | 60 | 55
|  | 88-SS-1140 | XXX |  | 17 | 18 | 18
|  | El Workshop Tx | 0 | 106 | 0 | 0 | 0 |  | XXX
| 88-SS-1140 | 88-SS-1130 | XXX |  | 22 | 22 | 23 | 10.9 | XXX |  |  |  | 01/05/2024 13.55Hrs
|  | 88-TR-1140-01 | 232 | 10708 | 13 | 13 | 13 |  | 390 | 360 | 315 | 408
|  | 88-TR-1140-02 | 155 | 7682 | 8 | 8 | 9 |  | 236 | 243 | 214
|  | 88-SS-0140 | XXX |  | off | off | off |  | XXX
| 88-SS-0140 | 88-SS-1140 | XXX |  | 0 | 0 | 0 | 10.9 | XXX |  |  |  | 01/05/2024 12.50Hrs
|  | 88-TR-0140-01 | 68 | 7176 | 3 | 3 | 3 |  | 69 | 63 | 63 | 414
|  | 88-TR-0140-02 | 28 | 5298 | 0 | 0 | 0 |  | 5 | 3 | 10
|  | 88-SS-0130 | XXX |  | 0 | 0 | 0
| 88-SS-0130 | 88-SS-0140 | XXX |  | 0 | 0 | 0 | 11 |  |  |  |  | 01/05/2024 13.10Hrs
|  | 88-TR-0130-01 | 28 | 4762 | 0 | 0 | 0 |  | 13 | 19 | 12 | 420
|  | 88-TR-0130-02 | 191 | 14837 | 10 | 10 | 10 |  | 270 | 275 | 205
|  | 88-SS-1160 | XXX |  | 13 | 14 | 14
| 88-SS-1160 | 88-SS-0130 | XXX |  | 12 | 13 | 13 | 11 | XXX |  |  |  | 02/05/2024 13.23Hrs
|  | 88-TR-1160-01 | 59 | 4755 | 0 | 0 | 0 |  | 12 | 14 | 17 | 412
|  | 88-SS-1150 | XXX |  | 13 | 13 | 14
| 88-SS-1150 | 88-SS-1160 | XXX |  | 12 | 12 | 12 | 10.9 | XXX |  |  |  | 02/05/2024 13.15Hrs
|  | 88-TR-1150-01 | 162 | 10056 | 7 | 8 | 7 |  | 240 | 207 | 189 | 411
|  | 88-TR-1150-02 | 220 | 11503 | 12 | 12 | 12 |  | 328 | 305 | 293
|  | 88-SS-1100 | XXX | XXX | 31 | 32 | 30 |  | XXX