## 1)RING #1
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 01 (DTS # 02 PNO: A10 & A20) | [9 empty] | NOVEMBER - 2024 |  |  | PAGE 1 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| Mosque | DTS # 02 | XXX |  | 8 | 8 | 8 | 10.9 | XXX
|  | TX-1 | 190 | 6046160 | 5 | - | 4 |  | 80 | 80 | 88 | 412 | 02/11/2024 08.20Hrs
|  | TX-2 | 140 | 1816200 | 4 | - | 4 |  | 92 | 88 | 76
|  | Fire Station | XXX |  | 0 | 0 | 0
| Fire Station | Mosque | XXX |  | OFF |  |  | 10.99 | XXX |  |  |  | 02/11/2024 9.00Hrs
|  | TX-1 | 326 | 1020 | 9 | 7 | 8 |  | 221 | 166 | 228 | 413
TX-2
|  | TX-2 | 178 | 3184 | 10 | 7 | 9 |  | 135 | 97 | 112
|  | Substation#N3 | XXX |  | 15 | 12 | 13
| Substation # N3 | Fire Station | XXX |  | 15 | 12 | 13 | 10.91 | XXX
|  | TX-1 | 30 | 1172319 | 2 | 2 | 2 |  | 20 | 20 | 20 | 429 | 02/11/2024 8.40Hrs
|  | TX-2 | 4 | 408241 | 0 | 0 | 0 |  | 0 | 0 | 0
|  | D-Type | XXX |  | 15 | 12 | 13 |  | XXX
| D-Type | Substation#N3 | XXX |  | 26 | 21 | 21 | 10.88 | XXX |  |  |  | 02/11/2024 9.20Hrs
|  | TX-1 | 110 | 11520 | 4 | - | 3 |  | 80 | 80 | 88 | 420
|  | TX-2 | 200 | 24490 | 8 | - | 6 |  | 78 | 76 | 80
|  | Kahrama PS | 0 | 3453300 | 0 | - | 0 |  | XXX
|  | DTS # 02 | XXX |  | 30 | 22 | 23 |  | XXX

## 2)RING #2
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 02 (DTS # 02 PNO: A30 & A40) | [9 empty] | NOVEMBER - 2024 |  |  | PAGE 2 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| Main Camp (New) | DTS # 02 | 134 | 3767689 | 5 | 6 | 5 | 10.9 | XXX
|  | TX-1 | 101 | 3690678 | 4 | 5 | 5 |  | 95 | 115 | 95 | 432 | 02/11/2024 08.30Hrs
|  | TX-2 | 35 | 1081238 | 1 | 1 | 1 |  | 0 | 0 | 0
|  | Escarpment | XXX |  | 0 | 0 | 0
| Escarpment | Main Camp New) | XXX |  | OFF |  |  | 10.9 | XXX
|  | TX-1 | 343 | 22521 | 15 | 15 | 14 |  | 408 | 383 | 447 | 422 | 02/11/2024 10.15Hrs
|  | TX-2 | 416 | 32320 | 16 | 15 | 16 |  | 364 | 371 | 380
|  | SS Bungalow | XXX |  | 31 | 31 | 30
| S.S.Bungalow | Escarpment | XXX |  | 32 | 36 | 34 | 10.9 | XXX
|  | TX-1 | 110 | 712000 | 4 | - | 4 |  | 120 | 124 | 130 | 408 | 02/11/2024 09.40Hrs
|  | TX-2 | 160 | 733220 | 4 | - | 4 |  | 140 | 132 | 126
|  | Supalite | XXX |  | 38 | 38 | 38
| Supalite | SS Bungalow | XXX |  |  |  |  | - | XXX
|  | TX-1 | 252 | 33972567 | XXX |  |  |  | 185 | 200 | 227 | 406 | 02/11/2024 09.30Hrs
|  | TX-2 | 243 | 32629222 | XXX |  |  |  | 178 | 201 | 216
|  | DTS # 02 | XXX | [5 empty] | XXX

## 3)RING #3
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 03 (DTS # 02 PNO: A50 & A60) | [9 empty] | NOVEMBER - 2024 |  |  | PAGE 3 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| Hospital | DTS # 02 | 762 | 80686 | 31 | 30 | 29 | 10.88 | XXX
|  | TX-1 | 303 | 627 | 10 | 10 | 8 |  | 304 | 230 | 245 | 411 | 2024-11-03
|  | TX-2 | 215 | 4159 | 4 | 4 | 4 |  | 112 | 115 | 117 |  | 01.40Hrs
|  | New Cinema | XXX |  | 19 | 18 | 19 |  | XXX
| New Cinema | Hospital | XXX |  | 17 | 18 | 18 | 10.82 | XXX
|  | TX-1 | 237 | 7421310 | 12 | 13 | 13 |  | 364 | 370 | 359 | 428 | 2024-11-03
|  | TX-2 | 141 | 4037559 | 5 | 5 | 5 |  | 127 | 122 | 120 | 428 | 02.05Hrs
|  | New M.R.Club | XXX |  | 0 | 0 | 0 |  | XXX
| New M.R. Club | New Cinema | XXX |  | OFF |  |  | 10.81 | XXX
|  | TX-1 | 550 | 4479877 | 27 | 27 | 25 |  | 715 | 563 | 595 | 429 | 2024-11-03
|  | TX-2 | 622 | 7404173 | 22 | 21 | 21 |  | 611 | 463 | 543 | 429 | 01.55Hrs
|  | DTS # 2 | 1123 | 862397 | 52 | 52 | 49 |  | XXX

## 4)RING #4
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 04 (DTS # 01 PNO: A30 & A40) | [9 empty] | NOVEMBER- 2024 |  |  | PAGE 4 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| F/Ball Pitch | DTS # 01 | 240 | 68841100 | 6 | - | 7 | 11.08 | XXX
|  | TX-1 | 140 | 588270 | 4 | - | 4 |  | 105 | 119 | 91 | 410 | 2024-11-03
|  | TX-2 | 120 | 5452710 | 1 | - | 2 |  | 42 | 40 | 42 |  | 01.25Hrs
|  | Dk-5 | XXX |  | OFF
| DK-5 | Football Pitch | XXX |  | 0 | 0 | 0 | 11.02 | XXX
|  | TX-1 | 160 | 9516650 | 4 | - | 4 |  | 154 | 133 | 133 | 408 | 2024-11-03
|  | TX-2 | 180 | 195840 | 4 | - | 4 |  | 70 | 91 | 119 |  | 01.07Hrs
|  | DTS # 01 | XXX |  | 10 | 11 | 10 |  | XXX

## 5)RING #5
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 05 (DTS # 01 PNO: A50 & A60) | [9 empty] | NOVEMBER - 2024 |  |  | PAGE 5 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| Dk5 Bungalows | DTS # 01 | 108 | 1327 | 11 | 10 | 10 | 11.08 | XXX
|  | TX-1 | 105 | 9087 | 3 | 3 | 3 |  | 69 | 76 | 83 | 412 | 2024-11-04
|  | TX-2 | 248 | 3815 | 8 | 6 | 6 |  | 227 | 163 | 171 |  | 01.35Hrs
|  | SS # 815 | XXX |  | OFF | OFF | OFF |  | XXX
| S/S # 815 | DK-5 Bunglow | XXX |  | 0 | 0 | 0 | 11 | XXX
|  | TX-1 | 301 | 22004 | 8 | 9 | 8 |  | 232 | 280 | 200 | 422 | 2024-11-04
|  | TX-2 | 128 | 12269 | 0 | 0 | 0 |  | 96 | 92 | 100 |  | 01.29Hrs
|  | DTS # 01 | 405 | 66437 | 12 | 12 | 13 |  | XXX

## 6)RING #6
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
| MAXIMUM DEMAND RECORDING SHEET PAGE: 6 OF 19 | [10 empty] | NOVEMBER- 2024 |  | PAGE 6 OF 19
RING # 06 (DTS # 02 PNO: A70 & A80)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| WORK SHOP | DTS # 02 | XXX | XXX | 10 | 10 | 10 | 11.02 | XXX
|  | TX-1 | 55 | 7869 | 1 | 1 | 1 |  | 8 | 10 | 8 | 418 | 2024-11-09
|  | TX-2 | 55 | 7850 | 1 | 1 | 1 |  | 10 | 10 | 10 |  | 14.05Hrs
|  | North Coast | XXX |  | 14 | 15 | 12
| North Coast | Work Shop | XXX |  | 14 | 15 | 13 | 10.9
|  | TX-1 | 216 | 15772 | 6 | 7 | 5 |  | 240 | 144 | 144 | 418 | 2024-11-09
|  | TX-2 | 170 | 15099 | 7 | 7 | 5 |  | 256 | 144 | 112 |  | 13.35Hrs
|  | Zone #3 | XXX |  | OFF
| ZONE # 3 | North Coast | XXX |  | 0 | 0 | 0 | 11 | XXX
|  | TX-1 | 239 | 3964 | 9 | 9 | 10 |  | 264 | 200 | 206 | 424 | 2024-11-09
|  | TX-2 | 230 | 3406 | 10 | 10 | 10 |  | 240 | 208 | 208 |  | 13.35Hrs
|  | SS Mess | XXX |  | 18 | 18 | 18
| SS MESS | Zone #3 | XXX |  | 10 | 8 | 10 | 10.9 | XXX
|  | TX-1 | 300 | 4657620 | 12 | - | 13 |  | 386 | 392 | 392 | 416 | 2024-11-09
|  | TX-2 | 300 | 5147640 | 13 | - | 13 |  | 386 | 390 | 392 |  | 13.55Hrs
|  | DTS # 02 | XXX | XXX | 35 | 35 | 35 |  | 392

## 7)RING #7
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [6 empty] | NOVEMBER - 2024 |  |  | PAGE 7 OF 19
RING # 07 (DTS # 01 PNO: A70 & A80)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-1310 | DTS # 01 | 994 | 75447 | 43 | 42 | 39 | 11 | XXX
|  | TX-1 | 361 | 18793 | 15 | 16 | 13 |  | 500 | 380 | 284 | 422 | 2024-11-04
|  | TX-2 | 463 | 20089 | 19 | 18 | 18 |  | 532 | 496 | 540 |  | 01.25Hrs
|  | S/S # 1320 | XXX |  | 0 | 0 | 0
| 88-SS-1320 | S/S # 1310 | XXX |  | 0 | 0 | 0 | 11 | XXX
|  | TX-1 | 197 | 6679 | 7 | 6 | 6 |  | 245 | 170 | 195 | 423 | 2024-11-04
|  | TX-2 | 152 | 13019 | 0 | 0 | 0 |  | 55 | 0 | 65 |  | 01.15Hrs
|  | S/S # 1420 | XXX |  | 0 | 0 | 0 |  | XXX
| 88-SS-1420 | S/S # 1320 | XXX |  | OFF |  |  | 11 | XXX
|  | TX-1 | 439 | 19723 | 14 | 12 | 13 |  | 350 | 315 | 318 | 422 | 2024-11-04
|  | TX-2 | 264 | 12610 | 8 | 6 | 6 |  | 160 | 130 | 235 |  | 01.08Hrs
|  | S/S # 1410 | XXX |  | 21 | 18 | 19
| 88-SS-1410 | S/S # 1420 | XXX |  | 17 | 14 | 15 | 11 | XXX
|  | TX-1 | 339 | 18428 | 7 | 7 | 7 |  | 204 | 184 | 108 | 422 | 2024-11-04
|  | TX-2 | 141 | 10865 | 0 | 4 | 0 |  | 108 | 104 | 40 |  | 12.50Hrs
|  | DTS # 01 | 954 | 62200 | 27 | 25 | 23 |  | XXX

## 8)RING #8
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET JULY-2019 PAGE:8 OF 19 | [11 empty] | NOVEMBER -2024 |  | PAGE 8 OF 19
RING # 08 (DTS # 01 PNO: A110 & A120)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-1510 | DTS # 01 | 815 | 143079 | 24 | 27 | 25 | 11 | XXX
|  | TX-1 | 125 | 32282 | 4 | 4 | 4 |  | 130 | 115 | 85 | 422 | 2024-11-04
|  | TX-2 | 300 | 42386 | 9 | 10 | 10 |  | 250 | 295 | 215 |  | 01.50Hrs
|  | S/S # 1520 | XXX |  | 0 | 12 | 0 |  | XXX
| 88-SS-1520 | S/S # 1510 | XXX |  | 0 | 0 | 0 | 11 | XXX
|  | TX-1 | 194 | 37787 | 5 | 5 | 4 |  | 135 | 130 | 120 | 422 | 2024-11-04
|  | TX-2 | 251 | 31301 | 7 | 7 | 6 |  | 195 | 180 | 165 |  | 01.55Hrs
|  | S/S # 1610 | XXX |  | OFF |  |  |  | XXX
| 88-SS-1610 | S/S # 1520 | XXX |  | 0 | 0 | 0 | 11 | XXX
|  | TX-1 | 253 | 34724 | 9 | 9 | 9 |  | 210 | 260 | 215 | 423 | 2024-11-04
|  | TX-2 | 225 | 20437 | 4 | 5 | 5 |  | 105 | 135 | 130 |  | 02.05Hrs
|  | DTS # 01 | 428 | 60312 | 12 | 12 | 13 |  | XXX

## 9)RING #9
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET | [10 empty] | NOVEMBER - 2024 |  | PAGE 9 OF 19
RING # 09 (DTS # 02 PNO: A110 & A120)
Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
88-SS-1805 | DTS # 02 | 889 | 78213 | 32 | 27 | 28 | 10.9 | XXX
| TX-1 | 302 | 28657 | 11 | 8 | 9 |  | 299 | 216 | 319 | 425 | 2024-11-09
| TX-2 | 359 | 25418 | 0 | 0 | 0 |  | 262 | 247 | 300 |  | 12.45Hrs
| 88-SS-1810 | XXX |  | 0 | 0 | 0 |  | XXX
88-SS-1810 | 88-SS-1805 | XXX |  | 5 | 5 | 4 | 10.9 | XXX
| TX-1 | 158 | 12749 | 5 | 5 | 4 |  | 184 | 100 | 112 | 419 | 2024-11-09
| TX-2 | 145 | 10649 | 5 | 4 | 0 |  | 168 | 48 | 104 |  | 13.00Hrs
| 88-SS-1710 | XXX |  | OFF |  |  |  | XXX
88-SS-1710 | 88-SS-1810 | XXX |  | 0 | 0 | 0 | 10.9 | XXX |  |  |  | 09/11/2024 10.57Hrs
| TX-1 | 189 | 19095 | 4 | 5 | 4 |  | 125 | 125 | 100 | 418
| TX-2 | 146 | 13701 | 4 | 5 | 5 |  | 120 | 125 | 105 | 417
| TX-3 | 196 | 16272 | 9 | 10 | 8 |  | 280 | 220 | 185 | 418
| TX-4 | 241 | 26867 | 12 | 13 | 12 |  | 325 | 325 | 255 | 416
| 88-SS-550 (New) | XXX |  | 35 | 39 | 36 |  | XXX
| Police Station fdr | 178 | 9625 | 8 | 9 | 10 |  | 189 | 198 | 228 | 422
88-SS-550 (New) | 88-SS-1710 | XXX |  | 40 | 43 | 39 | 10.94
| TX-1 | 735 | 8358009 | 27 | 26 | 28 |  | 705 | 630 | 779 | 436 | 2024-11-09
| TX-2 | 662 | 6450006 | 20 | 20 | 22 |  | 555 | 565 | 580 |  | 12.55Hrs
| DTS # 02 | 2151 | 4132138 | 86 | 90 | 90

## 10)RING #10
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET | [10 empty] | NOVEMBER - 2024 |  |  | PAGE 10 OF 19
RING # 10 (DTS # 01 PNO: A130 & A140)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| QPAA 88-SS-0015 | DTS # 01 | 2.07MW | 221329 | 122 | 125 | 123 | 11 | XXX |  |  |  | 09/11/2024 10.30Hrs
|  | 88-TR0015-01 | 359 | 18821 | 12 | 12 | 12 |  | 316 | 346 | 282 | 414
|  | 88-TR0015-02 | 490 | 17357 | 17 | 18 | 18 |  | 398 | 374 | 346 | 414
|  | 88-SS-0020 | XXX |  | 78 | 77 | 77 |  | XXX
|  | Desal Plant | 1.19MW | 8561 | 0 | 0 | 0 |  | XXX
|  | DWS Feeder | 398 | 23338 | 16 | 17 | 17 |  | XXX
| QPAA 88-SS-0020 | 88-SS-0015 | XXX |  | 74 | 73 | 72 | 11 | XXX
|  | 88-TR-0020-01 | 269 | 20179 | 12 | 12 | 12 |  | 322 | 322 | 315 | 420 | 09/11/2024 10.24Hrs
|  | 88-TR-0020-02 | 257 | 22071 | 4 | 4 | 0 |  | 126 | 82 | 87 | 422
|  | IT (86T-SS-8601) | XXX |  | 58 | 56 | 56 |  | XXX
| IT S/S (86T-SS-8601) | 88-SS-0020 | XXX |  | 69 | 68 | 68 | 11.06 | XXX
|  | 86T-TR-8601-01 | 590 | 45430177 | 47 | 46 | 46 |  | 882 | 827 | 869 | 427 | 09/11/2024 10.11Hrs
|  | 86T-TR-8601-02 | 602 | 31500079 | 23 | 23 | 23 |  | 694 | 669 | 679 | 428
|  | HQ (DOMB) | XXX |  | 2 | 2 | 2 |  | XXX
| HQ (DOMB) | IT (86T-SS-8601) | XXX |  |  | OFF |  | 10.94 | XXX
|  | 88-TR002-01 | 594 | 5922 | 7 | 7 | 7 |  | 198 | 185 | 181 | 420 | 09/11/2024 09.55Hrs
|  | 88-TR002-02 | 825 | 2937 | 21 | 21 | 21 |  | 547 | 564 | 554 | 416
|  | 88-TR002-03 | 286 | 4307 | 8 | 7 | 7 |  | 208 | 179 | 202 | 419
|  | 88-TR002-04 | 434 | 1891 | 18 | 17 | 18 |  | 411 | 433 | 493 | 418
|  | DTS # 01 | 1890 | 59570 | 53 | 53 | 53 |  | XXX

## 11)RING #11
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
| MAXIMUM DEMAND RECORDING SHEET | [10 empty] | NOVEMBER - 2024 | PAGE 11 OF 19
RING # 11 (DTS # 01 PNO: A150 & A160)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-9310 | DTS # 01 | 1223 | 7353328 | 44 | 45 | 47 | 11 | XXX
|  | 88-TR-9310-01 | 327 | 4922291 | 8 | 8 | 8 |  | 251 | 223 | 233 | 441 | 2024-11-05
|  | 88-TR-9310-02 | 268 | 3562094 | 10 | 10 | 10 |  | 219 | 216 | 211 |  | 13.30Hrs
|  | 88-SS-2010 | XXX |  | 26 | 28 | 28 |  | XXX
| 88-SS-2010 | 88-SS-9310 | XXX |  | 28 | 28 | 29 | 11 | XXX
|  | 88-TR-2010-01 | 401 | 27308 | 14 | 15 | 15 |  | 266 | 336 | 341 | 428 | 2024-11-05
|  | 88-TR-2010-02 | 411 | 27586 | 13 | 13 | 12 |  | 335 | 336 | 364 |  | 13.40Hrs
|  | 88-SS-2020 | XXX |  | OFF |  |  |  | XXX
| 88-SS-2020 | 88-SS-2010 | XXX |  | 0 | 0 | 0 | 11 | XXX
|  | 88-TR-2020-01 | 380 | 27709 | 13 | 15 | 15 |  | 368 | 444 | 298 | 429 | 2024-11-05
|  | 88-TR-2020-02 | 408 | 29589 | 13 | 15 | 15 |  | 331 | 436 | 336 |  | 13.41Hrs
|  | DTS # 01 | 751 | 57215 | 26 | 29 | 31 |  | XXX

## 12)RING #12
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [6 empty] | NOVEMBER- 2024 |  |  | PAGE 12 OF 19
RING # 12 (DTS # 02 PNO: A130 & A140)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-9110 (S/S # N1) | DTS # 02 | 705 | 9973256 | 18 | 25 | 22 | 10.8 | XXX
|  | 88-TR-9110-01 | 362 | 2881990 | 8 | 13 | 11 |  | 235 | 410 | 220 | 431 | 2024-11-05
|  | 88-TR-9110-02 | 349 | 3634115 | 10 | 12 | 11 |  | 280 | 269 | 245 |  | 13.15Hrs
|  | 88-SS-9120 | XXX |  | 0 | 0 | 0
| 88-SS-9120 (S/S # N2) | 88-SS-9110 | XXX |  | 0FF |  |  | 10.8 | XXX
|  | 88-TR-9120-01 | 302 | 8797159 | 8 | 6 | 9 |  | 185 | 225 | 205 | 431 | 2024-11-05
|  | 88-TR-9120-02 | 268 | 6773640 | 9 | 9 | 10 |  | 260 | 265 | 305 |  | 13.02Hrs
|  | DTS # 02 | 546 | 2013383 | 20 | 20 | 21 |  | XXX

## 13)RING #14
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [7 empty] | NOVEMBER - 2024 |  | PAGE 13 OF 19
RING # 14 (DTS # 02 PNO: A170 & A180)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| New Contractor | DTS # 02 | 322 | 7569565 | 16 | 16 | 14 | 10.9 | XXX |  |  |  | 09/11/2024 13.15Hrs
|  | TX-1 | 152 | 5600989 | 6 | 7 | 6 |  | 205 | 160 | 130 | 436
|  | TX-2 | 200 | 8660382 | 10 | 9 | 8 |  | 255 | 140 | 225 | 436
|  | North Gate | XXX |  | OFF
| NEW NORTH GATE | Contractor | XXX |  | 0 | 0 | 0 | 10.9 | 0 |  |  |  | 09/11/2024 13.25Hrs
|  | TX-1 | 133 | 4457089 | 4 | 4 | 4 |  | 122 | 115 | 115 | 436
|  | TX-2 | 122 | 3478099 | 5 | 5 | 4 |  | 122 | 115 | 110
|  | Kathiyah Bypass | 57 | 3719765 | 1 | 1 | 1 |  | XXX
|  | Covenant | XXX |  | 10 | 9 | 9 |  | XXX
| New Covenant | 88-SS-450 | XXX |  | 10 | 10 | 9 | 10.9 | XXX |  |  |  | 09/11/2024 01.05Hrs
|  | TX-1 | 145 | 4611464 | 6 | 5 | 6 |  | 139 | 143 | 171 | 437
|  | TX-2 | 280 | 9840822 | 10 | 10 | 8 |  | 307 | 195 | 247
|  | DTS # 02 | 637 | 3757604 | 27 | 26 | 24

## 14)DTS #02 (hidden)
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [6 empty] | SEPTEMBER 2017 |  |  | PAGE 14 OF 18
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [MWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| DTS # 02 | Incomer # 01 | 5012 | 60095 MWH | 290 | 299 | 282 | 10.9 | XXX
|  | 88-TR-0981-01 | 0 | 54 MWH | 0 | 0 | 0 |  | 0 | 0 | 0 | 410 | 28/09/2017
|  | 88-TR-0981-02 | 0 | 318 MWH | 0 | 0 | 0 |  | 100 | 60 | 108 | 410 | 11:00 HRS
|  | Incomer # 02 | 4985 | 59715 MWH | 290 | 308 | 282 |  | XXX
|  | 11KV Ring # 1 (Pnl # A10) | 362 | 6139 MWH | 22 | 21 | 20 |  | XXX
|  | 11KV Ring # 1 (Pnl # A20) | 612 | 9613 MWH | 40 | 34 | 31 |  | XXX
|  | 11KV Ring # 2 (Pnl # A30) | 1842 | 18996 MWH | 107 | 112 | 109 |  | XXX
|  | 11KV Ring # 2 (Pnl # A40) | 386 | 14829 MWH | 24 | 24 | 24 |  | XXX
|  | 11KV Ring # 3 (Pnl # A50) | 359 | 5920 MWH | 18 | 20 | 21 |  | XXX
|  | 11KV Ring # 3 (Pnl # A60) | 1524 | 21698 MWH | 91 | 90 | 86 |  | XXX
|  | 11KV Ring # 6 (Pnl # A70) | 381 | 4836 MWH | 22 | 22 | 18 |  | XXX
|  | 11KV Ring # 6 (Pnl # A80) | 862 | 14019 MWH | 51 | 56 | 58 |  | XXX
|  | 11KV Ring # 9 (Pnl # A110) | 898 | 18128 MWH | 56 | 53 | 47 |  | XXX
|  | 11KV Ring # 9 (Pnl # A120) | 1481 | 13542 MWH | 88 | 91 | 86 |  | XXX
|  | 11KV Ring #12 (Pnl # A130) | 1303 | 2845 MWH | 74 | 79 | 81 |  | XXX
|  | 11KV Ring #12 (Pnl # A140) | 0 | 0 | 0 | 0 | 0 |  | XXX

## 17)DSFA
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [6 empty] | NOVEMBER- 2024 |  |  | PAGE 17 OF 19
DSFA
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [MWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-1100 | Incomer # 1 | 2.05MW | 81704 | 68 | 71 | 67 | 10.9 | XXX |  |  |  | 05/11/2024 1.05Hrs
|  | Ring Fdr # 1 | 1.43MW | 43452 | 36 | 37 | 39 |  | XXX
|  | Al Hamla BH | 782 | 34208 | 31 | 39 | 36 |  | XXX
|  | Coastal RLSS | 44 | 1601 | 1 | 1 | 1 |  | XXX
|  | 88-TR-1100-01 | 6 | 2384 | 0 | 0 | 0 |  | 20 | 16 | 28 | 415
|  | 88-TR-1100-02 | 0 | 2.1 | 0 | 0 | 0 |  | 0 | 0 | 0
|  | Ring Fdr # 2 | 689 | 58933 | 38 | 39 | 36 |  | xxx
|  | Al Hamla RMU | 0 | 2.7 | 0 | 0 | 0 |  | XXX
|  | Incomer # 2 | 689 | 78072 | 36 | 38 | 36 |  | XXX
|  | 86E-TR-0001 | 192 | 64 | 0 | 0 | 0 |  | XXX
| 88-SS-1110 | 88-SS-1100 | XXX |  | 37 | 34 | 36 | 10.9 | XXX |  |  |  | 05/11/2024 10.45Hrs
|  | 88-TR-1110-01 | 179 | 483 | 2 | 3 | 2 |  | 116 | 84 | 84 | 408
|  | 88-TR-1110-02 | 133 | 7129 | 4 | 4 | 4 |  | 118 | 138 | 86
|  | 88-SS-1120 | XXX |  | 28 | 29 | 27 |  | XXX
| 88-SS-1120 | 88-SS-1110 | XXX |  | 26 | 24 | 23 | 10.9 | XXX |  |  |  | 05/11/2024 10.35Hrs
|  | 88-TR-1120-01 | 109 | 2539 | 3 | 3 | 4 |  | 146 | 119 | 119 | 410
|  | 88-TR-1120-02 | 80 | 1566 | 0 | 0 | 0 |  | 50 | 46 | 48
|  | 88-SS-1130 | XXX |  | 21 | 20 | 23
| 88-SS-1130 | 88-SS-1120 | XXX |  | 26 | 23 | 26 | 10.9 | XXX |  |  |  | 05/11/2024 10.25Hrs
|  | 88-TR-1130-01 | 92 | 2378 | 2 | 0 | 2 |  | 80 | 78 | 82 | 410
|  | 88-TR-1130-02 | 152 | 2034 | 2 | 3 | 2 |  | 78 | 78 | 80
|  | 88-SS-1140 | XXX |  | 21 | 20 | 21
|  | El Workshop Tx | 0 | 113 | 0 | 0 | 0 |  | XXX
| 88-SS-1140 | 88-SS-1130 | XXX |  | 20 | 21 | 21 | 10.9 | XXX |  |  |  | 05/11/2024 10.15Hrs
|  | 88-TR-1140-01 | 227 | 11430 | 11 | 12 | 12 |  | 281 | 281 | 268 | 408
|  | 88-TR-1140-02 | 171 | 8147 | 8 | 8 | 8 |  | 225 | 224 | 207
|  | 88-SS-0140 | XXX |  | off | off | off |  | XXX
| 88-SS-0140 | 88-SS-1140 | XXX |  | 0 | 0 | 0 | 10.9 | XXX |  |  |  | 05/11/2024 01.25Hrs
|  | 88-TR-0140-01 | 68 | 7432 | 3 | 4 | 3 |  | 84 | 84 | 80 | 413
|  | 88-TR-0140-02 | 36 | 5362 | 0 | 0 | 0 |  | 10 | 8 | 10
|  | 88-SS-0130 | XXX |  | 4 | 4 | 4
| 88-SS-0130 | 88-SS-0140 | XXX |  | 4 | 4 | 4 | 10.9 |  |  |  |  | 05/11/2024 01.15Hrs
|  | 88-TR-0130-01 | 24 | 4825 | 0 | 0 | 0 |  | 12 | 10 | 12 | 413
|  | 88-TR-0130-02 | 228 | 15544 | 10 | 10 | 10 |  | 286 | 264 | 198
|  | 88-SS-1160 | XXX |  | 15 | 15 | 14
| 88-SS-1160 | 88-SS-0130 | XXX |  | 14 | 15 | 14 | 10.9 | XXX |  |  |  | 05/11/2024 13.40Hrs
|  | 88-TR-1160-01 | 65 | 4902 | 0 | 0 | 0 |  | 18 | 10 | 14 | 412
|  | 88-SS-1150 | XXX |  | 16 | 15 | 16
| 88-SS-1150 | 88-SS-1160 | XXX |  | 15 | 16 | 16 | 11 | XXX |  |  |  | 05/11/2024 13.35Hrs
|  | 88-TR-1150-01 | 357 | 10644 | 9 | 11 | 10 |  | 241 | 268 | 218 | 412
|  | 88-TR-1150-02 | 369 | 12220 | 13 | 13 | 12 |  | 349 | 293 | 305
|  | 88-SS-1100 | XXX | XXX | 39 | 37 | 39 |  | XXX