## 1)RING #1
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 01 (DTS # 02 PNO: A10 & A20) | [9 empty] | OCTOBER - 2024 |  |  | PAGE 1 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| Mosque | DTS # 02 | XXX |  | 8 | 8 | 8 | 10.94 | XXX
|  | TX-1 | 230 | 5938080 | 10 | - | 9 |  | 160 | 216 | 216 | 421 | 01/10/2024 10.21Hrs
|  | TX-2 | 170 | 1736840 | 7 | - | 7 |  | 160 | 200 | 200
|  | Fire Station | XXX |  | 0 | 0 | 0
| Fire Station | Mosque | XXX |  | OFF |  |  | 10.99 | XXX |  |  |  | 01/10/2024 10.40Hrs
|  | TX-1 | 360 | 870 | 16 | 12 | 15 |  | 412 | 239 | 529 | 414
TX-2
|  | TX-2 | 226 | 3104 | 10 | 7 | 9 |  | 281 | 134 | 289
|  | Substation#N3 | XXX |  | 25 | 18 | 21
| Substation # N3 | Fire Station | XXX |  | 25 | 18 | 21 | 10.91 | XXX
|  | TX-1 | 35 | 1154983 | 2 | 2 | 2 |  | 20 | 20 | 20 | 430 | 01/10/2024 12.58Hrs
|  | TX-2 | 2 | 405881 | 0 | 0 | 0 |  | 0 | 0 | 0
|  | D-Type | XXX |  | 30 | 23 | 25 |  | XXX
| D-Type | Substation#N3 | XXX |  | 28 | 24 | 24 | 10.88 | XXX |  |  |  | 01/10/2024 12.40Hrs
|  | TX-1 | 120 | 9955750 | 6 | - | 5 |  | 112 | 152 | 150 | 415
|  | TX-2 | 240 | 9914400 | 11 | - | 8 |  | 112 | 140 | 140
|  | Kahrama PS | 100 | 3453300 | 0 | - | 0 |  | XXX
|  | DTS # 02 | XXX |  | 32 | 24 | 24 |  | XXX

## 2)RING #2
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 02 (DTS # 02 PNO: A30 & A40) | [9 empty] | OCTOBER - 2024 |  |  | PAGE 2 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| Main Camp (New) | DTS # 02 | 844 | 3702866 | 7 | 7 | 6 | 10.86 | XXX
|  | TX-1 | 120 | 3641816 | 6 | 6 | 5 |  | 127 | 115 | 119 | 430 | 01/10/2024 09.40Hrs
|  | TX-2 | 38 | 1065018 | 2 | 2 | 1 |  | 0 | 0 | 0
|  | Escarpment | XXX |  | 0 | 0 | 0
| Escarpment | Main Camp New) | XXX |  | OFF |  |  | 10.8 | XXX
|  | TX-1 | 738 | 22377 | 18 | 19 | 17 |  | 507 | 452 | 447 | 416 | 01/10/2024 10.10Hrs
|  | TX-2 | 671 | 32131 | 17 | 18 | 17 |  | 484 | 447 | 442
|  | SS Bungalow | XXX |  | 36 | 37 | 35
| S.S.Bungalow | Escarpment | XXX |  | 36 | 37 | 35 | 10.9 | XXX
|  | TX-1 | 180 | 631940 | 6 | - | 7 |  | 140 | 158 | 164 | 407 | 01/10/2024 08.30Hrs
|  | TX-2 | 180 | 654940 | 6 | - | 7 |  | 140 | 160 | 164
|  | Supalite | XXX |  | 40 | 40 | 40
| Supalite | SS Bungalow | XXX |  |  |  |  | - | XXX
|  | TX-1 | 301 | 33849108 | XXX |  |  |  | 261 | 309 | 363 | 403 | 01/10/2024 07.55Hrs
|  | TX-2 | 291 | 32510524 | XXX |  |  |  | 279 | 305 | 367
|  | DTS # 02 | XXX | [5 empty] | XXX

## 3)RING #3
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 03 (DTS # 02 PNO: A50 & A60) | [9 empty] | OCTOBER - 2024 |  |  | PAGE 3 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| Hospital | DTS # 02 | 856 | 80400 | 34 | 35 | 33 | 11.03 | XXX
|  | TX-1 | 327 | 515 | 14 | 15 | 13 |  | 443 | 421 | 419 | 415 | 2024-10-06
|  | TX-2 | 214 | 4133 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 09.30Hrs
|  | New Cinema | XXX |  | 19 | 20 | 19 |  | XXX
| New Cinema | Hospital | XXX |  | 15 | 15 | 15 | 10.96 | XXX
|  | TX-1 | 307 | 7328119 | 9 | 9 | 9 |  | 242 | 232 | 235 | 435 | 2024-10-05
|  | TX-2 | 130 | 3978257 | 6 | 6 | 6 |  | 152 | 149 | 147 | 435 | 08.43Hrs
|  | New M.R.Club | XXX |  | 0 | 0 | 0 |  | XXX
| New M.R. Club | New Cinema | XXX |  | OFF |  |  | 10.92 | XXX
|  | TX-1 | 707 | 4237914 | 20 | 21 | 19 |  | 555 | 495 | 488 | 433 | 2024-10-06
|  | TX-2 | 822 | 7104672 | 25 | 24 | 22 |  | 811 | 608 | 727 | 433 | 09.45Hrs
|  | DTS # 2 | 1488 | 321227 | 45 | 45 | 41 |  | XXX

## 4)RING #4
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 04 (DTS # 01 PNO: A30 & A40) | [9 empty] | OCTOBER - 2024 |  |  | PAGE 4 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| F/Ball Pitch | DTS # 01 | 280 | 68731100 | 9 | - | 9 | 11 | XXX
|  | TX-1 | 160 | 522020 | 6 | - | 6 |  | 133 | 153 | 140 | 415 | 2024-10-05
|  | TX-2 | 120 | 5408990 | 4 | - | 3 |  | 91 | 84 | 91 |  | 09.00Hrs
|  | Dk-5 | XXX |  | OFF
| DK-5 | Football Pitch | XXX |  | 0 | 0 | 0 | 11 | XXX
|  | TX-1 | 220 | 9499010 | 7 | - | 5 |  | 260 | 294 | 121 | 405 | 2024-10-05
|  | TX-2 | 240 | 112440 | 7 | - | 6 |  | 154 | 196 | 217 |  | 09.15Hrs
|  | DTS # 01 | XXX |  | 11 | 13 | 11 |  | XXX

## 5)RING #5
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 05 (DTS # 01 PNO: A50 & A60) | [9 empty] | OCTOBER - 2024 |  |  | PAGE 5 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| Dk5 Bungalows | DTS # 01 | 162 | 1327 | 14 | 10 | 13 | 11.03 | XXX
|  | TX-1 | 125 | 9046 | 3 | 3 | 3 |  | 76 | 104 | 93 | 410 | 2024-10-05
|  | TX-2 | 295 | 3701 | 10 | 7 | 9 |  | 192 | 193 | 307 |  | 09.45Hrs
|  | SS # 815 | XXX |  | OFF | OFF | OFF |  | XXX
| S/S # 815 | DK-5 Bunglow | XXX |  | 0 | 0 | 0 | 11.1 | XXX
|  | TX-1 | 352 | 21858 | 11 | 13 | 11 |  | 348 | 340 | 268 | 420 | 2024-10-05
|  | TX-2 | 160 | 12212 | 5 | 5 | 4 |  | 140 | 120 | 120 |  | 09.25Hrs
|  | DTS # 01 | 478 | 66233 | 17 | 18 | 16 |  | XXX

## 6)RING #6
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
| MAXIMUM DEMAND RECORDING SHEET PAGE: 6 OF 19 | [10 empty] | OCTOBER- 2024 |  | PAGE 6 OF 19
RING # 06 (DTS # 02 PNO: A70 & A80)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| WORK SHOP | DTS # 02 | XXX | XXX | 12 | 12 | 12 | 10.89 | XXX
|  | TX-1 | 63 | 7857 | 2 | 2 | 2 |  | 41 | 41 | 56 | 420 | 2024-10-02
|  | TX-2 | 62 | 7839 | 2 | 2 | 2 |  | 44 | 42 | 66 |  | 09.35Hrs
|  | North Coast | XXX |  | 16 | 16 | 13
| North Coast | Work Shop | XXX |  | 16 | 18 | 15 | 10.9
|  | TX-1 | 238 | 15656 | 8 | 9 | 7 |  | 268 | 200 | 148 | 420 | 2024-10-02
|  | TX-2 | 204 | 14999 | 7 | 9 | 7 |  | 260 | 180 | 140 |  | 10.30Hrs
|  | Zone #3 | XXX |  | OFF
| ZONE # 3 | North Coast | XXX |  | 0 | 0 | 0 | 10.95 | XXX
|  | TX-1 | 255 | 3840 | 13 | 13 | 12 |  | 348 | 272 | 320 | 424 | 2024-10-02
|  | TX-2 | 246 | 3286 | 13 | 13 | 12 |  | 364 | 272 | 318 |  | 10.15Hrs
|  | SS Mess | XXX |  | 20 | 20 | 20
| SS MESS | Zone #3 | XXX |  | 12 | 9 | 12 | 10.91 | XXX
|  | TX-1 | 340 | 4467370 | 17 | - | 17 |  | 416 | 420 | 420 | 413 | 2024-10-02
|  | TX-2 | 340 | 4955680 | 17 | - | 17 |  | 416 | 420 | 420 |  | 09.55Hrs
|  | DTS # 02 | XXX | XXX | 48 | 48 | 48 |  | XXX

## 7)RING #7
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [6 empty] | OCTOBER - 2024 |  |  | PAGE 7 OF 19
RING # 07 (DTS # 01 PNO: A70 & A80)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-1310 | DTS # 01 | 1.29MW | 74894 | 45 | 40 | 41 | 11.1 | XXX
|  | TX-1 | 485 | 18597 | 14 | 12 | 12 |  | 388 | 260 | 408 | 425 | 2024-10-02
|  | TX-2 | 534 | 19874 | 23 | 20 | 21 |  | 548 | 532 | 600 |  | 08.10Hrs
|  | S/S # 1320 | XXX |  | 0 | 0 | 0
| 88-SS-1320 | S/S # 1310 | XXX |  | 0 | 0 | 0 | 11.1 | XXX
|  | TX-1 | 241 | 6570 | 8 | 7 | 8 |  | 250 | 225 | 240 | 426 | 2024-10-02
|  | TX-2 | 158 | 12986 | 0 | 0 | 0 |  | 0 | 50 | 70 |  | 08.35Hrs
|  | S/S # 1420 | XXX |  | 0 | 0 | 0 |  | XXX
| 88-SS-1420 | S/S # 1320 | XXX |  | OFF |  |  | 11.1 | XXX
|  | TX-1 | 522 | 19499 | 15 | 13 | 14 |  | 400 | 355 | 410 | 426 | 2024-10-02
|  | TX-2 | 211 | 12523 | 5 | 0 | 4 |  | 75 | 45 | 160 |  | 08.45Hrs
|  | S/S # 1410 | XXX |  | 20 | 16 | 19
| 88-SS-1410 | S/S # 1420 | XXX |  | 23 | 19 | 20 | 11.1 | XXX
|  | TX-1 | 321 | 18272 | 12 | 10 | 11 |  | 320 | 272 | 348 | 423 | 2024-10-02
|  | TX-2 | 160 | 10794 | 4 | 6 | 4 |  | 148 | 148 | 96 |  | 09.00Hrs
|  | DTS # 01 | 1.14MW | 61665 | 38 | 33 | 35 |  | XXX

## 8)RING #8
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET JULY-2019 PAGE:8 OF 19 | [11 empty] | OCTOBER -2024 |  | PAGE 8 OF 19
RING # 08 (DTS # 01 PNO: A110 & A120)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-1510 | DTS # 01 | 953 | 142623 | 36 | 40 | 36 | 11.1 | XXX
|  | TX-1 | 141 | 32217 | 5 | 6 | 6 |  | 135 | 175 | 110 | 427 | 2024-10-02
|  | TX-2 | 351 | 42224 | 13 | 14 | 14 |  | 355 | 365 | 255 |  | 13.00Hrs
|  | S/S # 1520 | XXX |  | 19 | 20 | 19 |  | XXX
| 88-SS-1520 | S/S # 1510 | XXX |  | 19 | 21 | 19 | 10.9 | XXX
|  | TX-1 | 232 | 37683 | 8 | 9 | 8 |  | 230 | 200 | 180 | 425 | 2024-10-02
|  | TX-2 | 290 | 31176 | 11 | 12 | 11 |  | 340 | 295 | 260 |  | 12.40Hrs
|  | S/S # 1610 | XXX |  | OFF |  |  |  | XXX
| 88-SS-1610 | S/S # 1520 | XXX |  | 0 | 0 | 0 | 11.1 | XXX
|  | TX-1 | 296 | 34584 | 12 | 11 | 11 |  | 350 | 360 | 330 | 422 | 2024-10-02
|  | TX-2 | 247 | 20338 | 7 | 8 | 8 |  | 250 | 180 | 195 |  | 13.15Hrs
|  | DTS # 01 | 501 | 60074 | 18 | 19 | 19 |  | XXX

## 9)RING #9
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET | [10 empty] | OCTOBER - 2024 |  | PAGE 9 OF 19
RING # 09 (DTS # 02 PNO: A110 & A120)
Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
88-SS-1805 | DTS # 02 | 1.10MW | 77684 | 44 | 41 | 41 | 10.9 | XXX
| TX-1 | 372 | 28493 | 15 | 13 | 14 |  | 416 | 304 | 442 | 423 | 2024-10-03
| TX-2 | 444 | 25214 | 13 | 15 | 15 |  | 345 | 480 | 342 |  | 10.10Hrs
| 88-SS-1810 | XXX |  | 16 | 12 | 0 |  | XXX
88-SS-1810 | 88-SS-1805 | XXX |  | 15 | 13 | 0 | 10.9 | XXX
| TX-1 | 188 | 12667 | 6 | 6 | 4 |  | 192 | 100 | 152 | 420 | 2024-10-03
| TX-2 | 171 | 10569 | 8 | 6 | 5 |  | 260 | 64 | 168 |  | 09.35Hrs
| 88-SS-1710 | XXX |  | OFF |  |  |  | XXX
88-SS-1710 | 88-SS-1810 | XXX |  | 0 | 0 | 0 | 10.9 | XXX |  |  |  | 03/10/2024 09.50Hrs
| TX-1 | 270 | 19017 | 6 | 6 | 6 |  | 230 | 205 | 175 | 416
| TX-2 | 180 | 13610 | 6 | 7 | 7 |  | 150 | 190 | 160 | 416
| TX-3 | 207 | 16167 | 9 | 10 | 9 |  | 320 | 255 | 215 | 416
| TX-4 | 297 | 26721 | 16 | 17 | 17 |  | 430 | 440 | 365 | 416
| 88-SS-550 (New) | XXX |  | 45 | 49 | 47 |  | XXX
| Police Station fdr | 203 | 9506 | 9 | 10 | 10 |  | 185 | 202 | 224 | 420
88-SS-550 (New) | 88-SS-1710 | XXX |  | 43 | 51 | 48 | 10.94
| TX-1 | 854 | 7915132 | 37 | 35 | 36 |  | 950 | 947 | 983 | 432 | 2024-10-03
| TX-2 | 820 | 6104396 | 34 | 33 | 35 |  | 935 | 895 | 895 |  | 10.25Hrs
| DTS # 02 | 2591 | 2803555 | 118 | 119 | 117

## 10)RING #10
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET | [10 empty] | OCTOBER - 2024 |  |  | PAGE 10 OF 19
RING # 10 (DTS # 01 PNO: A130 & A140)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| QPAA 88-SS-0015 | DTS # 01 | 3.08MW | 219505 | 160 | 165 | 162 | 11.1 | XXX |  |  |  | 03/10/2024 08.35Hrs
|  | 88-TR0015-01 | 430 | 18622 | 22 | 24 | 24 |  | 489 | 509 | 489 | 416
|  | 88-TR0015-02 | 538 | 17091 | 30 | 32 | 31 |  | 894 | 860 | 787 | 412
|  | 88-SS-0020 | XXX |  | 91 | 91 | 91 |  | XXX
|  | Desal Plant | 146 | 8479 | 6 | 0 | 0 |  | XXX
|  | DWS Feeder | 443 | 23114 | 17 | 18 | 18 |  | XXX
| QPAA 88-SS-0020 | 88-SS-0015 | XXX |  | 91 | 91 | 90 | 11.1 | XXX
|  | 88-TR-0020-01 | 322 | 20015 | 15 | 16 | 16 |  | 416 | 404 | 385 | 423 | 03/10/2024 07.40Hrs
|  | 88-TR-0020-02 | 327 | 22002 | 4 | 4 | 4 |  | 146 | 117 | 123 | 424
|  | IT (86T-SS-8601) | XXX |  | 72 | 71 | 71 |  | XXX
| IT S/S (86T-SS-8601) | 88-SS-0020 | XXX |  | 72 | 72 | 73 | 11.1 | XXX
|  | 86T-TR-8601-01 | 716 | 44946362 | 48 | 47 | 47 |  | 1244 | 1213 | 1238 | 425 | 03/10/2024 08.15Hrs
|  | 86T-TR-8601-02 | 762 | 31153688 | 26 | 27 | 27 |  | 708 | 694 | 677 | 425
|  | HQ (DOMB) | XXX |  | 2 | 2 | 2 |  | XXX
| HQ (DOMB) | IT (86T-SS-8601) | XXX |  |  | OFF |  | 11.1 | XXX
|  | 88-TR002-01 | 695 | 5710 | 30 | 30 | 30 |  | 787 | 788 | 790 | 421 | 03/10/2024 09.10Hrs
|  | 88-TR002-02 | 992 | 2679 | 11 | 11 | 11 |  | 298 | 299 | 291 | 424
|  | 88-TR002-03 | 279 | 4145 | 12 | 12 | 12 |  | 376 | 320 | 361 | 425
|  | 88-TR002-04 | 438 | 1607 | 21 | 20 | 19 |  | 498 | 509 | 489 | 424
|  | DTS # 01 | 1795 | 58652 | 73 | 73 | 73 |  | XXX

## 11)RING #11
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
| MAXIMUM DEMAND RECORDING SHEET | [10 empty] | OCTOBER - 2024 | PAGE 11 OF 19
RING # 11 (DTS # 01 PNO: A150 & A160)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-9310 | DTS # 01 | 1600 | 6742993 | 43 | 45 | 48 | 11.03 | XXX
|  | 88-TR-9310-01 | 452 | 4796813 | 10 | 10 | 10 |  | 276 | 263 | 263 | 437 | 2024-10-06
|  | 88-TR-9310-02 | 324 | 3467349 | 7 | 7 | 7 |  | 183 | 183 | 179 |  | 10.00Hrs
|  | 88-SS-2010 | XXX |  | 25 | 28 | 30 |  | XXX
| 88-SS-2010 | 88-SS-9310 | XXX |  | 25 | 29 | 33 | 11 | XXX
|  | 88-TR-2010-01 | 468 | 27128 | 11 | 14 | 15 |  | 263 | 451 | 291 | 426 | 2024-10-06
|  | 88-TR-2010-02 | 495 | 27379 | 14 | 15 | 17 |  | 326 | 497 | 437 |  | 10.10Hrs
|  | 88-SS-2020 | XXX |  | OFF |  |  |  | XXX
| 88-SS-2020 | 88-SS-2010 | XXX |  | 0 | 0 | 0 | 10.9 | XXX
|  | 88-TR-2020-01 | 467 | 27521 | 12 | 14 | 13 |  | 387 | 385 | 301 | 424 | 2024-10-06
|  | 88-TR-2020-02 | 472 | 29386 | 12 | 14 | 14 |  | 281 | 424 | 371 |  | 09.50Hrs
|  | DTS # 01 | 904 | 56825 | 26 | 30 | 29 |  | XXX

## 12)RING #12
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [6 empty] | OCTOBER- 2024 |  |  | PAGE 12 OF 19
RING # 12 (DTS # 02 PNO: A130 & A140)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-9110 (S/S # N1) | DTS # 02 | 878 | 9630994 | 26 | 40 | 36 | 10.99 | XXX
|  | 88-TR-9110-01 | 420 | 2704204 | 13 | 20 | 18 |  | 305 | 575 | 399 | 435 | 2024-10-03
|  | 88-TR-9110-02 | 477 | 3468787 | 12 | 21 | 19 |  | 380 | 610 | 280 |  | 01.05Hrs
|  | 88-SS-9120 | XXX |  | 0 | 0 | 0
| 88-SS-9120 (S/S # N2) | 88-SS-9110 | XXX |  | 0FF |  |  | 11.01 | XXX
|  | 88-TR-9120-01 | 370 | 8650178 | 18 | 14 | 16 |  | 470 | 320 | 485 | 426 | 2024-10-03
|  | 88-TR-9120-02 | 333 | 6647119 | 15 | 10 | 13 |  | 364 | 260 | 440 |  | 12.50Hrs
|  | DTS # 02 | 679 | 1740585 | 30 | 28 | 25 |  | XXX

## 13)RING #14
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [7 empty] | OCTOBER - 2024 |  | PAGE 13 OF 19
RING # 14 (DTS # 02 PNO: A170 & A180)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| New Contractor | DTS # 02 | 407 | 7383697 | 13 | 11 | 12 | 10.9 | XXX |  |  |  | 06/10/2024 08.20Hrs
|  | TX-1 | 173 | 5523760 | 5 | 5 | 5 |  | 149 | 105 | 127 | 432
|  | TX-2 | 254 | 8551777 | 7 | 5 | 7 |  | 157 | 155 | 212 | 432
|  | North Gate | XXX |  | OFF
| NEW NORTH GATE | Contractor | XXX |  | 0 | 0 | 0 | 10.89 | 0 |  |  |  | 06/10/2024 08.30Hrs
|  | TX-1 | 150 | 4397417 | 5 | 5 | 5 |  | 107 | 115 | 97 | 431
|  | TX-2 | 170 | 3427619 | 4 | 5 | 4 |  | 152 | 102 | 115
|  | Kathiyah Bypass | 66 | 3690447 | 1 | 1 | 1 |  | XXX
|  | Covenant | XXX |  | 10 | 11 | 10 |  | XXX
| New Covenant | 88-SS-450 | XXX |  | 9 | 9 | 8 | 10.9 | XXX |  |  |  | 06/10/2024 08.10Hrs
|  | TX-1 | 155 | 4541987 | 5 | 5 | 5 |  | 123 | 119 | 152 | 434
|  | TX-2 | 314 | 9690726 | 14 | 13 | 12 |  | 369 | 307 | 355
|  | DTS # 02 | 790 | 3398882 | 30 | 29 | 27

## 14)DTS #02 (hidden)
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [6 empty] | SEPTEMBER 2017 |  |  | PAGE 14 OF 18
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [MWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| DTS # 02 | Incomer # 01 | 5012 | 60095 MWH | 290 | 299 | 282 | 10.9 | XXX
|  | 88-TR-0981-01 | 0 | 54 MWH | 0 | 0 | 0 |  | 0 | 0 | 0 | 410 | 28/09/2017
|  | 88-TR-0981-02 | 0 | 318 MWH | 0 | 0 | 0 |  | 100 | 60 | 108 | 410 | 11:00 HRS
|  | Incomer # 02 | 4985 | 59715 MWH | 290 | 308 | 282 |  | XXX
|  | 11KV Ring # 1 (Pnl # A10) | 362 | 6139 MWH | 22 | 21 | 20 |  | XXX
|  | 11KV Ring # 1 (Pnl # A20) | 612 | 9613 MWH | 40 | 34 | 31 |  | XXX
|  | 11KV Ring # 2 (Pnl # A30) | 1842 | 18996 MWH | 107 | 112 | 109 |  | XXX
|  | 11KV Ring # 2 (Pnl # A40) | 386 | 14829 MWH | 24 | 24 | 24 |  | XXX
|  | 11KV Ring # 3 (Pnl # A50) | 359 | 5920 MWH | 18 | 20 | 21 |  | XXX
|  | 11KV Ring # 3 (Pnl # A60) | 1524 | 21698 MWH | 91 | 90 | 86 |  | XXX
|  | 11KV Ring # 6 (Pnl # A70) | 381 | 4836 MWH | 22 | 22 | 18 |  | XXX
|  | 11KV Ring # 6 (Pnl # A80) | 862 | 14019 MWH | 51 | 56 | 58 |  | XXX
|  | 11KV Ring # 9 (Pnl # A110) | 898 | 18128 MWH | 56 | 53 | 47 |  | XXX
|  | 11KV Ring # 9 (Pnl # A120) | 1481 | 13542 MWH | 88 | 91 | 86 |  | XXX
|  | 11KV Ring #12 (Pnl # A130) | 1303 | 2845 MWH | 74 | 79 | 81 |  | XXX
|  | 11KV Ring #12 (Pnl # A140) | 0 | 0 | 0 | 0 | 0 |  | XXX

## 17)DSFA
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [6 empty] | OCTOBER - 2024 |  |  | PAGE 17 OF 19
DSFA
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [MWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-1100 | Incomer # 1 | 1.83MW | 81022 | 76 | 76 | 77 | 11 | XXX |  |  |  | 08/10/2024 14.20Hrs
|  | Ring Fdr # 1 | 967 | 43164 | 38 | 40 | 39 |  | XXX
|  | Al Hamla BH | 999 | 33839 | 36 | 36 | 35 |  | XXX
|  | Coastal RLSS | 52 | 1588 | 1 | 1 | 1 |  | XXX
|  | 88-TR-1100-01 | 46 | 2374 | 0 | 0 | 0 |  | 22 | 15 | 30 | 417
|  | 88-TR-1100-02 | 0 | 2.1 | 0 | 0 | 0 |  | 0 | 0 | 0
|  | Ring Fdr # 2 | 734 | 58576 | 38 | 39 | 37 |  | xxx
|  | Al Hamla RMU | 0 | 2.7 | 0 | 0 | 0 |  | XXX
|  | Incomer # 2 | 731 | 77713 | 37 | 38 | 37 |  | XXX
|  | 86E-TR-0001 | 191 | 62 | 0 | 0 | 0 |  | XXX
| 88-SS-1110 | 88-SS-1100 | XXX |  | 44 | 46 | 44 | 10.9 | XXX |  |  |  | 08/10/2024 10.05Hrs
|  | 88-TR-1110-01 | 227 | 459 | 3 | 4 | 3 |  | 90 | 84 | 93 | 412
|  | 88-TR-1110-02 | 151 | 7089 | 5 | 5 | 5 |  | 119 | 146 | 84
|  | 88-SS-1120 | XXX |  | 36 | 36 | 36 |  | XXX
| 88-SS-1120 | 88-SS-1110 | XXX |  | 34 | 36 | 35 | 11 | XXX |  |  |  | 08/10/2024 13.17Hrs
|  | 88-TR-1120-01 | 122 | 2515 | 6 | 5 | 5 |  | 146 | 119 | 119 | 415
|  | 88-TR-1120-02 | 72 | 1555 | 3 | 3 | 3 |  | 50 | 48 | 50
|  | 88-SS-1130 | XXX |  | 28 | 28 | 28
| 88-SS-1130 | 88-SS-1120 | XXX |  | 30 | 29 | 33 | 11 | XXX |  |  |  | 08/10/2024 12.50Hrs
|  | 88-TR-1130-01 | 162 | 2356 | 4 | 4 | 3 |  | 82 | 80 | 84 | 415
|  | 88-TR-1130-02 | 107 | 2013 | 2 | 3 | 3 |  | 81 | 81 | 83
|  | 88-SS-1140 | XXX |  | 21 | 21 | 22
|  | El Workshop Tx | 0 | 111 | 0 | 0 | 0 |  | XXX
| 88-SS-1140 | 88-SS-1130 | XXX |  | 21 | 22 | 22 | 10.9 | XXX |  |  |  | 08/10/2024 10.45Hrs
|  | 88-TR-1140-01 | 259 | 11342 | 12 | 13 | 13 |  | 305 | 339 | 328 | 409
|  | 88-TR-1140-02 | 181 | 8091 | 9 | 9 | 9 |  | 224 | 207 | 224
|  | 88-SS-0140 | XXX |  | off | off | off |  | XXX
| 88-SS-0140 | 88-SS-1140 | XXX |  | 0 | 0 | 0 | 11.01 | XXX |  |  |  | 08/10/2024 14.05Hrs
|  | 88-TR-0140-01 | 76 | 7397 | 2 | 3 | 3 |  | 82 | 87 | 83 | 410
|  | 88-TR-0140-02 | 27 | 5352 | 0 | 0 | 0 |  | 11 | 9 | 13
|  | 88-SS-0130 | XXX |  | 0 | 0 | 0
| 88-SS-0130 | 88-SS-0140 | XXX |  | 0 | 0 | 0 | 11 |  |  |  |  | 08/10/2024 14.01Hrs
|  | 88-TR-0130-01 | 26 | 4816 | 0 | 0 | 0 |  | 13 | 12 | 14 | 412
|  | 88-TR-0130-02 | 257 | 15465 | 30 | 30 | 30 |  | 301 | 269 | 205
|  | 88-SS-1160 | XXX |  | 18 | 18 | 20
| 88-SS-1160 | 88-SS-0130 | XXX |  | 14 | 15 | 14 | 11 | XXX |  |  |  | 08/10/2024 09.45Hrs
|  | 88-TR-1160-01 | 72 | 4889 | 0 | 0 | 0 |  | 20 | 10 | 15 | 415
|  | 88-SS-1150 | XXX |  | 16 | 15 | 14
| 88-SS-1150 | 88-SS-1160 | XXX |  | 17 | 17 | 17 | 11 | XXX |  |  |  | 08/10/2024 13.30Hrs
|  | 88-TR-1150-01 | 202 | 10543 | 9 | 10 | 9 |  | 246 | 250 | 270 | 416
|  | 88-TR-1150-02 | 241 | 12114 | 11 | 11 | 11 |  | 305 | 281 | 305
|  | 88-SS-1100 | XXX | XXX | 39 | 40 | 39 |  | XXX