## 1)RING #1
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 01 (DTS # 02 PNO: A10 & A20) | [9 empty] | SEPTEMBER - 2024 |  |  | PAGE 1 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| Mosque | DTS # 02 | XXX |  | 12 | 12 | 12 | 10.9 | XXX
|  | TX-1 | 250 | 5799780 | 13 | - | 11 |  | 296 | 220 | 217 | 416 | 29/08/2024 10.10Hrs
|  | TX-2 | 180 | 1635350 | 9 | - | 8 |  | 296 | 220 | 208
|  | Fire Station | XXX |  | 0 | 0 | 0
| Fire Station | Mosque | XXX |  | OFF |  |  | 10.87 | XXX |  |  |  | 29/08/2024 09.27Hrs
|  | TX-1 | 377 | 661 | 18 | 13 | 15 |  | 432 | 261 | 470 | 411
TX-2
|  | TX-2 | 241 | 2996 | 10 | 7 | 8 |  | 241 | 176 | 283
|  | Substation#N3 | XXX |  | 28 | 20 | 23
| Substation # N3 | Fire Station | XXX |  | 28 | 20 | 23 | 10.84 | XXX
|  | TX-1 | 37 | 1133583 | 2 | 2 | 2 |  | 20 | 20 | 20 | 426 | 29/08/2024 08.40Hrs
|  | TX-2 | 2 | 404120 | 0 | 0 | 0 |  | 0 | 0 | 0
|  | D-Type | XXX |  | 30 | 22 | 25 |  | XXX
| D-Type | Substation#N3 | XXX |  | 20 | 18 | 20 | 10.8 | XXX |  |  |  | 29/08/2024 13.10Hrs
|  | TX-1 | 130 | 9884640 | 6 | - | 5 |  | 188 | 132 | 120 | 420
|  | TX-2 | 260 | 977388 | 12 | - | 10 |  | 184 | 132 | 132
|  | Kahrama PS | 100 | 3453290 | 0 | - | 0 |  | XXX
|  | DTS # 02 | XXX |  | 28 | 26 | 32 |  | XXX

## 2)RING #2
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 02 (DTS # 02 PNO: A30 & A40) | [9 empty] | SEPTEMBER - 2024 |  |  | PAGE 2 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| Main Camp (New) | DTS # 02 | 160 | 3624292 | 7 | 8 | 7 | 10.96 | XXX
|  | TX-1 | 126 | 3582677 | 6 | 7 | 6 |  | 167 | 143 | 134 | 436 | 31/08/2024 10.15Hrs
|  | TX-2 | 44 | 1046527 | 1 | 1 | 1 |  | 0 | 0 | 0
|  | Escarpment | XXX |  | 0 | 0 | 0
| Escarpment | Main Camp New) | XXX |  | OFF |  |  | 10.9 | XXX
|  | TX-1 | 453 | 22198 | 20 | 21 | 20 |  | 580 | 529 | 501 | 421 | 31/08/2024 09.44Hrs
|  | TX-2 | 490 | 31900 | 24 | 25 | 25 |  | 647 | 652 | 633
|  | SS Bungalow | XXX |  | 45 | 47 | 45
| S.S.Bungalow | Escarpment | XXX |  | 44 | 48 | 48 | 10.89 | XXX
|  | TX-1 | 200 | 538000 | 7 | - | 7 |  | 192 | 200 | 208 | 400 | 31/08/2024 09.30Hrs
|  | TX-2 | 200 | 562840 | 7 | - | 7 |  | 190 | 200 | 206
|  | Supalite | XXX |  | 32 | 32 | 32
| Supalite | SS Bungalow | XXX |  |  |  |  | - | XXX
|  | TX-1 | 323 | 33689811 | XXX |  |  |  | 327 | 355 | 389 | 406 | 31/08/2024 09.35Hrs
|  | TX-2 | 311 | 32357023 | XXX |  |  |  | 322 | 340 | 383
|  | DTS # 02 | XXX | [5 empty] | XXX

## 3)RING #3
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 03 (DTS # 02 PNO: A50 & A60) | [9 empty] | SEPTEMBER - 2024 |  |  | PAGE 3 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| Hospital | DTS # 02 | 880 | 79932 | 44 | 45 | 43 | 10.87 | XXX
|  | TX-1 | 365 | 343 | 16 | 18 | 16 |  | 391 | 291 | 326 | 411 | 2024-08-29
|  | TX-2 | 209 | 4092 | 2 | 2 | 2 |  | 57 | 61 | 61 |  | 08.20Hrs
|  | New Cinema | XXX |  | 24 | 24 | 24 |  | XXX
| New Cinema | Hospital | XXX |  | 23 | 24 | 24 | 10.81 | XXX
|  | TX-1 | 309 | 7166919 | 16 | 17 | 17 |  | 420 | 432 | 417 | 424 | 2024-08-29
|  | TX-2 | 175 | 3890874 | 7 | 8 | 8 |  | 202 | 92 | 187 | 428 | 08.08Hrs
|  | New M.R.Club | XXX |  | 0 | 0 | 0 |  | XXX
| New M.R. Club | New Cinema | XXX |  | OFF |  |  | 10.82 | XXX
|  | TX-1 | 708 | 3820579 | 32 | 33 | 32 |  | 867 | 832 | 785 | 428 | 2024-08-29
|  | TX-2 | 868 | 6608215 | 36 | 38 | 36 |  | 1007 | 963 | 888 | 428 | 08.25Hrs
|  | DTS # 2 | 1533 | 9407895 | 66 | 70 | 68 |  | XXX

## 4)RING #4
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 04 (DTS # 01 PNO: A30 & A40) | [9 empty] | SEPTEMBER - 2024 |  |  | PAGE 4 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| F/Ball Pitch | DTS # 01 | 240 | 68574900 | 11 | - | 11 | 11.13 | XXX
|  | TX-1 | 140 | 428480 | 7 | - | 7 |  | 147 | 156 | 206 | 418 | 2024-09-01
|  | TX-2 | 140 | 5346430 | 4 | - | 4 |  | 70 | 94 | 94 |  | 10:01Hrs
|  | Dk-5 | XXX |  | OFF
| DK-5 | Football Pitch | XXX |  | 0 | 0 | 0 | 11.13 | XXX
|  | TX-1 | 220 | 9374020 | 8 | - | 8 |  | 140 | 210 | 240 | 418 | 2024-09-01
|  | TX-2 | 260 | 9975330 | 9 | - | 8 |  | 310 | 256 | 256 |  | 09:48Hrs
|  | DTS # 01 | XXX |  | 12 | 12 | 12 |  | XXX

## 5)RING #5
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET
| RING # 05 (DTS # 01 PNO: A50 & A60) | [9 empty] | SEPTEMBER - 2024 |  |  | PAGE 5 OF 19
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| Dk5 Bungalows | DTS # 01 | 196 | 1327 | 17 | 13 | 15 | 11.17 | XXX
|  | TX-1 | 106 | 8986 | 4 | 3 | 4 |  | 54 | 89 | 135 | 415 | 2024-09-01
|  | TX-2 | 306 | 3532 | 14 | 11 | 11 |  | 312 | 213 | 404 |  | 09;10Hrs
|  | SS # 815 | XXX |  | OFF | OFF | OFF |  | XXX
| S/S # 815 | DK-5 Bunglow | XXX |  | 0 | 0 | 0 | 11.1 | XXX
|  | TX-1 | 161 | 21638 | 4 | 5 | 4 |  | 436 | 472 | 292 | 426 | 2024-09-01
|  | TX-2 | 398 | 12134 | 13 | 17 | 14 |  | 140 | 128 | 108 |  | 09:24Hrs
|  | DTS # 01 | 552 | 65935 | 18 | 22 | 19 |  | XXX

## 6)RING #6
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
| MAXIMUM DEMAND RECORDING SHEET PAGE: 6 OF 19 | [10 empty] | SEPTEMBER- 2024 |  | PAGE 6 OF 19
RING # 06 (DTS # 02 PNO: A70 & A80)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| WORK SHOP | DTS # 02 | XXX | XXX | 16 | 16 | 16 | 10.83 | XXX
|  | TX-1 | 66 | 7843 | 3 | 3 | 3 |  | 78 | 86 | 70 | 417 | 2024-09-01
|  | TX-2 | 65 | 7825 | 3 | 3 | 3 |  | 74 | 82 | 93 |  | 10.45Hrs
|  | North Coast | XXX |  | 20 | 20 | 14
| North Coast | Work Shop | XXX |  | 18 | 20 | 14 | 10.9
|  | TX-1 | 236 | 15536 | 8 | 8 | 6 |  | 280 | 208 | 160 | 415 | 2024-09-01
|  | TX-2 | 234 | 14895 | 10 | 11 | 6 |  | 356 | 164 | 168 |  | 10.20Hrs
|  | Zone #3 | XXX |  | OFF
| ZONE # 3 | North Coast | XXX |  | 0 | 0 | 0 | 10.9 | XXX
|  | TX-1 | 277 | 3716 | 12 | 11 | 12 |  | 328 | 264 | 275 | 420 | 2024-09-01
|  | TX-2 | 270 | 3166 | 12 | 11 | 10 |  | 310 | 278 | 278 |  | 10.10Hrs
|  | SS Mess | XXX |  | 14 | 14 | 15
| SS MESS | Zone #3 | XXX |  | 16 | 15 | 16 | 10.9 | XXX
|  | TX-1 | 330 | 4294510 | 14 | - | 15 |  | 414 | 438 | 376 | 417 | 2024-09-01
|  | TX-2 | 330 | 4781140 | 15 | - | 16 |  | 438 | 426 | 394 |  | 10.30Hrs
|  | DTS # 02 | XXX | XXX | 48 | 48 | 48 |  | XXX

## 7)RING #7
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [6 empty] | SEPTEMBER - 2024 |  |  | PAGE 7 OF 19
RING # 07 (DTS # 01 PNO: A70 & A80)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-1310 | DTS # 01 | 1.22MW | 74183 | 53 | 49 | 49 | 11 | XXX
|  | TX-1 | 522 | 18376 | 18 | 15 | 15 |  | 500 | 488 | 420 | 421 | 2024-08-29
|  | TX-2 | 532 | 19593 | 23 | 22 | 22 |  | 600 | 612 | 632 |  | 07.21Hrs
|  | S/S # 1320 | XXX |  | 12 | 0 | 0
| 88-SS-1320 | S/S # 1310 | XXX |  | 12 | 0 | 0 | 11 | XXX
|  | TX-1 | 259 | 6423 | 10 | 8 | 8 |  | 310 | 260 | 325 | 423 | 2024-08-29
|  | TX-2 | 74 | 12925 | 0 | 0 | 0 |  | 35 | 37 | 70 |  | 07.28Hrs
|  | S/S # 1420 | XXX |  | 0 | 0 | 0 |  | XXX
| 88-SS-1420 | S/S # 1320 | XXX |  | OFF |  |  | 11 | XXX
|  | TX-1 | 583 | 19178 | 21 | 19 | 22 |  | 480 | 550 | 605 | 422 | 2024-08-29
|  | TX-2 | 211 | 12418 | 9 | 7 | 8 |  | 210 | 190 | 255 |  | 07.40Hrs
|  | S/S # 1410 | XXX |  | 30 | 26 | 30
| 88-SS-1410 | S/S # 1420 | XXX |  | 28 | 22 | 22 | 11 | XXX
|  | TX-1 | 377 | 18082 | 13 | 13 | 13 |  | 364 | 332 | 328 | 420 | 2024-08-29
|  | TX-2 | 169 | 10702 | 7 | 8 | 7 |  | 200 | 196 | 152 |  | 07.50Hrs
|  | DTS # 01 | 1.19MW | 60961 | 46 | 43 | 45 |  | XXX

## 8)RING #8
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET JULY-2019 PAGE:8 OF 19 | [11 empty] | SEPTEMBER -2024 |  | PAGE 8 OF 19
RING # 08 (DTS # 01 PNO: A110 & A120)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-1510 | DTS # 01 | 1.02MW | 142010 | 42 | 46 | 43 | 11 | XXX
|  | TX-1 | 156 | 32133 | 5 | 7 | 6 |  | 160 | 200 | 135 | 422 | 2024-08-29
|  | TX-2 | 370 | 42012 | 13 | 14 | 13 |  | 335 | 370 | 350 |  | 08.28Hrs
|  | S/S # 1520 | XXX |  | 22 | 25 | 22 |  | XXX
| 88-SS-1520 | S/S # 1510 | XXX |  | 22 | 25 | 24 | 11 | XXX
|  | TX-1 | 257 | 37545 | 8 | 11 | 10 |  | 240 | 315 | 195 | 422 | 2024-08-29
|  | TX-2 | 293 | 31000 | 13 | 14 | 11 |  | 345 | 380 | 355 |  | 08.36Hrs
|  | S/S # 1610 | XXX |  | OFF |  |  |  | XXX
| 88-SS-1610 | S/S # 1520 | XXX |  | 0 | 0 | 0 | 11 | XXX
|  | TX-1 | 318 | 34406 | 13 | 13 | 13 |  | 350 | 360 | 330 | 422 | 2024-08-29
|  | TX-2 | 229 | 20214 | 8 | 9 | 7 |  | 250 | 180 | 195 |  | 08.45Hrs
|  | DTS # 01 | 525 | 59771 | 20 | 21 | 21 |  | XXX

## 9)RING #9
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET | [10 empty] | SEPTEMBER - 2024 |  | PAGE 9 OF 19
RING # 09 (DTS # 02 PNO: A110 & A120)
Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
88-SS-1805 | DTS # 02 | 2.59MW | 77051 | 56 | 55 | 49 | 10.8 | XXX
| TX-1 | 424 | 28291 | 17 | 19 | 18 |  | 465 | 474 | 464 | 420 | 2024-08-31
| TX-2 | 473 | 24976 | 23 | 23 | 21 |  | 566 | 657 | 471 |  | 08.45Hrs
| 88-SS-1810 | XXX |  | 16 | 13 | 0 |  | XXX
88-SS-1810 | 88-SS-1805 | XXX |  | 16 | 13 | 0 | 10.7 | XXX
| TX-1 | 199 | 12566 | 8 | 6 | 5 |  | 236 | 80 | 188 | 412 | 2024-08-31
| TX-2 | 176 | 10477 | 8 | 6 | 5 |  | 272 | 64 | 176 |  | 08.00Hrs
| 88-SS-1710 | XXX |  | OFF |  |  |  | XXX
88-SS-1710 | 88-SS-1810 | XXX |  | 0 | 0 | 0 | 10.8 | XXX
| TX-1 | 255 | 18926 | 8 | 9 | 8 |  | 270 | 260 | 225 | 412
| TX-2 | 194 | 13509 | 6 | 6 | 7 |  | 185 | 190 | 140 | 413 | 2024-08-31
| TX-3 | 217 | 16061 | 10 | 11 | 10 |  | 320 | 250 | 210 | 413 | 08.15Hrs
| TX-4 | 305 | 26563 | 11 | 12 | 11 |  | 390 | 365 | 315 | 413
| 88-SS-550 (New) | XXX |  | 50 | 53 | 50 |  | XXX
| Police Station fdr | 212 | 9379 | 10 | 12 | 11 |  | 200 | 212 | 245 | 420
88-SS-550 (New) | 88-SS-1710 | XXX |  | 51 | 55 | 51 | 10.92
| TX-1 | 1176 | 7408663 | 34 | 34 | 33 |  | 1014 | 794 | 915 | 432 | 2024-08-31
| TX-2 | 1168 | 5689372 | 34 | 36 | 34 |  | 905 | 915 | 815 |  | 08.30Hs
| DTS # 02 | 2600 | 1297347 | 115 | 121 | 113

## 10)RING #10
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
MAXIMUM DEMAND RECORDING SHEET | [10 empty] | SEPTEMBER - 2024 |  |  | PAGE 10 OF 19
RING # 10 (DTS # 01 PNO: A130 & A140)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| QPAA 88-SS-0015 | DTS # 01 | 3.36MW | 217702 | 183 | 188 | 184 | 11 | XXX |  |  |  | 31/08/2024 13.15Hrs
|  | 88-TR0015-01 | 467 | 18399 | 22 | 22 | 23 |  | 600 | 616 | 600 | 413
|  | 88-TR0015-02 | 588 | 16788 | 31 | 32 | 31 |  | 761 | 748 | 721 | 412
|  | 88-SS-0020 | XXX |  | 106 | 107 | 106 |  | XXX
|  | Desal Plant | 150 | 8399 | 6 | 6 | 0 |  | XXX
|  | DWS Feeder | 463 | 22872 | 21 | 23 | 23 |  | XXX
| QPAA 88-SS-0020 | 88-SS-0015 | XXX |  | 102 | 103 | 102 | 11 | XXX
|  | 88-TR-0020-01 | 351 | 19847 | 17 | 17 | 17 |  | 458 | 456 | 447 | 418 | 31/08/2024 13.30Hrs
|  | 88-TR-0020-02 | 329 | 21914 | 5 | 6 | 5 |  | 268 | 245 | 226 | 420
|  | IT (86T-SS-8601) | XXX |  | 79 | 79 | 79 |  | XXX
| IT S/S (86T-SS-8601) | 88-SS-0020 | XXX |  | 82 | 83 | 83 | 11.01 | XXX
|  | 86T-TR-8601-01 | 995 | 44441033 | 54 | 53 | 54 |  | 1392 | 1383 | 1404 | 425 | 28/08/2024 13.30Hrs
|  | 86T-TR-8601-02 | 946 | 30757085 | 31 | 32 | 32 |  | 845 | 830 | 831 | 428
|  | HQ (DOMB) | XXX |  | 2 | 2 | 2 |  | XXX
| HQ (DOMB) | IT (86T-SS-8601) | XXX |  |  | OFF |  | 11.02 | XXX
|  | 88-TR002-01 | 416 | 5479 | 7 | 7 | 7 |  | 220 | 200 | 196 | 421 | 31/08/2024 13.00Hrs
|  | 88-TR002-02 | 1040 | 2379 | 49 | 50 | 51 |  | 1332 | 1387 | 1349 | 414
|  | 88-TR002-03 | 276 | 3991 | 10 | 9 | 9 |  | 286 | 221 | 275 | 421
|  | 88-TR002-04 | 443 | 1349 | 19 | 18 | 19 |  | 467 | 477 | 508 | 420
|  | DTS # 01 | 4845 | 57705 | 85 | 87 | 87 |  | XXX

## 11)RING #11
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
| MAXIMUM DEMAND RECORDING SHEET | [10 empty] | SEPTEMBER - 2024 | PAGE 11 OF 19
RING # 11 (DTS # 01 PNO: A150 & A160)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-9310 | DTS # 01 | 1663 | 5740907 | 74 | 78 | 77 | 11 | XXX
|  | 88-TR-9310-01 | 463 | 4574611 | 23 | 23 | 23 |  | 583 | 580 | 575 | 437 | 2024-08-29
|  | 88-TR-9310-02 | 395 | 3314150 | 13 | 13 | 13 |  | 291 | 291 | 287 |  | 09.10Hrs
|  | 88-SS-2010 | XXX |  | 38 | 43 | 43 |  | XXX
| 88-SS-2010 | 88-SS-9310 | XXX |  | 37 | 42 | 40 | 11.06 | XXX
|  | 88-TR-2010-01 | 420 | 26837 | 15 | 19 | 18 |  | 475 | 567 | 408 | 427 | 2024-08-29
|  | 88-TR-2010-02 | 511 | 27047 | 20 | 22 | 20 |  | 584 | 590 | 580 |  | 09.12Hrs
|  | 88-SS-2020 | XXX |  | OFF |  |  |  | XXX
| 88-SS-2020 | 88-SS-2010 | XXX |  | 0 | 0 | 0 | 11 | XXX
|  | 88-TR-2020-01 | 473 | 27225 | 19 | 20 | 21 |  | 518 | 611 | 478 | 426 | 2024-08-29
|  | 88-TR-2020-02 | 475 | 29077 | 18 | 22 | 19 |  | 577 | 601 | 400 |  | 09.00Hrs
|  | DTS # 01 | 921 | 56222 | 38 | 44 | 42 |  | XXX

## 12)RING #12
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [6 empty] | SEPTEMBER - 2024 |  |  | PAGE 12 OF 19
RING # 12 (DTS # 02 PNO: A130 & A140)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-9110 (S/S # N1) | DTS # 02 | 851 | 9126164 | 31 | 46 | 43 | 10.84 | XXX
|  | 88-TR-9110-01 | 439 | 2451851 | 16 | 24 | 24 |  | 415 | 734 | 460 | 429 | 2024-08-29
|  | 88-TR-9110-02 | 450 | 3215139 | 16 | 23 | 22 |  | 370 | 755 | 380 |  | 09.05Hrs
|  | 88-SS-9120 | XXX |  | 0 | 0 | 0
| 88-SS-9120 (S/S # N2) | 88-SS-9110 | XXX |  | 0FF |  |  | 10.84 | XXX
|  | 88-TR-9120-01 | 371 | 8438869 | 20 | 14 | 19 |  | 410 | 299 | 615 | 429 | 2024-08-29
|  | 88-TR-9120-02 | 336 | 6449749 | 18 | 14 | 15 |  | 445 | 370 | 470 |  | 09.20Hrs
|  | DTS # 02 | 681 | 1332786 | 38 | 29 | 35 |  | XXX

## 13)RING #14
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [7 empty] | SEPTEMBER - 2024 |  | PAGE 13 OF 19
RING # 14 (DTS # 02 PNO: A170 & A180)
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [kWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| New Contractor | DTS # 02 | 414 | 7131372 | 21 | 22 | 19 | 10.9 | XXX |  |  |  | 01/09/2024 13.00Hrs
|  | TX-1 | 191 | 5420908 | 9 | 10 | 8 |  | 320 | 247 | 177 | 432
|  | TX-2 | 253 | 8402297 | 11 | 12 | 11 |  | 299 | 312 | 292 | 430
|  | North Gate | XXX |  | OFF
| NEW NORTH GATE | Contractor | XXX |  | 0 | 0 | 0 | 10.9 | 0 |  |  |  | 01/09/2024 13.16Hrs
|  | TX-1 | 185 | 4317330 | 8 | 8 | 8 |  | 197 | 207 | 205 | 431
|  | TX-2 | 176 | 3352016 | 8 | 8 | 7 |  | 212 | 175 | 187
|  | Kathiyah Bypass | 68 | 3656266 | 1 | 2 | 2 |  | XXX
|  | Covenant | XXX |  | 17 | 17 | 17 |  | XXX
| New Covenant | 88-SS-450 | XXX |  | 16 | 16 | 16 | 10.91 | XXX |  |  |  | 01/09/2024 12.58Hrs
|  | TX-1 | 180 | 4452908 | 7 | 7 | 7 |  | 179 | 171 | 191 | 435
|  | TX-2 | 356 | 9494169 | 15 | 16 | 13 |  | 444 | 359 | 355
|  | DTS # 02 | 897 | 2923637 | 39 | 39 | 36

## 14)DTS #02 (hidden)
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [6 empty] | SEPTEMBER 2017 |  |  | PAGE 14 OF 18
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [MWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| DTS # 02 | Incomer # 01 | 5012 | 60095 MWH | 290 | 299 | 282 | 10.9 | XXX
|  | 88-TR-0981-01 | 0 | 54 MWH | 0 | 0 | 0 |  | 0 | 0 | 0 | 410 | 28/09/2017
|  | 88-TR-0981-02 | 0 | 318 MWH | 0 | 0 | 0 |  | 100 | 60 | 108 | 410 | 11:00 HRS
|  | Incomer # 02 | 4985 | 59715 MWH | 290 | 308 | 282 |  | XXX
|  | 11KV Ring # 1 (Pnl # A10) | 362 | 6139 MWH | 22 | 21 | 20 |  | XXX
|  | 11KV Ring # 1 (Pnl # A20) | 612 | 9613 MWH | 40 | 34 | 31 |  | XXX
|  | 11KV Ring # 2 (Pnl # A30) | 1842 | 18996 MWH | 107 | 112 | 109 |  | XXX
|  | 11KV Ring # 2 (Pnl # A40) | 386 | 14829 MWH | 24 | 24 | 24 |  | XXX
|  | 11KV Ring # 3 (Pnl # A50) | 359 | 5920 MWH | 18 | 20 | 21 |  | XXX
|  | 11KV Ring # 3 (Pnl # A60) | 1524 | 21698 MWH | 91 | 90 | 86 |  | XXX
|  | 11KV Ring # 6 (Pnl # A70) | 381 | 4836 MWH | 22 | 22 | 18 |  | XXX
|  | 11KV Ring # 6 (Pnl # A80) | 862 | 14019 MWH | 51 | 56 | 58 |  | XXX
|  | 11KV Ring # 9 (Pnl # A110) | 898 | 18128 MWH | 56 | 53 | 47 |  | XXX
|  | 11KV Ring # 9 (Pnl # A120) | 1481 | 13542 MWH | 88 | 91 | 86 |  | XXX
|  | 11KV Ring #12 (Pnl # A130) | 1303 | 2845 MWH | 74 | 79 | 81 |  | XXX
|  | 11KV Ring #12 (Pnl # A140) | 0 | 0 | 0 | 0 | 0 |  | XXX

## 17)DSFA
INDUSTRIAL CITY OPERATIONS (DCA)
UTILITIES (DISTRIBUTION)
|  |  |  | MAXIMUM DEMAND RECORDING SHEET | [6 empty] | SEPTEMBER - 2024 |  |  | PAGE 17 OF 19
DSFA
| Substation | Ring/Feeder | Maximum Demand [kW] | Energy Meter Reading [MWh] | Load Current Reading [Amp] R Y B |  |  | Voltage [kV] | Load Current Reading [Amp] R Y B |  |  | Voltage [V] | Time & Date | Remarks
| 88-SS-1100 | Incomer # 1 | 2.17MW | 79919 | 90 | 93 | 89 | 10.9 | XXX |  |  |  | 01/09/2024 08.45Hrs
|  | Ring Fdr # 1 | 1MW | 42683 | 53 | 54 | 55 |  | XXX
|  | Al Hamla BH | 1.16MW | 33254 | 37 | 38 | 35 |  | XXX
|  | Coastal RLSS | 61 | 1567 | 1 | 1 | 1 |  | XXX
|  | 88-TR-1100-01 | 44 | 2357 | 0 | 0 | 0 |  | 21 | 14 | 33 | 417
|  | 88-TR-1100-02 | 0 | 2.1 | 0 | 0 | 0 |  | 0 | 0 | 0
|  | Ring Fdr # 2 | 743 | 58058 | 39 | 39 | 38 |  | xxx
|  | Al Hamla RMU | 0 | 2.7 | 0 | 0 | 0 |  | XXX
|  | Incomer # 2 | 743 | 77191 | 36 | 37 | 36 |  | XXX
|  | 86E-TR-0001 | 191 | 59 | 0 | 0 | 0 |  | XXX
| 88-SS-1110 | 88-SS-1100 | XXX |  | 54 | 53 | 54 | 10.9 | XXX |  |  |  | 01/09/2024 08.55Hrs
|  | 88-TR-1110-01 | 227 | 421 | 9 | 9 | 9 |  | 169 | 169 | 184 | 410
|  | 88-TR-1110-02 | 149 | 7024 | 5 | 6 | 6 |  | 146 | 207 | 146
|  | 88-SS-1120 | XXX |  | 41 | 41 | 40 |  | XXX
| 88-SS-1120 | 88-SS-1110 | XXX |  | 37 | 39 | 40 | 10.9 | XXX |  |  |  | 01/09/2024 08.00Hrs
|  | 88-TR-1120-01 | 130 | 2470 | 6 | 6 | 6 |  | 119 | 146 | 146 | 409
|  | 88-TR-1120-02 | 93 | 1535 | 2 | 0 | 0 |  | 52 | 48 | 64
|  | 88-SS-1130 | XXX |  | 30 | 28 | 29
| 88-SS-1130 | 88-SS-1120 | XXX |  | 31 | 33 | 29 | 10.9 | XXX |  |  |  | 01/09/2024 07.55Hrs
|  | 88-TR-1130-01 | 114 | 2319 | 3 | 3 | 3 |  | 84 | 93 | 75 | 409
|  | 88-TR-1130-02 | 165 | 1974 | 4 | 4 | 4 |  | 84 | 84 | 84
|  | 88-SS-1140 | XXX |  | 23 | 22 | 23
|  | El Workshop Tx | 0 | 110 | 0 | 0 | 0 |  | XXX
| 88-SS-1140 | 88-SS-1130 | XXX |  | 23 | 25 | 22 | 10.9 | XXX |  |  |  | 01/09/2024 07.45Hrs
|  | 88-TR-1140-01 | 259 | 11196 | 12 | 12 | 12 |  | 293 | 328 | 328 | 409
|  | 88-TR-1140-02 | 179 | 7999 | 10 | 10 | 10 |  | 268 | 254 | 268
|  | 88-SS-0140 | XXX |  | off | off | off |  | XXX
| 88-SS-0140 | 88-SS-1140 | XXX |  | 0 | 0 | 0 | 10.9 | XXX |  |  |  | 01/09/2024 08.15Hrs
|  | 88-TR-0140-01 | 77 | 7346 | 2 | 3 | 3 |  | 82 | 84 | 52 | 412
|  | 88-TR-0140-02 | 26 | 5340 | 7 | 9 | 9 |  | 8 | 7 | 7
|  | 88-SS-0130 | XXX |  | 0 | 0 | 0
| 88-SS-0130 | 88-SS-0140 | XXX |  | 0 | 0 | 0 | 10.9 |  |  |  |  | 01/09/2024 08.25Hrs
|  | 88-TR-0130-01 | 26 | 4804 | 0 | 0 | 0 |  | 12 | 13 | 13 | 412
|  | 88-TR-0130-02 | 260 | 15324 | 12 | 11 | 12 |  | 278 | 268 | 201
|  | 88-SS-1160 | XXX |  | 17 | 18 | 19
| 88-SS-1160 | 88-SS-0130 | XXX |  | 18 | 19 | 18 | 11.1 | XXX |  |  |  | 01/09/2024 09.25Hrs
|  | 88-TR-1160-01 | 76 | 4857 | 0 | 0 | 0 |  | 24 | 10 | 17 | 412
|  | 88-SS-1150 | XXX |  | 16 | 17 | 16
| 88-SS-1150 | 88-SS-1160 | XXX |  | 16 | 16 | 15 | 10.9 | XXX |  |  |  | 01/09/2024 09.15Hrs
|  | 88-TR-1150-01 | 194 | 10411 | 9 | 10 | 9 |  | 268 | 284 | 250 | 417
|  | 88-TR-1150-02 | 249 | 11972 | 12 | 11 | 11 |  | 317 | 268 | 305
|  | 88-SS-1100 | XXX | XXX | 39 | 38 | 36 |  | XXX